## Cover page
Supply and installation of stand alone PV solar lights at National Teachers' College, Unyama
Reference No.: UGA1503111 - 10245
Bills of Quantities
National Teachers' College, Unyama

## Summary Page
Solar PV Security Lighting for NTC Unyama
| Grand Summary | Amount (EUR)
| Bill No. 1 Preliminaries for NTC Unyama | 0
| Bill No. 2 Solar PV Security Lighting for NTC Unyama | 0
| Total excl. VAT | 0

## Bill 1 Preliminaries
Bill No. 1 Preliminary works for stand-alone PV Solar light for NTC Unyama
Item | Description | Unit | Qty | Rate (EUR) | Amount (EUR)
A | False works/scaffolds | SUM | 1 |  | 0
B | Site Supervision | SUM | 1 |  | 0
C | Water for the Works | SUM | 1 |  | 0
D | Removing rubbish and reinstating site | SUM | 1 |  | 0
E | Temporary hoarding with warning tape around solar sites | SUM | 1 |  | 0
F | Site Security | SUM | 1 |  | 0
G | Photographs and site reports | SUM | 1 |  | 0
H | Workman compensation policy | SUM | 1 |  | 0
| Total carried to summary |  |  |  | 0

## Bill 2 Solar PV security light
Bill No. 2 Stand-alone PV Solar light for NTC Unyama
Item | Description | Unit | Qty | Rate (EUR) | Amount (EUR)
ELECTRICAL RETICULATION AND SITE WORKS
Stand alone solar security lighting
A | 80-90W LED luminaire, powered by 250W solar panel, 200AH VRLA battery or Lithium battery or equally aprove, complete with charge controller, night/day sensor, 8m steel pole(galvanised and painted grey), excavations & foundations, wiring accessories and all accessories (refers to the drawings) | No | 19 |  | 0
B | 600x600mm(internally) inspection chambers 600mm deep invert consisting of 150mm thick concrete Grade 25 and rendered and trowelled smooth in 20mm thick water proofed cement/sand screed including excavation and medium duty approved cast iron cover and frame. | No | 19 |  | 0
C | Operations and Maintenance Manuals
| Comprehensive Operation and Maintenance manuals for the stand alone solar streets light, written in English and graphically illustrated for unambiguous interpretation and understanding by Operation and Maintenance staff. Special attention shall be drawn to fault finding and remedial action. The manuals shall include a system wiring diagram, a list of spare parts and the names of the accredited suppliers/agents of these spare parts. The manuals shall also include the manufacturer's name, model number, service manuals, parts list and brief descriptions of all equipment and their basic operating features i.e. routine maintenance procedures, possible breakdowns and repairs, recommended spare parts, troubleshooting guide, equipment layout and simplified wiring and control diagrams of the system as installed. | item | 1 |  | 0
| Total carried to summary |  |  |  | 0