Enabel

•

Belgian Development Agency

•

Public

-

law company with social purposes

Rue Haute 147

•

1000

Brussels

•

T. +32 (0)2 505 37 00

•

enabel.be

Request for price for supplies

CONTRACT TITLE:  A public supplies contract for upgrading and equipping of 2 ambulances to type B standards

PROCUREMENT REFERENCE NUMBER: UGA180371T-10110

NAVISION CODE: UGA180371T

Contents

1.1.1 Technical requirements and quantities	3

1.2 Requirements for the ancillary services	13

1.2.1 Installation	13

1.2.2 Training	13

2.1 General remarks	14

2.2 Subcontracting	14

2.3 Cession	14

2.4 Conformity of performance	14

2.5 Execution modalities	14

2.6 Acceptance of goods	15

2.7 Invoicing and payment	15

2.8 Taxes	15

2.9 Insurance	16

2.10 Intellectual property rights	16

2.11 Obligation of confidentiality	16

2.12 Deontological clauses	16

2.13 Complaints management and competent courts	17

3.1 Procurement procedure	18

3.2 Evaluation criteria	20

4.1 Administrative proposal	21

4.1.1 Identification form	21

4.1.2	Private/public law body with legal form	22

4.1.3	Public-law body9	24

4.1.4 Declaration on honour – Grounds for exclusion	26

4.1.5 Integrity Statement of the tenderers	28

4.1.6 Subcontractors	29

4.1.8 Technical and professional capacity form	29

4.2 Technical proposal	29

4.3 Financial proposal	30

| 1 | Technical Specifications |
| --- | --- |

### 1.1.1 Technical requirements and quantities

The scope of this tender involves equipping and/or upgrading of 2 ambulances according to the requirements applicable for each of them as detailed here in these technical specifications. The detailed technical specifications including descriptive photos of the items are in the Bills of quantities annexed to these tender specifications.

Technical specifications for ambulance 1 (Brand new ambulance for which equipping and upgrading shall be done.)

The following equipment are already available in stock and shall be only installed by the contractor where necessary, or added for final inspection. The equipment shall be handed over to the contractor by the current custodian (MOH) at the appropriate time.

| NO. | ITEM | QUANTITY |
| --- | --- | --- |
| 1. | Inverter(1000W) | 1 |
| 2. | Patient Cabin round LED lights | 2 |
| 3. | Oxygen cylinders (10ltrs) | 2 |
| 4. | Small Oxygen cylinder(5ltrs) | 1 |
| 5. | Rear AC independent system | 1 |
| 6. | Floor meter wall mounts | 2 |
| 7. | Floor meter outlet | 2 |
| 8. | Diagnostic light | 1 |
| 9. | Diagnostic Pen light touch | 1 |
| 10. | Stretcher bed platform | 1 |
| 11. | Life hammer | 1 |
| 12. | Siren system Communication & beacon lights | 1 |
| 13. | Sockets Switches | 3 |
| 14. | Radio | 1 |
| 15. | Cabin Shelf (minor repairs needed) – include glass locks and sliding channels | 1 |
| 16. | Main Stretcher | 1 |
| 17. | Scoop Stretcher | 1 |
| 18. | Spine Board | 1 |
| 19. | Movable stretcher | 1 |
| 20. | Cervical collar set | 2 |
| 21. | Transfer Matrass | 1 |
| 22. | Potable Resuscitation system | 1 |
| 23 | Potable Suction device | 1 |
| 24. | Manual BP monitor | 1 |
| 25. | Automatic BP machine | 1 |
| 26. | EMT first Aid Bag |  |
| 27. | Bandaging & Nursing kit: (Kidney bow 1, pillow cases 4, Bed pan 1, Hospital blankets 2, Fiber pillow 1, Non glass urine bottle 1, waste bin 1, bed sheets 4) | 1 |
| 28. | Infusion pump | 1 |
| 29. | Nebulization apparatus | 1 |
| 30. | Emergency delivery kit | 1 |
| 30. | Personal protection equipment I. Reflector jacket II. Safety gloves III. Plastic glasses | 1 2 pairs 1 |
| 31. | Blower | 1 |
| 32. | Glass locks | 6 |
| 33. | Sliding channels | 12 |

The following equipment for ambulance 1 shall be supplied, delivered and installed by the contractor.

1.2.1 Electrical, and O2/pneumatic system upgrade (Fixed block)

| NO. |  | Description |  | Unit |  | Quantity |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  | Oxygen regulator, (under normal temperature and pressure), adoptable to Cylinder and flowmeter/flow gauge with maximum capacity of at least 15 l/min |  | NO. |  | 2 |  |
| 2. |  | Courtesy Light/spotlight for patient loading lighting. AC120-240VAC OR 12V/24VDC, With 100-110lm/w Lumen, Frequency: 50hz/60hz Dimensions Φ235*260mm or better, With 10°30°60°120° beam Angle. |  | NO. |  | 1 |  |
| 3. |  | Grill Ambulance LED Flasher lights Type: LED strobe light Size: 4x3 OE better spec LED QTY: 6PCS Voltage: DC12V Optional beam: Spot/Flood |  | NO. |  | 2 |  |
| 4. |  | Toggle switching panel - waterproof 6 gang Type:6 Gang switch panel Rocker Switch: 6 Place on vehicle: Center, Dash, Steering Column Color: Black LED Color: Red/blue/green Dimension:10.8x12.5x3.8cm/4.25''x4.92''x1.49''(Max.L*W*H) Material: Plastic, aluminium Plate Voltage: DC 12V - 24V Fitment Type: Direct Replacement Vehicle Type: Car Boat Marine RV Truck Camper Vehicle |  | NO. |  | 1 |  |
| 5. |  | Battery trickle charger (Must be a full system including charge controller, breakers and necessary accessories) BATTERY CHEMISTRY Standard Lead Acid, Calcium content, Gel, AGM or LiFePO4 type only CONTINUOUS RATING 50A POWER TYPE - AC DC -DC TO DC NOMINAL OUTPUT POWER 750W INPUT FUSE RATING 60A (Not supplied) REDARC FK60 recommended BLUETOOTH COMPATIBLE No. SOLAR SWITCH ON VOLTAGE 9V SUITABLE FOR 12V SYSTEMS Yes SUITABLE FOR 24V SYSTEMS Yes SOLAR INPUT VOLTAGE 9 - 32V MPPT SOLAR REGULATOR Yes CABIN/ CANOPY INSTALL Yes NO LOAD CURRENT <100mA TRAILER INSTALL Yes ENGINE BAY INSTALL Yes MAX. CHARGING VOLTAGE 15.3V OUTPUT FUSE RATING 60A (Not supplied) REDARC FK60 recommended operating temperature -10°C to 80°C OUTPUT VOLTAGE 12V DC MAX. RATED OUTPUT CURRENT 50A INPUT VOLTAGE 9 - 32V STANDBY CURRENT <8mA CONNECTOR TYPE Bare wire WEIGHT 35.3 oz (1 kg) WIDTH 4.7" (120 mm) HEIGHT 1.5" (37 mm) DEPTH ¦ LENGTH 6.5" (165 mm) |  | NO. |  | 2 |  |
| 6. |  | BATTERY N90AH REVERSE AND STRAIGHT |  | NO. |  | 2 |  |
| 7. |  | Blue Calm lights for shelves |  | NO. |  | 2 |  |
| 8. |  | AC connections as per fixed auxiliary AC unit |  | NO. |  | 2 |  |
| 9. |  | Pneumatic Connections as per fixed Oxygen Cylinders |  | WS |  | 1 |  |
| Medical/Ambulance Equipment |  |  |  |  |  |  |  |
| 1. | Rechargeable Pulse Oximeter handheld Battery life: lead acid battery; internal, rechargeable; fully charged in 6 hours. Approximately 4-5 hours of continuous use. Display & indications: SpO2: 3-digit LED (light-emitting diodes) display, 10.9mm high. Pulse rate: 3-digit LED display, 10.9mm high. Pulse strength logarithmically scaled, 8 segments remain. Low-battery LED flashes when approximately 30min of battery life remains. Sensors: shall be both adult and paediatric all reusable( INCLUDE SPARES ) LED flashes to alert the operator to check the sensor placement. SpO2: Range 0-100% Accuracy: ±2% at 70-100%, ±3% at 50-69% Averaging: 4.8- or 16-pulse beat average. - Pulse rate: Range 30-254bpm - Accuracy: ±2% at 30-254bpm - Averaging: 8 or 16-second average. - Include spare probe sensors for both adults and children Environmental Operating temperature 0 to 40°C. Storage Temperature: - 40 to 75°C. Relative humidity: 10-95%, storage (Non-condensing) 15-95%, operating. Unit presentation: 1 pulse oximeter with accessories: - Apparatus; battery charger; patient cable; sensors child, adult and Y universal; protective case; service and user’s manual (English and French)Packaging: Well packaged, protected carton, including user and maintenance manual, and warranty |  |  | NO. |  | 1 |  |
| 2. | Stethoscope: Specifications: • Stethoscope, binaural, dual chest piece. • Cardiology stethoscope with high quality stainless-steel piece for excellent acoustics • Stainless steel double inner spring binaural and durable • Elegantly moulded PVC tubing, dual head • Approximate length; at least 381 mm • Supplied with two spare of soft ear piece. |  |  | NO. |  | 1 |  |
| 3. | Infrared Thermometer 1. Measurement Temperature range. -60.0˚C to 550.0˚C (-76˚F to 1022˚F), 0.1˚C resolution 2. Accuracy. -35.0˚C to -0.1˚C (-31.0˚F to 31.9˚F): ±10 %RDG. ±2˚C 0.0˚C to 100.0˚C (-32.0˚F to 212.0˚F): ±2˚C 100.1˚C to 500.0˚C (212.1˚F to 932.0˚F): ±2% RDG 3. Response time. 1 sec (90%) 4. Measurement wavelength. 8 to 14 µm 5. Two-beam laser marker Max 1 MW (class 2), Red 6.Functions. Continuous measurement mode, MAX/ MIN/ DIF (MAX - MIN) / AVG measurement, Alarm, Backlight, Auto power-off 7. Power supply. LR03 (AAA) alkaline battery ×2, 150 MVA, Continuous use of 140 hours (With laser marker, backlight and buzzer are OFF) 8. Dimensions and Mass. 48 mm (1.89 in) W × 172 mm (6.77 in) H × 119 mm (4.69 in) D, 256 g (9.0 oz), (including batteries) Accessories. Instruction manual ×1, LR03 alkaline battery ×2, Carrying case ×1 |  |  | NO. |  | 1 |  |
| 4. | Automated External Defibrillator AED The AED shall automatically activate upon lid opening. The AED shall be able to deliver shock from 50 joules to 360 joules and shall be useful for adults and paediatric age group. The AED shall have motions detection technology for accurate analysis of rhythm. The AED waveform shall deliver variable energy levels customized for a broad range of patient impendences (25 Ohms- 175 Ohms) and shall compensate for a patient's impendence level. The AED shall be able to deliver a shock (if required) without requiring the operator to push a button. The weight shall be less than 2 kgs • Alteast 3 pairs of Adult and 1 paediatric defibrillation pad shall be included. • The diagram to assist proper placement of pads shall be available • Shall have a rechargeable battery and shall have the ability to inform the user of the status and capacity of the battery via audible alerts, voice and visual prompts, and it shall typically provide a minimum of 14 hours of device operating time. • The AED shall provide at least 90 minutes of internal storage. • Shall be as per IEC 60601-1 and 5 year warranty on defects in materials and workmanship. • All required leads, probes, accessories& manuals to be supplied along with • Spare Disposable Pads- 10 no's each • Provision for future up-gradation to enable transmission of Patient Vitals via Telemetry for remote monitoring |  |  | NO. |  | 1 |  |
| Medical furniture Conversion, Medical Compartments AND Standard Ambulance Branding (Inclusive of Enabel's preference/Logos) |  |  |  |  |  |  |  |
| Fabrication Works. (Include Fabrication for Roller racket for Mobile Oxygen Cylinder) |  |  |  |  |  |  |  |
| 1. |  |  | MS plate/Aluminium Plate 4mm*1250mm*2500mm/6mm*1250mm*6300mm |  |  |  | 2 |
| 2. |  |  | Hollow section 85*50*2.5m, Aluminium Material. |  | NO. |  | 1 |
| 3. |  |  | L Angle MS/Al, IS2062, 30*30*5mm |  | NO. |  | 1 |
| 4. |  |  | 12 Gauge Welding rods and cutting disc |  | WS |  | 1 |
| Storage Cabinets. |  |  |  |  |  |  |  |
| 5. |  |  | MDF (Medium Density fibre) boards, 12" x 24", 1/4" thick |  | NO |  | 5 |
| 6. |  |  | Sliding Glass works |  | WS |  | 4 |
| 7. |  |  | Edge Leaps |  | WS |  | 20 |
| 8. |  |  | Conta Glue |  | NO |  | 5 |
| 9. |  |  | Leather Fabric |  | WS |  | 7 |
| 10. |  |  | Sponge |  | WS |  | 9 |
| 11. |  |  | Timber pcs |  | NO |  | 4 |
| 12. |  |  | Ambulance Standard Branding, as per MOH guidelines on the same. |  | WS |  | 1 |
| 13. |  |  | Labour FOR ALL WORKS, Including Electricals, fixing, Medicals, Mechanical works and Conversion. |  | LUMPSUM |  |  |

Technical specifications for ambulance 2 (Ambulance already in use and only upgrading shall be done.)

For ambulance 2, both the contractor and Contracting Authority shall agree on when the ambulance shall be brought to Kampala to be worked on. The contractor shall take all the necessary measures to minimize the down times of this ambulance. For the second ambulance, the scope of work involves both a fixed and conditional tranche. The fixed tranche is as follows:

| Electrical, and o2/pneumatic system upgrade |  |  |  |
| --- | --- | --- | --- |
| Item | Description | Unit | Qty |
| 1. | 2000W Inverter The converter must be able to use normal electrical plugs up to 240V electrical devices in Car. Please note this inverter must be connected to a 12V battery. LCD Multifunction Display: 1. Battery mode 2. Battery voltage: digital display 3. Battery level indicator 4. Voltage display: output voltage of the inverter 5.Output waveform (sine wave) 6. Show watts Low Battery Alarm (nominal): 9.5 - 11.0V Low Battery Shutdown Point (nominal): 9.0 - 10.5V High Battery Shutdown Point (nominal): 14.5 - 15.5V Protection Properties: Soft start function, High temperature protection, High voltage protection Low voltage protection, short circuit protection, AC Overload protection Overcurrent protection, Dimensions 9.3 x 12.4 x 4.7 inches or better. Condition: A brand-new, unused, unopened, undamaged item in its original packaging. Power: 1000W/2000W, Output Waveform: Pure Sine Wave, Output Frequency (Nominal): 60 Hz Or better. Efficiency: > 90% Or better, Operating Temp: -4°F - 158°F System Configuration: Off-Grid, No Load Current Draw: < 1A Power Source: Automobile Battery, Continuous Power: 1000W, Surge Power: 2000W Wire Gauge: 4 AWG. AC Output Voltage Range: 115VAC/240VAC, Operators manual, and applicable certifications. | NO. | 1 |
| 2. | 220V sockets 2 way, 2 gang, to be fixed inside the patient compartment. Standard Grounding Wall Socket Rated Current: 10A IP Rating: IP68 2 Gang Voltage: 240V Color: White Panel Material: High Quality PC Inside Material: High Quality Brass and PC | NO. | 2 |
| 3. | Patient cabin round LED lights 15w Ultra-thin LED spot light. Material: aluminium Working Voltage: 12 V DC Light size: 68 x 68 x 55 mm this can vary due to design Installation Hole: Hole Cut φ2.25-2.5inchs (57-63mm) this can vary due to design LED Chips: 15 pieces or better Color: Warn White 3000K Cable length: 200 cm (78.74 inches) Weight: 10.58 oz (300g) this can vary due to design Wire length: 78.74 inches (2 m) | NO. | 2 |
| 4. | Oxygen regulator (Under normal temperature and pressure), adoptable to Cylinder and flowmeter/flow gauge with maximum capacity of at least 15 l/min | NO. | 2 |
| 5. | Flow meter wall mounts, 200kg/cm2 pressure, Input Pressure: 15Mpa/20Mpa Output pressure: 0.2-0.3Mpa Automatic discharge pressure of the safety valve: 0.35+_0.05Mpa The range of flow: 1-15L/min Connection thread: G5/8/CGA540/W21.8/G3/4 Main body: brass Humidifier bottle: 200mL Unit color: white/green/blue are available Structure: piston type Packing: 10pcs/CTN (color box) Dimension: 52x44x18cm or better MUST DEPEND ON PROVIDED REGULATOR. | NO. | 2 |
| 6. | Flow meter outlet These are wall sockets/ plugs for adoption of Oxygen Flow meter. Accepts gas specific adapters, approved 100% Pressure testing of each outlet and cleaned for medical gas service Must be Indexed to eliminate interchangeability of gas services Up to 1″ (25 mm) wall thickness adjustment 360 degree Swivel Inlet Pipe for easy installation Universal Rough-In Assembly to accept Quick Disconnects or DISS Front Adaptors (can be interchanged at any time) MUST DEPEND ON PROVIDED REGULATOR/FLOW METER. | NO. | 2 |
| 7. | Stretcher Bed platform (To allow proper patient and scoop loading), 203x570x120mm Made of high-strength aluminium alloy material. The extension board, must be designed to be rolling-over. It adapts to the ambulance chassis height. The base will be locked automatically when the stretcher is moved into it. The base using new fixing device in the front and back adopts the double layer design. MUST ALLOW SCOOP STRETCHER TO BE DEPOSITED IN THE BOTTOM. | NO. | 1 |
| 8. | Toggle switching panel - waterproof 6 gang Type:6 Gang switch panel Rocker Switch: 6 Place on vehicle: Center, Dash, Steering Column Color: Black LED Color: Red/blue/green Dimension:10.8x12.5x3.8cm/4.25''x4.92''x1.49''(Max.L*W*H) Material: Plastic, Aluminium Plate Voltage: DC 12V - 24V Fitment Type: Direct Replacement Vehicle Type: Car Boat Marine RV Truck Camper Vehicle | NO. | 1 |
| 9. | Pneumatic Connections as per fixed Oxygen Cylinders | WS | 1 |
| 10. | Battery N90AH reverse and straight | NO. | 2 |
| Medical/Ambulance Equipment |  |  |  |
| 1. | Mainstretcher/undercarriage A RoII-in Self Foldable Stretcher (Collapsible Cot) of a reputed brand (preferably with capability to convert into wheel chair) shall be provided for the primary patient. The said stretched shall automatically collapse when wheeled into the patient compartment over a fixed 'collapsible cot base'. The 'collapsible cot, base' shall preferably have a built-in slot to accommodate the scoop, stretcher and spine board, AND SHALL BE; 1. Automatic loading stretcher cum trolley. 2. Built with anodized aluminium lightweight / stainless steel. 3. Adjustable back rest 0 dg -90 dg which allows to fix the back rest safety in any position. 4. Side protections completely overturn able with easy locking safety belts flap type. 5. Safety lever for the legs positioned near the unlocking device allowing thus the release operation for the loading, keeping the hands on the stretcher. 6. Vertical legs protected by nylon wedges. 7. Automatic centering device mounted on rotating wheels. This system automatically blocks the back wheels in the central position during the loading of the stretcher on the ambulance without having turn the wheels manually. 8. Stand for automatic loading stretcher with locking facility for quick fixing system with handle to mount the stand in very position on the stretcher. 9. One number of IV pole of adjustable height shall be provided. 10. Head end of the trolley shall be easily identifiable Length; 190-210 cm; Width: 50-60cm; Height: 80-85cm; wheel/bearing size: 6 to 8Inch Weight 35-45 kg; Loading Capacity: up to 180 kgs | NO. | 1 |
| 2. | Oxygen Cylinder 10L -SS (under normal temperature and pressure) Stationary oxygen a Minimum 10 1, (under normal temperature and pressure), flowmeter/flow gauge with maximum capacity of at least 15 l/min and regulating valve | NO. | 2 |
| Fabrication Works. (Include Fabrication for Roller racket for Mobile Oxygen Cylinder) |  |  |  |
| 1. | MS plate/ Aluminium Plate 4mm*1250mm*2500mm/6mm*1250mm*6300mm | NO. | 2 |
| 2. | Hollow section 85*50*2.5m, Aluminium Material. | NO. | 2 |
| 3. | L Angle MS/Al, IS2062, 30*30*5mm | NO. | 2 |
| 4. | 12 Gauge Welding rods and cutting disc | WS | 1 |
| Storage Cabinets |  |  |  |
| 1. | MDF (Medium Density Fibre) boards, 12" x 24", 1/4" thick | NO. | 4 |
| 2. | Sliding Glass works | WS | 4 |
| 3. | Glass Locks | WS | 2 |
| 4. | Sliding Channels | WS | 4 |
| 5. | Edge Leaps | WS | 15 |
| 6. | Conta Glue | NO. | 6 |
| 7. | Leather Fabric | WS | 6 |
| 8. | Sponge | WS | 6 |
| 9. | Timber pcs | NO. | 4 |
| 10. | Ambulance Standard Branding, as per MOH guidelines on the same | WS | 1 |
| 11. | Labour FOR ALL WORKS, Including Electricals, fixing, Medicals, Mechanical works and Conversion. | Lump sum |  |

Technical specifications for the conditional tranche for ambulance 2

| Conditional items for electrical |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. |  | Blue Calm lights for shelves | NO. | 2 |  |
| 2. |  | AC connections as per fixed auxiliary AC unit | NO. | 1 |  |
| 3. |  | Seat belt cutter/Life hammer Emergency tool/screen breaker, 173x66mm with double ended break hammer. Seat belt cutter, and plastic or metallic handle. Holding Bracket with192x75mm. | NO. | 1 |  |
| 4. |  | Grill Ambulance LED Flasher lights. Type: LED strobe light Size: 4x3 or better spec LED QTY: 6PCS Voltage: DC12V Optional beam: Spot/Flood | NO. | 2 |  |
| 5. |  | Battery trickle charger (must be a full system including charge controller, breakers and necessary accessories) Battery chemistry standard lead acid, calcium content, GEL, AGM or LiFePO4 type only Continuous rating 50A Power type - AC DC TO DC Nominal output power 750W Input fuse rating 60A (not supplied) redarc FK60 recommended Bluetooth compatible No Solar switch on voltage 9V suitable for 12V systems yes suitable for 24V systems yes solar input voltage 9 - 32V MPPT solar regulator yes Cabin/ canopy install yes, no load current <100MA trailer install yes Engine bay install yes max. charging voltage 15.3V Output fuse rating 60A (not supplied) redarc FK60 recommended operating Temperature -10°C to 80°C output voltage 12V DC max. rated output current 50A input voltage 9 - 32V standby Current <8mA connector Type bare wire weight 35.3 oz (1 kg) width 4.7" (120 mm) height 1.5" (37 mm) Depth length 6.5" (165 mm) | NO. | 1 |  |
| Conditional items for medical equipment |  |  |  |  |  |
| 1. | Scoop stretcher Shall be light, safe and reliable • Aluminium alloy with adjustable length • Clutch Design (lateralized / in center) so that the stretcher can be divided into left and right halves. • Easy to lock and unlock • 3 Quick release buckle belts • Dimensions: o Max. Size' l ·W*H}: 22S*45*6cm o Min. Size L*W*H: 168*43*7cm |  | NO. |  | 1 |
| 2. | Spine Board 1. Shall be in plastic material of high strength and waterproof. Handhold with 2 inches and handhold length 5.25 inches 2. It shall be supplied with a complete set of head blocks and spider straps, and Trauma Bag 3. Shall have radio transparency to make radiologic examinations like MRI, CT scan and x-rays without removing the patient from the board. Length: 180 - 190cm; Breadth: 40 - 48cm; Height: 5 to 7cm Weight: <8 kg; load: up to 120kgs. ISO 9001; FDA/CE standards safety |  | NO. |  | 1 |
| 3 | Cervical upper spinal immobilization devices Cervical collar-set. 1. Shall be adjustable to 4 different sizes. 2. Shall be pre-moulded chin support, locking dips and rear ventilation panel, enlarged trachea opening 3. Shall be high-density polyethylene and foam padding, with one piece design enables efficient storage where space is limited. 4. Shall be X-ray lucent and easy to clean and disinfect. 5. consider all age group sizes, i.e., for 1 adult and 1 Children. Comply with ISO 9001 standard. |  | NO. |  | 2 |

Ambulance 1 has one fixed block while ambulance 2 has one fixed block and 2 conditional blocks. Contract conclusion pertains to the whole of the contract but only binds the contracting authority for only the fixed blocks. The performance of each conditional block depends on a decision by the contracting authority notified to the contractor. This is motivated by and contingent upon the need for budget availability. The tenderer must, under penalty of substantial irregularity, submit an offer for all blocks of the procurement. In order to assess the tenders and determine the most advantageous tender, the contracting authority will take into account all the blocks.

The tenderer must use in his offer for each of the conditional blocks for similar supplies the same unit prices as those used in the fixed block.

1.1.2 Place of delivery

Delivery shall take place at the Ministry of Health Headquarters located at Plot 6 Lourdel Road Nakasero, Kampala.

1.1.3 Time of delivery

The supplies shall be supplied, delivered, and installed within 90 calendar days following the date of award notification.

# 1.2 Requirements for the ancillary services

### 1.2.1 Installation

The contractor shall pick up and take the vehicles to their premises to execute the works which include some fabrication, electrical works and installation of the equipment. Project and Ministry of Health specialists shall follow up the works and assess compliance from the contractor’s premises before the vehicle is moved out to be returned for handover. The vehicle shall be re-assessed at the place of delivery before provisional acceptance.

### 1.2.2 Training

At the time of handover, the contractor shall carryout basic user training and testing that shall come with the installation of the equipment. The contractor shall provide user manuals for all equipment.

|  | - Contract conditions |
| --- | --- |

# 2.1 General remarks

Except when specified otherwise in the order or any related contractual document of the contracting authority, these conditions apply to public contracts for services awarded in the name and on behalf of Enabel (contracting authority).

# 2.2 Subcontracting

The contractor may, under their sole responsibility, call upon subcontractors for certain components of this contract. Subcontracting is under the sole responsibility of the contractor and does in no way discharge the contractor of performance obligations under the contract vis-à-vis the contracting authority, which recognizes no legal relation with subcontracting third parties.

# 2.3 Cession

One contracting party may not cede its rights and relinquish its obligations resulting from the order to a third party, without having obtained in advance the written approval of the other party.

# 2.4 Conformity of performance

The goods must comply in all respects with the contract documents. Even in the absence of specifications in the procurement documents, the services must comply in all aspects with good practice.

# 2.5 Execution modalities

The supplies must be delivered and installed within 90 calendar days as from the day following the date on which the supplier received the contract conclusion notification letter. The closure of the supplier’s business for annual holidays is not included in this calculation. Thereafter, the defects liability period of  356 calender days shall commence from the day following date of provisional acceptance.

The start date, the performance deadlines agreed as well as the instructions about the performance place must be strictly observed.

Any exceeding of the performance deadline and this for whatever reason shall result as of right and by the expiry of the deadline in the application of a fine for late performance of 0.07% of the amount of the order per commenced week of delay. This fine is limited to a maximum of 10% of the total amount of the order.

In the event of excessive delay or other non-performance, the contracting authority can terminate the public contract and launch another request for price quote and have the services delivered by another provider. Any possible extra cost shall be borne by the defaulting contractor.

Any costs to which the contracting authority would be exposed and attributable to the defaulting contractor are borne by the latter and deducted from amounts owed.

# 2.6 Acceptance of goods

The contractor delivers only goods that have no apparent and/or hidden defects and that correspond strictly to the Terms of Reference of this public contract and, if necessary, to the prescriptions of related documents as well as applicable regulations, in compliance with good practice and the state of the art and for the purposes that the contracting authority has in mind, which the contractor knows or at least should know.

Acceptance of the goods or final acceptance only takes place after the complete inspection by the contracting authority of the conformity services delivered. An acceptance reports confirms such acceptance.

The signature of (a staff member of) the contracting authority, in particular in electronic reception devices, upon delivery of the report or other required output, does consequently only count as evidence of taking possession and does not concern the acceptance of the report or the output.

The contracting authority disposes of a maximum verification term of thirty days starting on the end date of delivery of services to be accepted and to notify the result to the contractor.

# 2.7 Invoicing and payment

Invoices are established in one copy and respect the stipulations given in the Purchase Order.

The invoice will be sent to the address mentioned below.

Invoices in due form and not disputed are paid within 30 calendar days after acceptance.

Costs and Payment Schedule

The contractor sends (one copy only of) the invoices and the contract acceptance report (original copy) to the following address:

Apedo Macmillan

Financial controller

Email: macmillan.apedo@enabel.be

Enabel in Uganda-Health Program

Ministry of Health

Annex Building D004, Plot 6 Lourdel Road

Only delivery that has been performed correctly may be invoiced. A payment corresponding to 100% shall be made following the satisfactory provision of the delivery of equipped and upgraded ambulances and contract acceptance report

# 2.8 Taxes

- VAT

All prices shall be quoted exclusive of VAT.

However, at the time of invoicing, the contractor must include VAT on the invoice.

- Withholding tax

This contract is subjected to Ugandan withholding tax. For national entities 6% is deducted at payment, for international entities 15% is deducted according to the withholding tax regulation of Uganda.

# 2.9 Insurance

The contractor is bound to take out any obligatory insurance and to take out or renew any necessary insurance for the good performance of this contract, especially insurance covering ‘civil liability’ ‘work accidents’ and ‘transport-related risks’, and this for the whole period of the assignment.

The contractor will send the contracting authority, upon simple demand, a copy of the insurance policies taken out by the contractor and proof of regular payment of the premiums that are borne by him.

# 2.10 Intellectual property rights

The contractor integrally, definitively and exclusively and without any financial compensation on top of the price(s) quoted in his tender, cedes any author rights or industrial property rights that it holds or will create in the context of this contract to Enabel. This cession will take place at the time of acceptance of the works that are protected by copyrights.

The contractor must cover the contracting authority against any third-party claims of violation of intellectual property rights on the goods or services delivered.

The contractor must assume, without limitation as to the amount, all payments of compensation, costs or expenditure ensuing from and borne by the contracting authority in a legal action, which is based on such a claim, provided the contractor has the right to overview the defense and negotiations with a view to an amicable settlement.

# 2.11 Obligation of confidentiality

The contractor and its employees are bound by a duty of reserve concerning the information which comes to their knowledge during performance of this public contract. This information may not under any circumstances be communicated to third parties without the written consent of the contracting authority. The contractor may, nevertheless, list this contract as a reference, provided that he indicates its status correctly (e.g., ‘in performance’) and that the contracting authority has not withdrawn this consent due to poor contract performance.

Any commercial, organisational and/or technical information (all data, including, and this without limitation, the passwords, documents, schedules, plans, prototypes, figures) that the contractor gets hold of through this public contract remain the property of the contracting authority.

The Contractor shall respect the protection of personal data.

# 2.12 Deontological clauses

Any failure to comply with one or more of the deontological clauses given below may lead to the termination of this contract and to the exclusion of the contractor from other public contracts for Enabel.

For the duration of the contract, the contractor and his staff respect human rights and undertake not to go against political, cultural or religious customs of the country where services are delivered.

In accordance with Enabel’s Policy regarding sexual exploitation and abuse (add link to text), the contractor and his staff have the duty to behave in an irreproachable manner towards the beneficiaries of the projects implemented by Enabel and towards the population in general. They must abstain from any acts that could be considered a form of sexual exploitation or abuse and they must abide by the basic principles and guidelines laid down in this policy. In application of Enabel’s Policy regarding sexual exploitation and abuse there will be zero tolerance towards any misconduct referred to in its Policy regarding sexual exploitation and abuse that could impact the professional credibility of the contracting parties.

Any attempt by a contractor to obtain confidential information, to make illicit agreements with competitors or to influence the contracting authority in any way will result in the rejection of his tender.

Moreover, in order to avoid any impression of risk of partiality or connivance in the followup and control of the performance of the public contract, it is strictly forbidden to the contractor to offer, directly or indirectly, gifts, meals or any other material or immaterial advantage, of whatever value, to appointees of the contracting authority who are concerned, directly or indirectly, by the follow-up and/or control of the performance of the contract, regardless of their hierarchical rank.

In accordance with Enabel’s Policy regarding sexual exploitation and abuse of June 2019 and Enabel’s Policy regarding fraud and corruption risk management complaints relating to issues of integrity (fraud, corruption, etc.) must be sent to the Integrity desk through the https://www.enabelintegrity.be website.

# 2.13 Complaints management and competent courts

Only Belgian law applies to this public contract.

The parties commit to sincerely perform their engagements to ensure the good performance of this contract.

In case of litigation or divergence of opinion between the contracting authority and the contractor, the parties will consult each other to find a solution. Where needed, the contractor may request mediation via e-mail complaints@enabel.be cf. https://www.enabel.be/content/complaints-management

Any litigation about the orders and these contract conditions are the exclusive competence of the Brussels Courts.

# 3.1 Procurement procedure

| CONTACT PERSON AT ENABEL during the procedure |  |  |
| --- | --- | --- |
| NAME: |  | MIREMBE AISHA NANTE |
| FUNCTION: |  | Public Procurement Officer - Contract Service Center, Enabel |
| ADDRESS: |  | Enabel, Belgian Development Agency Lower Kololo Terrace, Plot 1B PO Box 40131, Kampala |
| E-MAIL: |  | uga_csc_contracts@enabel.be |

| CONTACT PERSON AT ENABEL AFTER CONTRACT CONCLUSION |  |
| --- | --- |
| NAME: | Imakit Richard |
| FUNCTION: | Sector Expert in Monitoring and Evaluation |
| ADDRESS: | Enabel in Uganda-Health Program Ministry of Health Annex Building D004, Plot 6 Lourdel Road |
| TEL.: | 0782805355 |
| E-MAIL: | richard.imakit@enabel.be |

| INFORMATION REGARDING THE PROCEDURE |  |  |
| --- | --- | --- |
| RECEPTION OF TENDERS: | DATE: | 27th September, 2023 at 2:00PM Kampala time at the latest. |
|  | MEANS: | The tenderer submits his tender as follows: The duly completed and signed tender shall be submitted only by e-mail and only as attachments and not via a link to a platform. The files shall be clearly named and structured and submitted in a compressed zip folder. The tenderer is solely responsible for the accessibility and legibility of files. The tenderer shall not submit at the last minute. Untimely submission, incomplete submission or indirect submission of documents that are inaccessible or illegible may lead to the rejection of the tender. The subject of the e-mail shall clearly mention the procurement reference number and the contract title, as stated on the cover page of the tender specifications, as well as the name of tenderer. It shall be submitted by email to: uga_csc_tenders@enabel.be |
| SUBMISSION DETAILS |  | The tenderer shall submit separately, the administrative, technical and financial proposals in the email. In case they exceed 6MB, then the tenderer submits separate emails clearly indicating ‘Administrative, technical or Financial proposal’ |
| VALIDITY PERIOD OF THE TENDER: |  | 90 calender days |
| CONTENT OF THE TENDER |  | Administrative proposal - Identification form (Private/public law body with legal form) - Declaration on honor – Grounds for exclusion - Integrity Statement of the tenderers - Subcontractors - Economic and financial capacity Form - Technical and professional capacity form (List of 1 main similar delivery completed in the last 3 years). Technical proposal - The technical proposal shall be presented in free format but is must include the product brochures for all the medical equipment to be installed. These brochures shall be original and must clearly mention the brand name, model and technical specifications in a way that allows comparability of the offers. Financial proposal - Financial offer form - the dully filled BoQ |

The Contracting Authority shall organize an optional information session at the time and location specified below. The potentially interested economic operators shall confirm their attendance by e-mail to the above-mentioned addresses at least two working days before the information session.

| Public contract for upgrading and equipping of 2 ambulances to type B standards | 21st September, 2023 at Enabel Representation office, Plot 1B lower Kololo terrace, Kampala at 11:00am, Kampala time. |
| --- | --- |

# 3.2 Evaluation criteria

Exclusion criteria

The tenderer shall be evaluated with regard to compliance with exclusion grounds stated in the enclosed Declaration on Honour as well as the Enabel integrity policy

Selection Criteria

Moreover, by means of the documents requested in the Annexes - Administrative Proposal, the tenderer must prove that he is sufficiently capable, from an economic and financial as well as from a technical point of view, to successfully perform this public procurement contract.

| 1 | Sufficient Economic and Financial Capacity |
| --- | --- |
| 1.1 | Sufficient turn-over |
| Minimum Standard | Minimum average annual turn-over of at least 70,000,000 UGX during the past three financial years. |
| 2 | Sufficient Technical and Professional Capacity |
| 2.1 | Sufficient experience in upgrading and equipping ambulances |
| Minimum Standard | Minimum of 1 assignment that was Atleast UGX. 40,000,000 within the scope of the contract, which was totally and successfully completed in the last 3 years. |

Award criteria

- Price: 100%

With regards to the ‘price’ criterion, the following formula will be used:

Points tender A 	 = amount of lowest tender * 100

amount of tender A

Final score

The procurement contract will be awarded to the tenderer with the highest final score, after the contracting authority has verified the accuracy of the Declaration on honour of this tenderer and provided the control shows that the Declaration on honour corresponds with reality.

| 4 | Tender form to be signed by the tenderer |
| --- | --- |

# 4.1 Administrative proposal

# 4.1.1 Identification form

Natural person

| I. PERSONAL DATA FAMILY NAME(S) FIRST NAME(S) DATE OF BIRTH DD MM YYYY PLACE OF BIRTH COUNTRY OF BIRTH (CITY, VILLAGE) TYPE OF IDENTITY DOCUMENT IDENTITY CARD PASSPORT DRIVING LICENCE OTHER ISSUING COUNTRY IDENTITY DOCUMENT NUMBER PERSONAL IDENTIFICATION NUMBER PERMANENT PRIVATE ADDRESS POSTCODE P.O. BOX CITY REGION COUNTRY PRIVATE PHONE PRIVATE E-MAIL |  |
| --- | --- |
| II. BUSINESS DATA If YES, please provide business data and attach copies of the official supporting documents. |  |
| Do you run your own business without a separate legal personality (e.g. sole traders, self-employed etc YES NO | BUSINESS NAME (if applicable) VAT NUMBER REGISTRATION NUMBER PLACE OF REGISTRATION: CITY COUNTRY |
| DATE | SIGNATURE |

## 4.1.2	Private/public law body with legal form

| OFFICIAL NAME BUSINESS NAME (if different) ABBREVIATION LEGAL FORM ORGANISATION FOR PROFIT TYPE NON FOR PROFIT |  | NGO | YES NO |
| --- | --- | --- | --- |
| MAIN REGISTRATION NUMBER SECONDARY REGISTRATION NUMBER (if applicable) PLACE OF MAIN REGISTRATION CITY |  |  | COUNTRY |
| DATE OF MAIN REGISTRATION DD |  | MM | YYYY |
| VAT NUMBER ADDRESS OF HEAD OFFICE POSTCODE P.O. BOX |  |  | CITY |
| COUNTRY E-MAIL |  |  | PHONE |
| DATE | STAMP |  |  |
| SIGNATURE OF AUTHORISED REPRESENTATIVE |  |  |  |

## 4.1.3	Public-law body9

| OFFICIAL NAME10 ABBREVIATION MAIN REGISTRATION NUMBER11 SECONDARY REGISTRATION NUMBER (if applicable) PLACE OF MAIN REGISTRATION CITY |  |  | COUNTRY |
| --- | --- | --- | --- |
| DATE OF MAIN REGISTRATION DD |  | MM | YYYY |
| VAT NUMBER OFFICIAL ADDRESS POSTCODE P.O. BOX |  |  | CITY |
| COUNTRY E-MAIL |  |  | PHONE |
| DATE | STAMP |  |  |
| SIGNATURE OF AUTHORISED REPRESENTATIVE |  |  |  |

- Public law body WITH LEGAL PERSONALITY, meaning a public entity being able to represent itself and act in its own name, i.e. being capable of suing or being sued, acquiring and disposing of property, entering into contracts. This legal status is confirmed by the official legal act establishing the entity (a law, a decree, etc.).

- National denomination and its translation in EN or FR if existing.

- Registration number in the national register of the entity.

      - Financial identification form

| BANKING DETAILS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ACCOUNT NAME |  |  |  |  |  |
| IBAN ACCOUNT NUMBER |  |  |  |  |  |
| CURRENCY |  |  |  |  |  |
| BIC/SWIFT CODE |  |  |  |  |  |
| BANK NAME |  |  |  |  |  |
| ADDRESS Of BANK BRANCH |  |  |  |  |  |
| STREET & NUMBER |  |  |  |  |  |
| TOWN/CITY |  |  |  | POST CODE |  |
| COUNTRY |  |  |  |  |  |
| ACCOUNT HOLDER’S DATA AS DECLARED TO THE BANK |  |  |  |  |  |
| ACCOUNT HOLDER |  |  |  |  |  |
| STREET & NUMBER |  |  |  |  |  |
| TOWN/CITY |  |  | POST CODE |  |  |
| SIGNATURE OF ACCOUNT HOLDER (Obligatory) | DATE (Obligatory) |  |  |  |  |

# 4.1.4 Declaration on honour – Grounds for exclusion

Hereby, I / we, acting as legal representative(s) of above-mentioned tenderer declare that the tenderer is not in any of the following cases of exclusion:

1. The tenderer nor any of its directors was found guilty following an indefeasible judgement for one of the following offences:

1° Involvement in a criminal organisation

2° Corruption

3° Fraud

4° Terrorist offence, offence linked to terrorist activities or incitement to commit such offence, collusion or attempt to commit such an offence 5° Money laundering or financing of terrorism

6° Child labour and other trafficking in human beings 7° Employment of foreign citizens under illegal status 8° Creating a shell company.

The exclusions on the basis of this criterion apply for a 5-year term from the date of judgement (or the end of the offence for 7°).

- The tenderer which fails to fulfil his obligations relating to the payment of taxes or social security contributions for an amount in excess of EUR 3 000, except if the tenderer can demonstrate that a contracting authority owes him one or more unquestionable and due debts which are free of all foreseeable liabilities. These debts are at least of an amount equal to the one for which he is late in paying outstanding tax or social charges.

- The tenderer is in a state of bankruptcy, liquidation, cessation of activities, judicial reorganization, or has admitted bankruptcy, or is the subject of a liquidation procedure or judicial reorganization, or in any similar situation resulting from a procedure of the same kind existing under other national regulations.

- The tenderer or one of its directors has committed serious professional misconduct which calls into question their integrity.

The following are considered serious professional misconduct, among others:

  - A breach of Enabel’s Policy regarding sexual exploitation and abuse – June 2019

prs-sexual_exploitation_and_abuse_policy_final_en.pdf (enabel.be)

  - A breach of Enabel’s Policy regarding fraud and corruption risk management – June

2019

https://www.enabel.be/sites/default/files/fraud_policy_en_final.pdf

  - A breach of a regulatory provision in applicable local legislation regarding sexual harassment in the workplace;

  - The tenderer was seriously guilty of misrepresentation or false documents when providing the information required for verification of the absence of grounds for exclusion or the satisfaction of the selection criteria, or concealed information;

  - Where Enabel has sufficient plausible evidence to conclude that the tenderer has committed acts, entered into agreements or entered into arrangements to distort competition.

The presence of this tenderer on one of Enabel’s exclusion lists as a result of such an act/agreement/arrangement is considered to be sufficiently plausible an element.

- When a conflict of interest within the meaning of Article 6 of the Law cannot be remedied by other, less intrusive measures;

- Significant or persistent failures by the tenderer were detected during the execution of an essential obligation incumbent on him in the framework of a previous public contract, a previous contract placed with a contracting authority, when these failures have given rise to measures as of right, damages or another comparable sanction.

Failures to respect applicable obligations regarding environmental, social and labour rights under European Union law, national law, labour agreements or international provisions on environmental, social and labour rights are considered

‘significant’.

The presence of the tenderer on the exclusion list of Enabel because of such a failure serves as evidence.

- The tenderer nor one of its directors are on the lists of persons, groups or entities submitted by the United Nations, the European Union and Belgium for financial sanctions:

For the United Nations, the lists can be consulted at the following address: https://finances.belgium.be/fr/tresorerie/sanctions-financieres/sanctions-internationalesnations-unies

For the United Nations, the lists can be consulted at the following address: :

For the European Union, the lists can be consulted at the following address:

https://finances.belgium.be/fr/tresorerie/sanctions-financieres/sanctionseurop%C3%A9ennes-ue

https://eeas.europa.eu/headquarters/headquarters-homepage/8442/consolidated-listsanctions

https://eeas.europa.eu/sites/eeas/files/restrictive_measures-2017-01-17-clean.pdf

For Belgium: https://finances.belgium.be/fr/sur_le_spf/structure_et_services/administrations_general es/tr%C3%A9sorerie/contr%C3%B4le-des-instruments-1-2

8.  <…> if Enabel executes a project for another funder or donor, other grounds for exclusion may be added.

• I have / we have read and understood the articles about deontology of this public contract (see 1.7.) as well as Enabel’s Policy regarding sexual exploitation and abuse and Enabel’s Policy regarding fraud and corruption risk management and I / we declare fully endorsing and respecting these articles.

Date :………………………………………………………

Place  :…………………………………………………

Signature :……………………………………….

# 4.1.5 Integrity Statement of the tenderers

Hereby, I / we, acting as legal representative(s) of above-mentioned tenderer, declare the following:

- Neither members of administration or employees, or any person or legal person with whom the tenderer has concluded an agreement in view of performing the public contract, may obtain or accept from a third party, for themselves of for any other person or legal person, an advantage appreciable in cash (for instance, gifts, bonuses or any other kind of benefits), directly or indirectly related to the activities of the person concerned for the account of Enabel.

- The board members, staff members or their partners have no financial or other interests in the businesses, organisations, etc. that have a direct or indirect link with Enabel (which could, for instance, bring about a conflict of interests).

- I have / we have read and understood the articles about deontology of this public contract (see 1.7.) as well as Enabel’s Policy regarding sexual exploitation and abuse and Enabel’s Policy regarding fraud and corruption risk management and I / we declare fully endorsing and respecting these articles.

If above-mentioned public contract is awarded to the tenderer, I / we declare, moreover, agreeing with the following provisions:

- In order to avoid any impression of risk of partiality or connivance in the follow-up and control of the performance of the public contract, it is strictly forbidden to the public contractor (i.e. members of the administration and workers) to offer, directly or indirectly, gifts, meals or any other material or immaterial advantage, of whatever value, to the employees of Enabel who are concerned, directly or indirectly, by the follow-up and/or control of the performance of the contract, regardless of their hierarchical rank.

- Any (public) contract will be terminated, once it appears that contract awarding or contract performance would have involved the obtaining or the offering of the above-mentioned advantages appreciable in cash.

- Any failure to comply with one or more of the deontological clauses will lead to the exclusion of the contractor from this and other public contracts for Enabel.

Finally, the tenderer takes cognisance of the fact that Enabel reserves the right to lodge a complaint with the competent legal instances for all facts going against this statement and that all administrative and other costs resulting are borne by the tenderer. Date

Place:…………………………………………

Signature;…………………………………………

## 4.1.6 Subcontractors

| Name and legal form | Address / Registered office | Regards |
| --- | --- | --- |

4.1.7 Economic and financial capacity Form

Financial Statement

The tenderer must complete the following table of financial data based on his/her annual accounts.

| Financial data | Year- 3 UGX | Year- 2 UGX | Year- 1 UGX | Average UGX |
| --- | --- | --- | --- | --- |
| Annual turnover, excluding this public contract |  |  |  |  |

# 4.1.8 Technical and professional capacity form

List of main similar assignments

Upon request, for each of the projects listed, the tenderer must provide immediately the certificates of completion (statement or certificate without major reservation) and / or any supporting documents (contracts, invoices…) approved by the entity which awarded the contract

| Description of the main similar assignment totally performed | Location | Amount involved | Completion date in the last 3 years (only totally performed assignments) | Name of the public or private bodies |
| --- | --- | --- | --- | --- |

# 4.2 Technical proposal

The technical proposal shall be presented in free format but is must include the product brochures for all the medical equipment to be installed. These brochures shall be original and must clearly mention the brand name, model and technical specifications in a way that allows comparability of the offers.

# 4.3 Financial proposal

By submitting this tender, the tenderer commits to performing this public contract in conformity with the terms of reference and performance conditions of this public contract and explicitly declares accepting all conditions listed in the request for a price quote and renounces any derogatory provisions such as his own general sales conditions.

| Description (see also Bills of Quantities) | Total Price in UGX excl. VAT |
| --- | --- |
| Upgrading and equipping of ambulance 1 to type B standards. |  |
| Equipping of ambulance 2 to type B standards (fixed tranche) |  |
| Equipping of ambulance 2; Conditional tranche 1 |  |
| Equipping of ambulance 2; Conditional tranche 2 |  |
| Total price |  |
| Total amount in words: ……………………………………………………………………………………………………………………… |  |
| This contract is subjected to Ugandan withholding tax. For national entities 6% is deducted at payment, for international entities 15% is deducted according to the withholding tax regulation of Uganda |  |

Name and first name: ………………………………………………

Duly authorized to sign this tender on behalf of: ………………………………………………

Place and date: ………………………………………………

Signature: ………………………………………………

NOTE: tenderers shall include a copy of the BoQs in excel in the submission

Do NOT change this “Financial offer & tender form” and the bills of quantities. Reservations are not permitted. Tenderers must under penalty of substantial irregularity, give prices in UGX and exclusive of VAT

As indicated on the official document.

Accepted only for Great Britain, Ireland, Denmark, Sweden, Finland, Norway, Iceland, Canada, United States and Australia.

Failing other identity documents: residence permit or diplomatic passport.

See table with corresponding denomination by country.

To be completed with Region, State or Province by non EU countries only, excluding EFTA and candidate countries.

National denomination and its translation in EN or FR if existing.

NGO = Non Governmental Organisation, to be completed if NFPO is indicated.

Registration number in the national register of companies. See table with corresponding denomination by country.

This does not refer to the type of account. The account name is usually the one of the account holder. However, the account holder may have chosen a different name to its bank account.

Fill in the IBAN Code (International Bank Account Number) if it exists in the country where your bank is established.