## lot 1
Equipping EQA meeting room
TENDER NO. PZA1303311-10040
Annex 1 - Bill of Quantities
Item No. |  | Description | Unit | Quantity | Price | Total Amount
[5 empty] | € | €
DIVISION 01 - SITEWORKS
1.01 |  | Demolition & Site Prepration | L.S | 1
DIVISON 01 - (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
DIVISION 02 - OPENINGS
2.01 |  | Tempered Glass Door
| A | Double Leaf Glass Door Type D01 , opening size (200x242 cm) | NO. | 1 |  | 0
DIVISON 02- (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
DIVISION 03 - FINISHES
3.01 |  | Solid Gypsum Board False Ceiling | M.S | 85 | 1
3.02 |  | Gypsum board walls
| A | Double side Gypsum board walls | M.S | 7 |  | 0
| B | Single side Gypsum board walls | M.S | 10 |  | 0
3.03 |  | Woven Vinyl flooring | M.S | 85 |  | 0
3.04 |  | Floor tiles Match existing | M.S | 3 |  | 0
3.05 |  | Plastering Maintenance : | L.S | 1 |  | 0
3.06 |  | Supercryl Paint:
| A | Supercryl Paint , for plastered walls | M.S | 45 |  | 0
DIVISON 03- (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
DIVISION 04 - WOOD & PLASTIC
4.01 |  | Wooden Wall & ceiling cladding | M.S | 15 |  | 0
4.02 |  | Wooden Acoustic Panels Wall cladding | M.S | 22 |  | 0
4.03 |  | Wooden cabinets
| A | Vertical Cabinet size:100L x70Dx277H cm | L.S | 1 |  | 0
| B | Hoizantal Cabinet size:365 Lx40Hx75H cm | L.S | 1 |  | 0
DIVISON 04 - (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
DIVISION 05 - FURNISHINGS
5.01 |  | Manual Operated Roman blinds | M.S | 15 |  | 0
DIVISON 05- (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
DIVISION 06: MECHANICAL WORKS
6.01 |  | Outdoor Units:
| A | 23 kw | No. | 1 |  | 0
6.02 |  | Indoor Units:
Ducted Unit
| A | 12.8 kW | No. | 2 |  | 0
6.03 |  | Piping Network: | LS | 1 |  | 0
6.04 |  | Wired Thermostat: | No. | 2 |  | 0
6.06 |  | Duct Works: | M.S | 8
6.07 |  | Flexible Duct:
| A | Ф8" Insulated flexible duct | ML | 30
6.08 |  | Supply and Return Grilles:
| A | Linear 3 slot supply | ML | 5.8
| B | Linear 2 slot Return with شبك اسود | ML | 5.8
DIVISON 06- (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
DIVISION 07: Electrical Works
7 |  | LIGHTING POINT
7.1.1 |  | Lighting point(3*1.5mm2) | No | 27 |  | 0
7.2 |  | LIGHTING fixtures
7.2.1 |  | Trimless recessed led spot, aluminim white body, double lamp | No | 3 |  | 0
7.2.2 |  | Trimless recessed led spot, aluminim white body, single lamp | No | 21 |  | 0
7.2.3 |  | 3W LED 170 Lm 3h duration self-contained Non maintained safety luminaire | No | 2 |  | 0
7.2.4 |  | 4 W maximum, with 400lm/m as minimum, 24V high flexibility LED strip, 3000K. | Mr | 10 |  | 0
10.2.5 |  | 5 watt 3h, duration Surface/Recessed Self-contained EXIT safety luminaire | No | 1 |  | 0
7.2.6 |  | 26W LED CRI 80, 4000K, 4CM width, cutomizable length lighting fixture | Mr | 24 |  | 0
7.3 |  | Distribution Boards
7.3.1 |  | DB1 | No | 1 |  | 0
7.4 |  | POWER SOCKETS:
7.4.1 |  | 16A 3-pin power socket | No | 5 |  | 0
7.4.2 |  | 16A 3-pin power socket duplex | NO | 6 |  | 0
7.4.3 |  | 16A 3-pin power socket AC | NO | 2 |  | 0
7.4.4 |  | 24 Module IP 65 Floor Box | NO | 2 |  | 0
7.5 |  | Isolating switches and Raceways
7.5.1 | 10.5.1 | 4P,25A isolator | NO | 1 |  | 0
7.5.2 | 10.5.2 | 4 1" Conduits with pull wire | Mr | 50 |  | 0
7.5.3 | 10.5.3 | 2* 1.5" Conduits with pull wire | Mr | 30 |  | 0
7.5.4 | 10.5.4 | 4* 3/4" Conduits with pull wire | Mr | 60 |  | 0
7.6 |  | XLPE Cables:
7.6.1 |  | 5*10 mm2,XLPE cable | MR | 35 |  | 0
7.6.2 |  | 5*4 mm2,XLPE cable | MR | 20 |  | 0
7.7 |  | TELEPHONE & COMPUTER SYSTEMS:
7.7.1 |  | Data socket , CAT6A cable, fire retardant conduit | NO | 12 |  | 0
7.7.2 |  | Data rack comunication cabinet 8U/100cm depth | NO | 1 |  | 0
7.7.3 |  | 24 port patch panel | NO | 1 |  | 0
7.7.4 |  | Rack PDU,16A, 6 outlets - surged type | NO | 1 |  | 0
7.7.5 |  | 1/2U, Air patch panel, brush | NO | 1 |  | 0
7.7.6 |  | Patch Cord | NO | 12 |  | 0
7.7.7 |  | Wireless Access Point | NO | 1 |  | 0
7.7.8 |  | Edge switch 24G full PoE 370W 4SFP/SFP+, | NO | 1 |  | 0
7.9 |  | Audio & Video Integration
7.9.1 |  | Ceiling Recessed speaker | No | 4 |  | 0
7.10.2 |  | Mixer-Amplifier 120W (4- in; 1- out) | No | 1 |  | 0
7.9.3 |  | 98” full HD LED screen, HDMI and VGA inputs with wall mount | No | 1 |  | 0
7.9.4 |  | Multipoint Video conference system Supporting Team and Zoom. | LS | 1 |  | 0
DIVISON 07- (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
DIVISION 08: Ready Made furniture
8.01 |  | Conference Table Furniture | No. | 1 |  | 0
8.02 |  | Swivel chair | No. | 22 |  | 0
8.03 |  | Cantilever Chair | No. | 25 |  | 0
8.04 |  | Service Table with fabric covers | No. | 4 |  | 0
DIVISON 08- (TOTAL CARRIED TO SUMMARY) |  |  |  |  | € | 0
Summary Table
Project Total Amount Exclusive of VAT (EURO €)