## BoQ
Site Selection Schools Palestine
PUBLIC WORKS CONTRACT FOR “THE REHABILITATION OF AL-DAWHA SCHOOL IN WADI AL-JOZ IN EAST JERUSALEM
TENDER NO. PSE22001-10077
AL-DAWHA SCHOOL
Annex 1 - Bill of Quantities
CONSULTANT: ATELIER ARLETTE | [5 empty] | Version: v240430
Nr. | ITEM | DESCRIPTION OF WORK NEEDED | UNIT | QUANTITY | RATE € | TOTAL ESTIMATION EURO | Local. |  |  | Works Category | Sub lot
[7 empty] | B | F | R
1 | EXCAVATION & DEMOLITION WORKS |  |  |  |  | 0
1.01 | dismantle doors | dismantle of steel or wooden doors according to engineer's instructions, works include dismantle and remove the frames of the doors. | no | 14 |  | 0 |  |  |  | Demolition | sub1
1.02 | Dismantle of kitchen floor tiles | Dismantle floor tiles and remove fill underneath to reach the desired level according to engineer's instructions and remove all outside the site in a legal manner. | m2 | 4 |  | 0 | 1 | 1 | 3 | Demolition | sub1
1.03 | Dismantle floor tiles in canteen | Dismantle floor tiles and remove fill underneath to reach the desired level according to engineer's instructions and remove all outside the site in a legal manner. | m2 | 8 |  | 0 | 1 | 1 | 19 | Demolition | sub2
1.04 | Dismantle cabinets and sink | Dismantle and remove the existing cabinets and countertop in the kitchen, works include dismantle the sink and all pipes and accessories and water taps and all, and remove all dismantled materials outside the site and all according to engineer's instructions. | job | 1 |  | 0 | 1 | 1 | 3 | Demolition | sub1
1.05 | Open a window | Dig the existing wall of the canteen to open a window 100cm * 100cm , works include all the finishing works after opening the window like plastering around the window according to specifications, and all according to engineer's instructions. | job | 1 |  | 0 | 1 | 1 | 19 | Demolition | sub2
1.06 | Dismantle and reinstall finger protectors | Dismantle the existing finger protectors, keep them in a safe place and reinstall after installing the new doors, the contractor will be responsible for any missing or any one that was damaged and will be responsible to supply and install new ones instead, and all according to engineer's instructions. | no | 14 |  | 0 |  |  |  | Demolition | sub1
1.07 | Dismantle existing window | Dismantle the existing window and window frame and all materials used to close the window opening in the resources room, works include removing all dismantled materials outside the site in a legal manner and all according to engineer's instructions | job | 1 |  | 0 | 1 | 1 | 11 | Demolition | sub3
1.08 | Dismantle all curtains | Dismantle and remove all the curtains located on all the windows in the school in coordination with the school's administration. | job | 1 |  | 0 |  |  |  | Demolition | sub1
1.09 | Dismantle fabric pads on walls | Dismantle and remove all that is located on the walls from all the rooms and corridors from all materials and remove them outside the site in a legal manner and all according to engineer's instructions and in coordination with the school's administration. | job | 1 |  | 0 |  |  |  | Demolition | sub1
1.1 | Dismantle white boards | Dismantle and remove the existing white boards in coordination with the school's administration and remove them outside the site in a legal manner and all according to engineer's instructions. | no | 6 |  | 0 |  |  |  | Demolition | sub1
1.11 | Dismantle window | Dismantle and remove the window in the teacher's room , works include dismantle and remove the frame and remove all outside the site in a legal manner and all according to engineer's instructions. | no | 1 |  | 0 | 1 | 1 | 9 | Demolition | sub1
1.12 | Dismantle roof of science lab. | Dismantle and remove only the composite sheet panels over the science laboratory, keeping the metal structure intact , the price includes removal of any insulation layer or metal sheets connected to the walls, works include also removing the 60*60cm false ceiling tiles without damaging the false ceiling grid, and remove outside the site in a legal manner and all according to engineer's instructions. | job | 1 |  | 0 |  |  |  | Demolition | sub1
1.13 | Dismantle external tiles skirting | Dismantle and remove existing external wall skirting tiles and remove all dismantled materials outside the site in a legal manner and all according to engineer's instructions. | job | 1 |  | 0 | p1 |  |  | Demolition | sub1
1.14 | Dismantle floor tiles | Dismantle and remove floor tiles in playground and remove fill underneath, works include remove all debris and dismantled tiles outside the site in a legal manner, all according to engineer's instructions. | m2 | 169 |  | 0
1.15 | Move existing furniture | Move the existing furniture where works to be performed to one of the nearby schools in the street; all according to the instructions given by the school's administration. | Job | 1 |  | 0 |  |  |  | Demolition
2 | GYPSUM BOARDS & FALSE CEILING |  |  |  |  | 0
2.01 | New Internal false ceilings | Supply and install waterproof gypsum board MR, for false ceilings with studs at every 40cm in both directions including decorations, forms, trims with all connections supports, fixing, putty sealer, wire mesh and special angles for edge of boards and all necessary accessories needed for the best completion of works from 30 to 40cm width. The price shall include for all opening of air condition grills, light fixture and the like. The contractor shall provide a shop drawing for architects approval, works include painting with acrylic paint three coats of supercryl2000 or equivalent after preparing the surface according to specifications, and all according to engineer's instructions. | m.r | 64 |  | 0 |  |  |  | Gypsum | Sub1
2.02 | close opening in the resource room | Supply & install gypsum boards 12.7mm thick each board, two boards from each side with horizontal studs on floors and ceilings and vertical ones every 40cm ,the gypsum boards are water resistant (green), the gap between the gypsum boards to be filled with wool rock 5cm thick and 80kg/m3 density, price includes installing corner beads and joint tape using putty according to specifications. and all according to specifications and to engineer's instructions. | m2 | 2.2 |  | 0 | 1 | 1 | 11 | Gypsum | sub3
2.03 | close a door opening | Supply & install gypsum boards 12.7mm thick each board, two boards from each side with horizontal studs on floors and ceilings and vertical ones every 40cm ,the gypsum boards are water resistant (green), the gap between the gypsum boards to be filled with wool rock 5cm thick and 80kg/m3 density ,price includes installing corner beads and joint tape using putty according to specifications. and all according to specifications and to engineer's instructions. | m2 | 2 |  | 0 | 1 | 1 | 17 | Gypsum | sub1
2.04 | Gypsum walls | Supply & install gypsum boards 12.7mm thick , one board from one side with horizontal studs on floors and ceilings and vertical ones every 40cm ,the gypsum boards are fire resistant, and all according to specifications, price includes installing corner beads and joint tape using putty according to specifications. https://www.usg.com/content/usgcom/en_CA_east/resource-center/gypsum-construction-handbook.html ) and to engineer's instructions. | m2 | 6 |  | 0 | 1 | 1 | 2 | Gypsum | sub6
2.05 | 60*60cm false ceiling | Supply and install 60*60cm Olympia Armstrong edge board ceiling tiles on the existing grid to be installed in the science laboratory, and all according to engineer's instructions. | no | 30 |  | 0 |  |  |  | Gypsum | sub1
3 | PLASTERING WORKS |  |  |  |  | 0
3.1 | Provisional item: Internal plastering on block walls | Patching works on previously plastered walls for electro mechanical installations price includes installation of metal lathe 200mm wide to all chases of electrical works | m.r | 15 |  | 0 |  |  |  | plastering | Sub1
4 | PAINTING WORKS |  |  |  |  | 0
Price to include dismantle the existing radiators , paint the walls where they were installed according to specifications, and reinstall them.
4.01 |  | Supply all kinds of raw material and apply paint for internal walls , the price should include preparing surface, clean, remove dust and foreign matter, sanding with sand paper and remove all layers of existing paint, checking the walls with Calcimo X and putty, applying one coat of PAINT FILL Product from an approved company, laying two coats of putty from an approved company, applying one coat of SUPER BOND ROLL and applying three coats acrylic paint from an approved company and all according to engineer's instructions. | m2 | 475 |  | 0 |  |  |  | Painting
4.02 | Policid paint | Supply and apply 3 layers of polycid paint with all needed materials for the ceilings , all according to engineer's instruction and specifications. | m2 | 225 |  | 0 |  |  |  | Painting
4.03 | Internal oil painting | Supply all kinds of raw material and apply oil paint for internal walls , the price should include preparing surface, clean, remove dust and foreign matter, sanding with sand paper and remove all layers of existing paint, checking the walls with Calcimo X and putty, applying one coat of PAINT FILL Product from an approved company, laying two coats of putty from an approved company, applying one coat of SUPER BOND ROLL and applying three coats of oil paint from an approved company and all according to engineer's instructions. | m2 | 220 |  | 0 |  |  |  | Painting
4.04 | colored plaster | Supply and install flexible acrylic plaster coating. Surface preparation: make sure that the surface was prepared in accordance with IS 1920 part1 &2 , application: apply using brush or roller one coat of special colored bonding primer ,apply one coat of the flexible acrylic plaster using metal spatula and move the spatula to get the desired uniform texture, manufacturer tambour acrylic shlicht system or equivalent, color to be selected by the engineer. | m2 | 150 |  | 0 | p1 |  |  | Painting | sub7
4.05 | steel painting | Supply all materials needed and apply oil paint for the steel windows shutters, work includes removal of old paint and rust if existed with special materials, fixing the surface with special putty and applying two coats or more of FD22 paint from Tambour or equivalent. Color to be determined by engineers and all according to engineers' instructions and specifications. | no | 14 |  | 0 |  |  |  | Painting | sub1
4.06 | steel painting | Supply all materials needed and apply oil paint for the steel windows shutters, work includes removal of old paint and rust if existed with special materials, fixing the surface with special putty and applying two coats or more of FD22 paint from Tambour or equivalent. Color to be determined by engineers and all according to engineers' instructions and specifications. | m2 | 9 |  | 0 |  |  |  | Painting | sub1
4.07 | wood painting | Supply all materials needed and apply polior paint for the wooden ceiling, work includes removal of old paint with special materials, fixing the surface with special putty and applying two coats of primer and three coats of polior paint from Tambour or equivalent. Color to be determined by engineers and all according to engineers' instructions and specifications | m2 | 15 |  | 0 |  |  |  | Painting | sub1
4.08 | Maintenance of existing benches | Supply all materials needed and apply polior paint to maintain the fixed wooden benches (seat and back as one unit to be measured in meter run) in the playground, work includes removal of old paint with special materials, fixing the surface with special putty and applying two coats of primer and three coats of polior paint from Tambour or equivalent. Color to be determined by engineers and all according to engineers' instructions and specifications. | m.r | 10 |  | 0
5 | TILING, FLOORING AND MARBLE WORKS |  |  |  |  | 0
5.01 | install new ceramic wall tiles in kitchen | Supply and Install Ceramic or porcelain wall Tiles in patterns first choice and free from all defects. with 3mm spacing and to be grouted with a water resistant grout like Mapei ultra color plus and cleaning on site. Price to include the white cement mortar (1:3). The type, color and size shall be approved by Engineer | m2 | 2 |  | 0 | 1 | 1 | 3 | Tiling | sub1
5.02 | install new ceramic wall tiles in Canteen | Supply and Install Ceramic or porcelain wall Tiles in patterns first choice and free from all defects. with 3mm spacing and to be grouted with a water resistant grout like Mapei ultra color plus and cleaning on site. Price to include the white cement mortar (1:3). The type, color and size shall be approved by Engineer | m2 | 4.5 |  | 0 | 1 | 1 | 19 | Tiling | sub2
5.03 | Supply and install new floor tiles Granite porcelain | Supply and Install Non-Slip porcelain R9 floor tiles first choice and free from all defects with 3mm spacing and to be pointed with a water resistant grout like Mapei ultra color plus and cleaning on site. Price to include the white cement mortar (1:3) and concrete bedding, sand with cement filling (Grade B-100).The type and color shall be approved by Engineer (quantities shall be measured as on site not as bought from store) | m2 | 4 |  | 0 | 1 | 1 | 3 | Tiling | sub1
5.04 | floor tiles for canteen | Supply and Install Non-Slip porcelain R9 floor tiles first choice and free from all defects with 3mm spacing and to be pointed with a water resistant grout like Mapei ultra color plus and cleaning on site. Price to include the white cement mortar (1:3) and concrete bedding, sand with cement filling (Grade B-100).The type and color shall be approved by Engineer (quantities shall be measured as on site not as bought from store) | m2 | 8 |  | 0 | 1 | 1 | 9 | Tiling | sub2
5.05 | Caesar countertop | Supply and install counter top from Caesar 2cm thick and 60cm depth, color to be chosen by the architect, price includes openings for the sinks | m.r | 1.05 |  | 0 | 1 | 1 | 3 | Tiling | sub1
5.06 | Caesar countertop | Ditto but 30cm depth | m.r | 1.4 |  | 0 | 1 | 1 | 3 | Tiling | sub1
5.07 | Caesar countertop | Supply and install counter top from Caesar 2cm thick and 60cm depth, color to be chosen by the architect, price includes openings for the sinks | m.r | 3.4 |  | 0 | 1 | 1 | 19 | Tiling | sub2
5.08 | Porcelain granite - external tiles | Supply and install porcelain laser granite tiles R11, 12mm thick 100*100cm or 80*80cm or as specified by the engineer using tiles adhesive, works include grout from mapei ultra color plus "water repelant", price includes also 10cm skirting over surrounding walls and around planteries and where needed in the playground, all according to engineer's instructions, the contractor has to follow the slope of the existing playground when installing the tiles. | m2 | 169 |  | 0 | P1 |  |  | Tiling | sub7
5.09 | Linoleum flooring | Supply and install eco friendly linoleum flooring (Farbo Marmoleum solid or equivalent) Marmoleum sheets 2.5mm thick , works include all that is needed to install the sheets according to manufacturer's instructions , works include also using more than one color and according to the design submitted by the architect, works include also skirting 10cm high and all according to engineer's instructions. | m2 | 13 |  | 0 | 1 | 1 | 16 | Tiling | sub4
5.1 | Linoleum flooring | Supply and install eco friendly linoleum flooring (Farbo Marmoleum solid or equivalent) Marmoleum sheets 2.5mm thick , works include all that is needed to install the sheets according to manufacturer's instructions , works include also using more than one color and according to the design submitted by the architect, works include also skirting 10cm high and all according to engineer's instructions. | m2 | 14 |  | 0 | 1 | 1 | 11 | Tiling | sub3
5.11 | Linoleum flooring | Supply and install eco friendly linoleum flooring (Farbo Marmoleum solid or equivalent) Marmoleum sheets 2.5mm thick , works include all that is needed to install the sheets according to manufacturer's instructions , works include also using more than one color and according to the design submitted by the architect, works include also skirting 10cm high and all according to engineer's instructions. | m2 | 13 |  | 0 | 1 | 1 | 13 | Tiling | sub5
5.12 | Linoleum flooring | Supply and install eco friendly linoleum flooring (Farbo Marmoleum solid or equivalent) Marmoleum sheets 2.5mm thick , works include all that is needed to install the sheets according to manufacturer's instructions , works include also using more than one color and according to the design submitted by the architect, works include also skirting 10cm high and all according to engineer's instructions. | m2 | 26 |  | 0 | 1 | 1 | 2 | Tiling | sub6
5.13 | window sills from local marble | Supply and install window sill from local marble first class 3cm thick and 20cm depth, works include all that is needed to install the sill from mortar and all according to engineer's instructions | m.r | 1 |  | 0 | 1 | 1 | 19 | Tiling | sub2
5.14 | skirting for teachers room wall same as floor tiles | Supply and install tiles for skirting similar to the existing floor tiles in color and pattern, works include the mortar for installing the tiles and all that is needed and all according to engineer's instructions | m.r | 4 |  | 0 | 1 | 1 | 9 | Tiling | sub1
5.15 | Provisional item: PVC floor | Supply and install Vinyl flooring of 2mm thickness (adhesive PVC) of a first-class quality conforming to EN Standard EN ISO 10874 Class 34-43 for areas considered for public and commercial/light industry use. The flooring shall comply to the follow criteria: 1. Fire resistant class B-S1 in accordance with EN 13501-1. 2. Slip resistent class R9 in accordance with DIN 51130/BGR 181. 3. Resistent to chemical products and water – spills can easily be wiped or mopped away without causing damage to your floor. 4. TVOC after 28days shall be <10 µg/ m3 in accordance with ISO 16000-6. The Contractor shall submit datasheet and color selection for approval by Engineer. More than one color as per the drawings. Installation shall be performed only by a Certified Worker. Note: All angles shall be cut at 45 degrees using a proper angle cutter guide by a Certified Worker. | m2 | 66 |  | 0 |  |  |  | Tiling | sub1
Unit price rate shall include for surface preparation, leveling, positioning, applying of primer glue (shall be compatible with vinyl flooring material) rolling out using cork smooth press and a 50kg roller when installation is complete, trimming the edges in perfectly straight edges, welding, putting into service and furniting the space to ensure ends of chairs/tables do not damage the space. The Unit Price includes for skirting quantities. Furthermore, the skirting work must be continuous with minimum number of joints and according to the supervisor engineer instructions. The skirting shall include for PVC capping strip clip system - see picture below for illustration - for watertightseal and an internal corner system, including both in and out as needed.
3.2 | PVC Skirting | Supply and install waterproof PVC skirting, made of recycled material. The height 7-10 cm. The price includes removing the existing skirting and all material needed to install the skirting on the walls. The contractor should submit samples for color and shape. | M.L | 60 |  | 0
6 | CARPENTRY & FURNITURE WORKS |  |  |  |  | 0
6.01 | Install Wooden Wall Guards | Supply and install wooden wall guards from plywood (Birch) 20mm thick, and 20cm high, covered with Formica (Veneer).Color to be determined by engineer, works include dismantle the old ones if existed. | MR | 20 |  | 0 |  |  |  | Carpentry | sub1
6.02 | Maintenance of existing wall guards | Maintenance for the existing wooden wall guards, works include painting the wood after removing totally the old paint and painting with polior paint ,color to be selected by the engineer, works include replacing the veneer if the surface of the wall guards was from any kind of veneer like Formica, color of the veneer to be selected by the engineer, works include also dismantle the wall guards and do all the maintenance needed according to engineer's instructions and then reinstalling them, works include all that is needed to do the installation and all according to engineer's instructions. | Job | 1 |  | 0 |  |  |  | Carpentry | sub1
6.03 | Wooden cabinets | Supply and install lower kitchen cabinets not less than 60cm depth, constructed from plywood 20mm thick , leaves to be from MDF covered with laminated veneer (Formica) for all sides, the external sides to be selected by the engineer, the other sides with white laminated veneer, the veneer to be from an approved company, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides ,works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, the drawers tracks to be high quality from an approved company up to 50-60kg,and all as per the attached drawings and instructed by the site engineer. | mr. | 1.05 |  | 0 | 1 | 1 | 3 | Carpentry | sub1
6.04 | Wooden cabinets | Supply and install cabinets not less than 30cm depth, constructed from plywood 20mm thick , leaves to be from MDF covered with laminated veneer (Formica) for all sides, the external sides to be selected by the engineer, the other sides with white laminated veneer, the veneer to be from an approved company, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides ,works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, the drawers tracks to be high quality from an approved company up to 50-60kg,and all as per the attached drawings and instructed by the site engineer. | mr. | 3 |  | 0 | 1 | 1 | 3 | Carpentry | sub1
6.05 | Wooden cabinets | Supply and install cabinet not less than 30cm depth, 168cm length and 270cm high, constructed from plywood 20mm thick , leaves to be from MDF covered with laminated veneer (Formica) for all sides, the external sides to be selected by the engineer, the other sides with white laminated veneer, the veneer to be from an approved company, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides ,works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, ,and all as per the attached drawings and instructed by the site engineer. | no. | 1 |  | 0 | 1 | 1 | 3 | Carpentry | sub1
6.06 | Wooden cabinets | Supply and install lower cabinets not less than 60cm depth, constructed from plywood 20mm thick , leaves to be from MDF covered with laminated veneer (Formica) for all sides, the external sides to be selected by the engineer, the other sides with white laminated veneer, the veneer to be from an approved company, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides ,works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, the drawers tracks to be high quality from an approved company up to 50-60kg,and all as per the attached drawings and instructed by the site engineer. | mr. | 3.3 |  | 0 | 1 | 1 | 19 | Carpentry | sub2
6.07 | Wooden cabinets | Supply and install upper cabinets not less than 40cm depth, constructed from plywood 20mm thick , leaves to be from MDF covered with laminated veneer (Formica) for all sides, the external sides to be selected by the engineer, the other sides with white laminated veneer, the veneer to be from an approved company, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides ,works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, and all as per the attached drawings and instructed by the site engineer. | mr. | 3.6 |  | 0 | 1 | 1 | 19 | Carpentry | sub2
6.08 | Wooden cabinets | Supply and install wooden cabinets 39cm depth and 78cm high, structure from plywood 17mm thick, door leaves to be from MDF covered with laminated veneer (Formica) for all sides color to be selected by the architect. Internal shelves and partitions should be from plywood 17mm thick, all accessories and specific details to be as indicated in the preambles. And all according to engineer's instructions | mr. | 2.5 |  | 0 | 1 | 1 | 5 | Carpentry | sub1
6.09 | Circular tables | Supply and install circular tables 70cm diameter and 60cm high, structure to be from steel 2mm thick, the surface of the tables to be from plywood 20mm thick and painted with shlive paint according to specifications, color to be selected by the architect, a sample has to submitted for approval, and all according to engineer's instructions. | no. | 2 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.1 | Chairs for KG | Supply and install chairs :Height: 38 cm Dimension of plastic seat: 33.5 x 34.5 cm Dimension of plastic back: 19.5 x 34.5 cm Plastic thickness: 5 - 8 mm Plastic color: as per architect's instructions Diameter of iron pipes: 22 mm,10/20mm Thickness of iron pipes: 1.5 mm,1.25mm Width of chair: 40 cm | no. | 10 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.11 | Wooden cabinet | Supply and install cabinets 40cm depth, 214cm length and 280cm high, constructed from plywood 20mm thick , leaves to be from MDF painted with shlive paint for all sides, the color to be selected by the engineer, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides for the internal shelves and painted with shlive for the exposed shelves, works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, the drawers tracks to be high quality from an approved company up to 50-60kg,and all as per the attached drawings and instructed by the site engineer. | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.12 | Wooden cabinet | Supply and install cabinets 30cm depth, 235cm length and 110cm high, constructed from plywood 20mm thick , works include the shelves from plywood 20mm thick painted with shlive paint according to specifications and color to be selected by the engineer, the cabinet to be painted with shlive paint according to specifications, different colors will be used , | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.13 | teacher's table | Supply and install teacher's table 90cm length,60cm depth and 75cm high, structure from galvanized steel not less than 1.5mm thick and painted by electrostatic painted metal structure 80 micron thick, the structure with an X shape support, the tables legs should have rubber edges , the table's surface from birch plywood 34mm thick and painted with shlive paint according to specifications, a sample has to be submitted and approved by the engineer, color to be selected by the architect. | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.14 | Teacher's chair | Supply and install chair for teacher, Height: 46 cm Dimension of plastic seat: 42 x 43 cm Dimension of plastic back: 22 x 43 cm Plastic thickness: 5 - 8 mm Plastic color: grey . Diameter of iron profile: (20x20) mm Thickness of iron profile: 1.25mm | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.15 | Wooden shelves | Supply and install wooden shelves , structure from plywood 17mm thick, 88cm length and 85cm high, to be painted using shlive paint according to specifications, color to be selected by the architect, all according attached drawings (A09), works include all that is needed to do the installation and all according to engineer's instructions. | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.16 | new wooden doors | Supply and install the following 45 mm. thick solid plywood doors covered with laminated veneer 0.8mm thick, with beech hardwood lipping frame 35X45 mm. tongued and grooved to 27* 95 mm pine wood. The price shall include fixing ironmongery, 3 stainless steel hinges per leaf of a door, a stainless steel plates and kick plates U shape screwed with tempered screws and all accessories needed as per specification and architect's instructions. The frame should be from galvanized steel 1.5mm thick at the whole depth of the wall taking into consideration the plaster of the wall, works include first installing of the galvanized steel frame and casting reinforced concrete around the frame not less than 10cm width using steel reinforcement 4ø10 and 6mm stirrups each 25cm for lintel and jambs, price includes painting one coat using special paint for galvanized steel and three coats of polior paint ,color to be chosen by engineer, works include also laminated glass for the door window 3+3 with frame from beech wood 35*35cm painted according to specifications, and all according to engineer's instructions, the cylinder of the door to be half cylinder from an approved company | no. | 10 |  | 0 |  |  |  | Carpentry | sub1
6.17 | tables | Supply and install tables as per attached drawings 97.7cm diameter and 60cm high, structure to be from steel 2mm thick, the surface of the tables to be from plywood 20mm thick and painted with shlive paint according to specifications, color to be selected by the architect, a sample has to submitted for approval, and all according to engineer's instructions. | no. | 5 |  | 0 | 1 | 1 | 13 | Carpentry | sub3
6.18 | Chairs for students | Supply and install chairs :Height: 38 cm Dimension of plastic seat: 33.5 x 34.5 cm Dimension of plastic back: 19.5 x 34.5 cm Plastic thickness: 5 - 8 mm Plastic color: as per architect's instructions Diameter of iron pipes: 22 mm,10/20mm Thickness of iron pipes: 1.5 mm,1.25mm Width of chair: 40 cm | no. | 5 |  | 0 | 1 | 1 | 13 | Carpentry | sub3
6.19 | Teacher's chair | Supply and install chair for teacher, Height: 46 cm Dimension of plastic seat: 42 x 43 cm Dimension of plastic back: 22 x 43 cm Plastic thickness: 5 - 8 mm Plastic color: grey . Diameter of iron profile: (20x20) mm Thickness of iron profile: 1.25mm | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | sub3
6.2 | teacher's table | Supply and install teacher's table 90cm length,60cm depth and 75cm high, structure of the table from birch plywood 20mm thick, sides of the table from birch plywood 20mm thick and the surface to be from birch plywood 5cm thick, the table from all sides to be covered with laminated veneer (Formica) 0.8mm thick ,color to be selected by the engineer, more than one color will be used, and all according to engineer's instructions. | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | sub3
6.21 | cabinet | Supply and install circular cabinet 60cm depth, 392cm length and 265cm high, constructed from plywood 20mm thick , leaves to be from MDF painted with "shlive" paint for all sides, the color to be selected by the engineer, the other sides with laminated veneer, the veneer to be from an approved company, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides for the internal shelves and painted with shlive for the exposed shelves, works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, the drawers tracks to be high quality from an approved company up to 50-60kg,and all as per the attached drawings and instructed by the site engineer, works include taking into consideration the existing electrical trunks to be adjusted inside the cupboards. | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | Sub3
6.22 | Cabinet | Supply and install cabinets 50cm depth, 267cm length and 260cm high, constructed from plywood 20mm thick , leaves to be from MDF painted with shlive paint for all sides, the color to be selected by the engineer , works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides for the internal shelves and painted with shlive for the exposed shelves, works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, and all as per the attached drawings and instructed by the site engineer. | no. | 1 |  | 0 | 1 | 1 | 16 | Carpentry | sub4
6.23 | teacher table for counselor room | Supply and install cabinets 60cm depth,90cm length and 210cm high, constructed from plywood 20mm thick , leaves to be from MDF painted with shlive paint for all sides, the color to be selected by the engineer , works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides ,works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, and all as per the attached drawings and instructed by the site engineer. | no. | 1 |  | 0 | 1 | 1 | 16 | Carpentry | sub4
6.24 | chair for teacher | Supply and install chairs :Height: 38 cm Dimension of plastic seat: 33.5 x 34.5 cm Dimension of plastic back: 19.5 x 34.5 cm Plastic thickness: 5 - 8 mm Plastic color: as per architect's instructions Diameter of iron pipes: 22 mm,10/20mm Thickness of iron pipes: 1.5 mm,1.25mm Width of chair: 40 cm | no. | 1 |  | 0 | 1 | 1 | 16 | Carpentry | sub4
6.25 | Floor cushions | Supply and install floor cushions made of high quality fabrics to be cut and sewed and filled with high quality and high density 10cm thick sponge , color to be selected by the architect, a sample has to be submitted for approval , size of each 70cm x 80cm x 10cm | no. | 3 |  | 0 | 1 | 1 | 16 | Carpentry | sub4
6.26 | Floor cushions | Ditto but the size is 125cm x 70cm | no. | 1 |  | 0 | 1 | 1 | 16 | Carpentry | sub4
6.27 | Pillows | supply and put pillows made of high quality fabric to be cut and sewed and filled with polyester or cotton ,size 30cm x 45cm, a sample has to be submitted for approval, color to be selected by the architect | no. | 6 |  | 0 | 1 | 1 | 16 | Carpentry | sub4
6.28 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 12 |  | 0 | 1 | 1 | 16 | Carpentry | sub4
6.29 | Magnetic white boards | Supply and install magnetic white board polyester coated steel surface 180cm * 120cm fixed on MDF board 11 mm thick, the frame to be from high quality aluminum and four plastic angles to cover the bolts, the board to include the pen and eraser holder, works include all that is needed to install the board from screws ....etc., and all according to engineer's instructions, a sample has to be submitted for approval | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | Sub3
6.3 | Magnetic white boards | Supply and install magnetic white board polyester coated steel surface 180cm * 120cm fixed on MDF board 11 mm thick, the frame to be from high quality aluminum and four plastic angles to cover the bolts, the board to include the pen and eraser holder, works include all that is needed to install the board from screws ....etc., and all according to engineer's instructions, a sample has to be submitted for approval | no. | 1 |  | 0 | 1 | 1 | 12 | Carpentry | Sub1
6.31 | Magnetic white boards | Supply and install magnetic white board polyester coated steel surface 180cm * 120cm fixed on MDF board 11 mm thick, the frame to be from high quality aluminum and four plastic angles to cover the bolts, the board to include the pen and eraser holder, works include all that is needed to install the board from screws ....etc., and all according to engineer's instructions, a sample has to be submitted for approval | no. | 1 |  | 0 | 1 | 1 | 15 | Carpentry | Sub1
6.32 | Magnetic white boards | Supply and install magnetic white board polyester coated steel surface 180cm * 120cm fixed on MDF board 11 mm thick, the frame to be from high quality aluminum and four plastic angles to cover the bolts, the board to include the pen and eraser holder, works include all that is needed to install the board from screws ....etc., and all according to engineer's instructions, a sample has to be submitted for approval | no. | 1 |  | 0 | 1 | 1 | 6 | Carpentry | Sub1
6.33 | Magnetic white boards | Supply and install magnetic white board polyester coated steel surface 240cm * 120cm fixed on MDF board 11 mm thick, the frame to be from high quality aluminum and four plastic angles to cover the bolts, the board to include the pen and eraser holder, works include all that is needed to install the board from screws ....etc., and all according to engineer's instructions, a sample has to be submitted for approval | no. | 1 |  | 0 | 1 | 1 | 17 | Carpentry | Sub1
6.34 | Magnetic white boards | Supply and install magnetic white board polyester coated steel surface 240cm * 120cm fixed on MDF board 11 mm thick, the frame to be from high quality aluminum and four plastic angles to cover the bolts, the board to include the pen and eraser holder, works include all that is needed to install the board from screws ....etc., and all according to engineer's instructions, a sample has to be submitted for approval | no. | 1 |  | 0 | 1 | 1 | 7 | Carpentry | Sub1
6.35 | Cabinet for the secretary | Supply and install cabinets 40cm depth, 254.5cm length and 270cm high, constructed from plywood 20mm thick , leaves to be from MDF painted with shlive paint for all sides, the color to be selected by the engineer, works include the shelves from plywood 20mm thick covered with laminated white veneer (Formica) from all sides for the internal shelves and painted with shlive for the exposed shelves, works include also slow motion closing hinges from an approved company and the hinges to fit according to the leave's size and weight, and all as per the attached drawings and instructed by the site engineer. | no. | 1 |  | 0 | 1 | 1 | 5 | Carpentry | Sub1
6.36 | maintenance for students' desks in 2nd grade classroom | Reduce the height of the seats and the tables for 2nd grade desks by cutting the legs and rewelding and repainting according to the new dimensions and all according to engineer's instructions, a sample has to be done for approval. | no. | 7 |  | 0 | 1 | 1 | 6 | Carpentry | sub1
6.37 | Wooden window | Supply and install fixed window for resources room ,the frame to be made from MDF and assembled as per the detail in "A17", the price includes installing a laminated 6+6 clear glass ,the price also includes installing an MDF frame to hold the glass with 6 screws and copper nuts that can be removable. the price includes shlive painting for the MDF with color selected by the architect, and all according to engineer's instructions. | no. | 1 |  | 0 | 1 | 1 | 13 | Carpentry | Sub3
6.38 | Wooden window | Supply and install fixed window for resources room ,the frame to be made from MDF and assembled as per the detail in "A17", the price includes installing a laminated 6+6 clear glass ,the price also includes installing an MDF frame to hold the glass with 6 screws and copper nuts that can be removable. the price includes shlive painting for the MDF with color selected by the architect, and all according to engineer's instructions. | no. | 1 |  | 0 | 1 | 1 | 9 | Carpentry | Sub1
6.39 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 15 |  | 0 | 1 | 1 | 6 | Carpentry | sub1
6.4 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 15 |  | 0 | 1 | 1 | 7 | Carpentry | sub1
6.41 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 9 |  | 0 | 1 | 1 | 8 | Carpentry | sub1
6.42 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 14.5 |  | 0 | 1 | 1 | 12 | Carpentry | sub1
6.43 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 11 |  | 0 | 1 | 1 | 15 | Carpentry | sub1
6.44 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 17 |  | 0 | 1 | 1 | 17 | Carpentry | sub1
6.45 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 23 |  | 0 | 1 | 1 | 18 | Carpentry | sub1
6.46 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 8 |  | 0 | 1 | 1 | 13 | Carpentry | sub5
6.47 | Fabric pads | Supply and install wall carpets European origin like Beaulieu Real or equivalent, 4mm thick and anti fire to meet the Israeli's standards : (degree of flare=3, degree of smoke density = 3, degree of shape distortion and dipping =1), color to be specified by the architect, different colors will be used on the same surface , and to be cut into different shapes according to attached drawings, works include prepare well the surface before installation and use the appropriate adhesive according to manufacturer's specifications, samples have to be submitted for approval, and all according to engineer's instructions. | m2 | 8 |  | 0 | 1 | 1 | 11 | Carpentry | sub3
6.48 | wooden computers station | Supply and install wooden computers station composed of plywood 20mm structure 341cm length x 260cm high and 40cm depth and covered with laminated veneer (Formica) 0.8mm thick, the table to be made of plywood 20mm thick and covered with laminated veneer (Formica) 0.8mm thick with painted solid beech wood edges 20/50mm,lenght of table 341cm x 56cm depth, price includes all supports needed for the table, the shelves to be made of plywood 20mm thick and covered with laminated veneer (Formica) 0.8mm thick, the frames holding shelves to be from steel SHS 30/3 and to be painted according to specifications, color of the paint is according to engineer's selection, the color of the laminated veneer for the table and the station to be selected by the engineer, different colors may be used , and all according to attached drawings and to engineer's instructions. | job | 1 |  | 0 | 1 | 1 | 2 | Carpentry | sub6
6.49 | Wooden Cabinet | Supply and install wooden cabinet made from plywood 20mm thick and covered with laminated veneer (Formica) 0.8mm thick color to be selected by the engineer, price includes the shelves from plywood 20mm thick and covered with laminated veneer (Formica) 0.8mm thick for all sides color to be selected by the engineer, leaves to be from Green panel MDF 20mm thick and covered with laminated veneer 0.8mm thick, color to be selected by the engineer, price includes all the hinges according to specifications and integrated handles, size of the cabinet 300cm length x 328cm high x 45cm depth, all according to attached drawings and to engineer's instructions. | job | 1 |  | 0 | 1 | 1 | 2 | Carpentry | sub6
6.5 | Tree trunk and branches | Supply and install tree truck and branches to be made from plywood 20mm thick and covered with laminated veneer (Formica) color to be selected by the engineer, size of the truck 60cm length x 328 cm high, all according to attached drawings and to engineer's instructions. | job | 1 |  | 0 | 1 | 1 | 2 | Carpentry | sub6
6.51 | rounded chairs | Supply and install chairs , structure from plywood 20mm thick and to be upholstered with padding webbing 10cm thick and high quality layer of 16oz/squared yard colored vinyl cover is stapled over the face meeting NFPA701 and ASTM E84, diameter of the chairs 40cm and 50cm and 60cm, height is 40cm, color of the vinyl to be selected by the engineer, a sample has to be submitted for approval. | no. | 6 |  | 0 | 1 | 1 | 2 | Carpentry | sub6
6.52 | Chairs | Supply and install chairs with four legs 40cm high ,from galvanized steel structure (electrostatic painted metal structure) not less than 1.5mm thick, seat and back to be from PVC and one unit, color to be selected by the engineer, a sample has to be submitted for approval | no. | 4 |  | 0 | 1 | 1 | 2 | Carpentry | sub6
7 | STEEL & ALUMINUM WORKS & ACCESSORIES |  |  |  |  | 0
7.01 | Supply & install new multi-lock door | Supply and install factory made multi lock steel door 90cm x 210cm with frame like Reshafim or equivalent with all necessary accessories hinges locks, exit device fire & smoke proof doors. Price includes painting fixing and all accessories (a Sample & shop drawing has to be given for approval), works include plastering works around the frame after installation, works include also painting around the frame with color similar to the existing color of walls, price includes supply and install aluminum window 60cm x 70cm from Kalil 2000 one leaf with securite glass 8mm thick, price includes supply and install one pair of folding shelf bracket to hold 250kg to be spring loaded, one handed release lever with a wooden shelf fixed on the brackets 2.5cm thick made from solid wood (butchers board) size 25cm x 70cm to be fixed on the door, and all according to engineer's instructions. | no. | 1 |  | 0 | 1 | 1 |  | Steel | sub2
7.02 | aluminum window | Supply and install aluminum window from Kalil 2000 to be installed on the wall at the passage leading to the toilets, works include supply and install polycarbonate multi wall sheets 10mm thick with different colors to be specified by the architect and all according to engineer's instructions. | m2 | 5 |  | 0 |  |  |  | Steel | sub1
7.03 | Maintenance of existing aluminum windows | Maintenance of existing aluminum windows where specified by the engineer, works include replace the broken glass with laminated glass double glass to fit in the existing aluminum section, works include also replacing the screen if needed, replacing handles and replacing any damaged part of the windows, and all according to engineer's instructions | no. | 1 |  | 0 | 1 | 1 | 13 | Steel | sub5
7.04 | blinds for windows | Supply and install high quality roller blinds for all windows, to be fire retardant BS 5867 and child safety BS EN13120, color to be selected by the engineer, a sample has to be submitted for approval | m2 | 6 |  | 0 | 1 | 1 | 6 | Steel | sub1
7.05 | blinds for windows | Supply and install high quality roller blinds for all windows, to be fire retardant BS 5867 and child safety BS EN13120, color to be selected by the engineer, a sample has to be submitted for approval | m2 | 5 |  | 0 | 1 | 1 | 7 | Steel | sub1
7.06 | blinds for windows | Supply and install high quality roller blinds for all windows, to be fire retardant BS 5867 and child safety BS EN13120, color to be selected by the engineer, a sample has to be submitted for approval | m2 | 4 |  | 0 | 1 | 1 | 12 | Steel | sub1
7.07 | blinds for windows | Supply and install high quality roller blinds for all windows, to be fire retardant BS 5867 and child safety BS EN13120, color to be selected by the engineer, a sample has to be submitted for approval | m2 | 7.5 |  | 0 | 1 | 1 | 13 | Steel | sub5
7.08 | blinds for windows | Supply and install high quality roller blinds for all windows, to be fire retardant BS 5867 and child safety BS EN13120, color to be selected by the engineer, a sample has to be submitted for approval | m2 | 7.5 |  | 0 | 1 | 1 | 15 | Steel | sub1
7.09 | blinds for windows | Supply and install high quality roller blinds for all windows, to be fire retardant BS 5867 and child safety BS EN13120, color to be selected by the engineer, a sample has to be submitted for approval | m2 | 4 |  | 0 | 1 | 1 | 16 | Steel | sub1
7.1 | blinds for windows | Supply and install high quality roller blinds for all windows, to be fire retardant BS 5867 and child safety BS EN13120, color to be selected by the engineer, a sample has to be submitted for approval | m2 | 7.5 |  | 0 | 1 | 1 | 17 | Steel | sub1
7.11 | Metal composite sheets for the science Lab. | Supply and install metal composite sheets roof, 10cm thick (0.5mm metal sheet + 10cm insulation material + 0.5mm corrugated metal sheet) on the existing structure of the science lab. , the price includes installing sheet metal flashing between the roof and the adjacent walls, and U shaped sheet metal end pieces to cover the sides of the composite panels, price includes also supply and install factory made water gutter and drop pipes and all according to engineer's instructions. | m2 | 30 |  | 0 |  |  |  | Steel | sub1
7.12 | Maintenance of Aluminum windows | Maintenance of existing aluminum windows specified by the engineer, works include supply and install new mosquito mesh screen, supply and install new window frame, new handles if needed, replacing broken glass….etc, quantity to be measured by window number. | No | 14 |  | 0 | 1
8 | EQUIPMENT |  |  |  |  | 0
8.01 | provisional item: computers | 9th Generation Intel Core i5-9500 Processor Integrated Graphics 8GB DDR4, 2666MHz 256GB SSD NVMe DVD-RW Drive Integrated 10/100/1000M Gigabit Ethernet LAN Wireless LAN 802.11a/b/g/n/ac + Bluetooth 4.2 Keyboard & Mouse Free Dos 22” Monitor Full HD with HDMI connector One Year Warranty | no | 4 |  | 0 |  |  |  | Equipment | sub9
10 | ELECTRICAL WORKS |  |  |  |  | 0
Earth connection
10.01 | check earthing system | The price include, check, test the earth ground resistance, all works need to reach the standard value of the ground resistance . | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.02 | Ground point for metallic bodies conductors | 1x16mm2 copper to be connected to the main electrical switch board panel including all the cable trays, cold and hot water piping fuel piping, air condition piping, ducts, false ceiling,...etc. | No. | 5 |  | 0 | 1 | 1 |  | Electrical | sub10
10.03 | Earth Bus bar 40x4 mm 40cm length | Earth Bus bar 40x4 mm 40cm length | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
| Power and Low Voltage Points: | [5 empty] | 1 | 1 |  | Electrical | sub10
10.04 | Emergency light point | Wall or ceiling mounted lighting point (N2XY 5x1.5) to include Φ20 / Φ25 self extinguish Conduit. Price to include opening grooves in walls and ceiling, plaster over the conduits and all needed accessories. | No. | 20 |  | 0 | 1 | 1 |  | Electrical | sub10
10.05 | 16A surface mount triple Power socket | 1x16A Power socket (N2XY 3x2.5) to include Φ20 self extinguish conduit. Price to include opening grooves in walls and ceiling, plaster over the conduits and all needed accessories. | No. | 2 |  | 0 | 1 | 1 |  | Electrical | sub10
10.06 | 16APower socket | 1x16A Power socket (N2XY 3x2.5) to include Φ20 self extinguish conduit. Price to include opening grooves in walls and ceiling, plaster over the conduits and all needed accessories. | No. | 8 |  | 0 |  |  |  | Electrical | sub10
10.07 | School bell point | School bell point | No. | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.08 | Electronic School bell to be connected to sound system | Electronic School bell to be connected to sound system | No. | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.09 | Water Heater point | (N2XY 3x2.5) to include Φ20 self extinguish conduit and double pole switch with indication lamp | No. | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.1 | Nisko office box (6 modules) | NISKO office box to include 4 power sockets, 3 computer outlets . Price to include conduits and cables (N2XY 3x2.5, CAT6) | No. | 3 |  | 0 | 1 | 1 |  | Electrical | sub10
10.11 | Computer point |  | No. | 8 |  | 0 | 1 | 1 |  | Electrical | sub10
10.12 | Projector Point | to include Φ20 self extinguish conduit, cable and connection box | No. | 8 |  | 0 | 1 | 1 |  | Electrical | sub10
10.13 | Fire alarm point | Fire system point to include Φ20 self extinguishing conduit, 2x0.8 or 4x0.8 cables as required & all needed accessories. | No. | 30 |  | 0 | 1 | 1 |  | Electrical | sub10
10.14 | Sound system point | Sound system point to include Φ20 self extinguishing conduit, cables as required & all needed accessories. | No. | 15 |  | 0 | 1 | 1 |  | Electrical | sub10
10.15 | Ventilation point | (N2XY 5x1.5) to include Φ20 self extinguish conduit | No. | 2 |  | 0 | 1 | 1 |  | Electrical | sub10
| General Items | [5 empty] | 1 | 1 |  | Electrical | sub10
10.16 | Provisional item: Disconnect, dismantle and remove all existing un-needed electrical and low voltages installations, lighting fixtures, plates, switches, sockets, conduits, cables, wires, boxes, trays, fans…etc. | Disconnect, dismantle and remove all existing un-needed electrical and low voltages installations, lighting fixtures, plates, switches, sockets, conduits, cables, wires, boxes, trays, fans…etc. | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.17 | Provisional item: Keep and reinstall any needed existing systems depending on the electrical design plans . | Keep and reinstall any needed existing systems depending on the electrical design plans . | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.18 | Check all power sockets and light points and switches and do the necessary maintenance | Check all power sockets and light points and switches and do the necessary maintenance | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.19 | Maintenance for the existing burglary alarm system in the school | Maintenance for the existing burglary alarm system in the school | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.2 | Testing, numbering & labeling all circuits in the building | Testing, numbering & labeling all circuits in the building | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.21 | Mushroom head emergency push button | Mushroom head emergency push button | No. | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
| Cables, Conduits and cable ducts | [5 empty] | 1 | 1 |  | Electrical | sub10
10.24 | N2XY 3x1.5 cable | N2XY 3x1.5 cable | Mr | 20 |  | 0 | 1 | 1 |  | Electrical | sub10
10.25 | N2XY 3x2.5 cable | N2XY 3x2.5 cable | Mr | 20 |  | 0 | 1 | 1 |  | Electrical | sub10
10.26 | N2XY 5x1.5 cable | N2XY 5x1.5 cable | Mr | 10 |  | 0 | 1 | 1 |  | Electrical | sub10
10.27 | 1" merriron pipe | 1" merriron pipe | Mr | 20 |  | 0 | 1 | 1 |  | Electrical | sub10
10.28 | Drilling 2" and/or 3" in concrete walls using HILTY | Drilling 2" and/or 3" in concrete walls using HILTY | No | 10 |  | 0 | 1 | 1 |  | Electrical | sub10
10.29 | 17x17 PVC cable duct | as Professional from PALGAL. Price to include cover, adaptor accessories, joints, Tees, corners and all needed accessories. | Mr | 20 |  | 0 | 1 | 1 |  | Electrical | sub10
10.3 | 140x60 Divided PVC cable duct as Psystem from PALGAL. Price to include cover, adaptor accessories, joints, Tees, corners and all needed accessories. | 140x60 Divided PVC cable duct as Psystem from PALGAL. Price to include cover, adaptor accessories, joints, Tees, corners and all needed accessories. | Mr | 15 |  | 0 | 1 | 1 |  | Electrical | sub10
10.31 | 70x60 PVC cable duct as Professional ducts from PALGAL. Price to include cover, joints, Tees, corners and all needed accessories. | Price to include installation and all needed accessories | Mr | 5 |  | 0 | 1 | 1 |  | Electrical | sub10
| Light Fixtures: | ALL fluorescent fixtures should be supplied with electronic ballast PHILIPS OR OSRAM ORIGINAL all bulbs should be OSRAM or PHILIPS 840 or 830 , Equivalent fixtures can be accepted if a LOCAL STANDARD documentation was presented and approved by Architect. | [7 empty] | Electrical
10.32 | Emergency surface mount light fixture, 1x3W LED from Gaash. | Emergency surface mount light fixture, 1x3W LED from Gaash. | No | 15 |  | 0 | 1 | 1 |  | Electrical | sub10
10.33 | 15W LED emergency light fixture with EXIT sign (206912.2G) from Electrozen (suitable for ceiling & wall) | 15W LED emergency light fixture with EXIT sign (206912.2G) from Electrozen (suitable for ceiling & wall) | No | 5 |  | 0 | 1 | 1 |  | Electrical | sub10
| Fire & Sound Systems: | [8 empty] | Electrical
10.34 | Smoke detector | SWAN | No | 23 |  | 0 | 1 | 1 |  | Electrical | sub10
10.35 | Manual break glass unit | TELEFIRE | No | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.36 | Auto dialer | TELEFIRE | No | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.37 | Internal siren | Internal siren | No | 2 |  | 0 | 1 | 1 |  | Electrical | sub10
10.38 | External siren | External siren | No | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.39 | Main Analogue Addressable fire Alarm Control Panel. | Batteries and charger are included. ADR 3000 -127 addresses TELEFIRE | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.4 | Public address speaker 6w surface or recessed mounted | Public address speaker 6w surface or recessed mounted | No | 15 |  | 0 | 1 | 1 |  | Electrical | sub10
10.41 | Outdoor Public address speaker surface mount 10W | European made | No | 5 |  | 0 | 1 | 1 |  | Electrical | sub10
10.42 | Wireless Microphone table mount unit with PTT | European made | No | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.43 | Amplifier | 240 Watt Mixer amplifier built-in MP3 and weekly timer, Controller with Speaker Selector , paging microphone, 24 volt Battery with automatic charger, as per ITC or equal . Price includes installation connection and all wiring required for the operation of the system | Job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
10.44 | reinstalling all existing electrical systems (projectors, smart boards, Wi-Fi modems, etc.) | reinstalling all existing electrical systems (projectors, smart boards, Wi-Fi modems, etc.) | job | 1 |  | 0 | 1 | 1 |  | Electrical | sub10
11 | PLUMBING, SANITARY & MECHANICAL WORKS |  |  |  |  | 0
11.01 | Drainage and Rain Water Systems | Supply, install, test and commission high density polyethylene (HDPE) Pipes ( Class A and approved by Teken for waste water, sanitary water stand pipes and split units drain , running exposed along partitions, false ceiling, walls, shafts, under tiles, laid in walls, including all type of fittings same types ( Y , elbow 45 deg, elbow 90 deg, tee, reducers , end caps, gasket, etc.), supports type Hilti, hooks, concrete coring for creating openings by Hilti , excavation, concrete embedment ,sand embedment and back filling, Connection to existing drainage network and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. Size 32-50 mm | m.r | 80 |  | 0 |  |  |  | Mechanical
11.02 | Drainage and Rain Water Systems | Supply, install, test and commission high density polyethylene (HDPE) Pipes ( Class A and approved by Teken for waste water, sanitary water stand pipes and split units drain , running exposed along partitions, false ceiling, walls, shafts, under tiles, laid in walls, including all type of fittings same types ( Y , elbow 45 deg, elbow 90 deg, tee, reducers , end caps, gasket, etc.), supports type Hilti, hooks, concrete coring for creating openings by Hilti , excavation, concrete embedment ,sand embedment and back filling, Connection to existing drainage network and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. Size 63 mm | m.r | 20 |  | 0 |  |  |  | Mechanical
11.03 | Drainage and Rain Water Systems | Supply, install, test and commission high density polyethylene (HDPE) Pipes ( Class A and approved by Teken for waste water, sanitary water stand pipes and split units drain , running exposed along partitions, false ceiling, walls, shafts, under tiles, laid in walls, including all type of fittings same types ( Y , elbow 45 deg, elbow 90 deg, tee, reducers , end caps, gasket, etc.), supports type Hilti, hooks, concrete coring for creating openings by Hilti , excavation, concrete embedment ,sand embedment and back filling, Connection to existing drainage network and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. Size 110 mm | m.r | 10 |  | 0 |  |  |  | Mechanical
11.04 | Drainage and Rain Water Systems | Supply, install, test and commission high density polyethylene (HDPE) Pipes ( Class A and approved by Teken for waste water, sanitary water stand pipes and split units drain , running exposed along partitions, false ceiling, walls, shafts, under tiles, laid in walls, including all type of fittings same types ( Y , elbow 45 deg, elbow 90 deg, tee, reducers , end caps, gasket, etc.), supports type Hilti, hooks, concrete coring for creating openings by Hilti , excavation, concrete embedment ,sand embedment and back filling, Connection to existing drainage network and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. Size 110 mm | m.r | 40 |  | 0 |  |  |  | Mechanical
11.05 | Drainage and Rain Water Systems | Supply, install, test and commission 4" Floor Drain(FD) complete with heavy duty Siphon 4"Type redi red colour (Class A),floor collector with vertical outlet 4"/2" (Class A) , adjustable 15 x15 cm heavy duty stainless steel floor drain cover with fixed grill and cap (Class A) . The rate shall include all mechanical connections with drain pipes and fixtures, concrete coring for creating openings by coring machine if ended ,all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. | no. | 2 |  | 0 | 1 | 1 | 3 | Mechanical
11.06 | Drainage and Rain Water Systems | Supply, install, test and commission 4"/2" Floor Trap (FT). The rate include Floor Collector with vertical outlet 4"/2" (Class A) , adjustable 15 x15 cm heavy duty stainless steel floor drain cover with fixed grill and cap (Class A) . The rate shall include all mechanical connections with drain pipes and fixtures, concrete coring for creating openings by coring machine if needed ,all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. | no. | 2 |  | 0 | 1 | 1 | 3 | Mechanical
11.07 | Drainage and Rain Water Systems | Supply, install, test and commission 4"/2" Floor Trap (FT). The rate include Floor Collector with vertical outlet 4"/2" (Class A) , adjustable 15 x15 cm heavy duty stainless steel floor drain cover with fixed grill and cap (Class A) . The rate shall include all mechanical connections with drain pipes and fixtures, concrete coring for creating openings by coring machine if needed ,all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. | no. | 1 |  | 0 |  |  |  | Mechanical
11.08 | Drainage and Rain Water Systems | Supply, install, test and commission 4" HDPE Floor Clean Out (CO) complete 4" elbow, adjustable 15 x15 cm heavy duty stainless steel Clean out cover with fixed cap (Class A) . The rate shall include for all mechanical connections with drain pipes, all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. | no. | 1 |  | 0 |  |  |  | Mechanical
11.09 | Drainage and Rain Water Systems | Cutting in floor tiles or asphalt or any kind of flooring by means of saw and excavation for pipe laying and backfilling of pipe using sand, compacted Base course and reinstatement of Asphalt as before cutting .The trench width not less than 40cm and depth not less than 100cm | m.r | 5 |  | 0 |  |  |  | Mechanical
11.1 | Drainage and Rain Water Systems | Connection to the existing pipes. The rate include coring , ,concrete embedment and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. | l.s | 2 |  | 0 |  |  |  | Mechanical
11.11 | Drainage and Rain Water Systems | Removing the all existing drainage pipes, domestic hot and cold water pipes, heating pipes , Sanitary fixtures , all other mechanical equipment, for all buildings as one job. All work should be according to direction of supervisor engineer | l.s | 1 |  | 0 |  |  |  | Mechanical
11.12 | Drainage and Rain Water Systems | Roof drain of 6"/4" 20cmx20cm | no. | 2 |  | 0 |  |  |  | Mechanical
11.13 | Drainage and Rain Water Systems | Coring For Pipe Size 2" | no. | 2 |  | 0 |  |  |  | Mechanical
11.14 | Drainage and Rain Water Systems | Coring For Pipe Size 4" | no. | 2 |  | 0 |  |  |  | Mechanical
11.15 | Drainage and Rain Water Systems | Coring For Pipe Size 6" | no. | 2 |  | 0 |  |  |  | Mechanical
11.16 | Sanitary Fixture and their accessories. | Supply, install, test and commission Porcelain Counter Hang Kitchen Sink complete with the following items and all type of fittings and accessories needed to complete the work as per specification and direction of the supervisor engineer. kitchen Sink, Price includes supply and install of water mixer, all accessories, fittings, and all related works as described in the BOQ preamble. Porcelain sink bowl (40cm x 40cm) complete with deck mounted mixer, angle valves and flexible connections. Price includes drain pipe up to floor drain. | no. | 2 |  | 0 | 1 | 1 | 3 | Mechanical
11.17 | Sanitary Fixture and their accessories. | 3/8" / 1/2" Angle Valve European Union type (Class A) | no. | 4 |  | 0 | 1 | 1 | 3 | Mechanical
11.18 | Sanitary Fixture and their accessories. | Siphon heavy duty for Kitchen Sink Class A (B1-FAB LAB-141) | no. | 2 |  | 0 | 1 | 1 | 3 | Mechanical
11.19 | Domestic hot and cold water system. | Supply, install and test Hot and Cold Water Collectors European union type (Class A) ,complete with special hangers for collectors, end pieces , automatic air vents , shut of valve at each outlet, copper elbows, plugs, reducers, main shut of valve 3/4",1" ,11/4" , labels to indicate each outlet function and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer.(The Fittings Should be of approved quality) size 3/4'' for 5 Eye | l.s | 1 |  | 0 | 1 | 1 | 3 | Mechanical
11.2 | Domestic hot and cold water system. | Fabricate, supply and install Galvanized steel cabinet oven painted (High Quality ) for water collector , (length from 40 to 150 cm to suit with the collector dimension, height 60 cm ,depth 20 cm) | m.r | 1 |  | 0 | 1 | 1 | 3 | Mechanical
11.21 | Domestic hot and cold water system. | Supply, install and test cross linked Pex Pipe with rigid plastic pipe sleeve . The rate shall include all fittings such as female copper elbow inside walls 16 mm European union type (Class A) ,16 mm male and female adaptors and all needed accessories for connection between copper collectors and fixtures with one piece of pipe. The rate include covering the pipe with concrete cover as per dwgs, specification and direction of supervisor engineer. The rate include connection to existing pipes. Pex Pipe 32/ 50 mm | m.r | 10 |  | 0 |  |  |  | Mechanical
11.22 | Domestic hot and cold water system. | Supply, install and test cross linked Pex Pipe with rigid plastic pipe sleeve . The rate shall include all fittings such as female copper elbow inside walls 16 mm European union type (Class A) ,16 mm male and female adaptors and all needed accessories for connection between copper collectors and fixtures with one piece of pipe. The rate include covering the pipe with concrete cover as per dwgs, specification and direction of supervisor engineer. The rate include connection to existing pipes. Pex Pipe 25/ 40 mm | m.r | 10 |  | 0 |  |  |  | Mechanical
11.23 | Domestic hot and cold water system. | Supply, install and test cross linked Pex Pipe with rigid plastic pipe sleeve . The rate shall include all fittings such as female copper elbow inside walls 16 mm European union type (Class A) ,16 mm male and female adaptors and all needed accessories for connection between copper collectors and fixtures with one piece of pipe. The rate include covering the pipe with concrete cover as per dwgs, specification and direction of supervisor engineer. The rate include connection to existing pipes. Pex Pipe 20/ 32 mm | m.r | 10 |  | 0 |  |  |  | Mechanical
11.24 | Domestic hot and cold water system. | Supply, install and test cross linked Pex Pipe with rigid plastic pipe sleeve . The rate shall include all fittings such as female copper elbow inside walls 16 mm European union type (Class A) ,16 mm male and female adaptors and all needed accessories for connection between copper collectors and fixtures with one piece of pipe. The rate include covering the pipe with concrete cover as per dwgs, specification and direction of supervisor engineer. The rate include connection to existing pipes. Pex Pipe 16/ 25 mm | m.r | 50 |  | 0 |  |  |  | Mechanical
11.25 | Domestic hot and cold water system. | Supply, install and test cross linked Pex Pipe with rigid plastic pipe sleeve . The rate shall include all fittings such as female copper elbow inside walls 16 mm European union type (Class A) ,16 mm male and female adaptors and all needed accessories for connection between copper collectors and fixtures with one piece of pipe. The rate include covering the pipe with concrete cover as per dwgs, specification and direction of supervisor engineer. The rate include connection to existing pipes. Pex Pipe 16/ 25 mm | m.r | 45 |  | 0 |  |  |  | Mechanical
11.26 | Domestic hot and cold water system. | Supply, install, test and commission Galvanized Pipes Sch40 Seamless pipes for cold and hot water complete with all type of fittings and for all pipe's diameter size (1/2",3/4",1", 11/4", etc..) such as elbows 45 deg, or 90 deg, reducers , plugs, tees , joint adaptors, rubber expansion - flexible joints ,shut off valve, copper non return valves swing type ,float valve, hangers and supports .The rate shall include connection to existing Pipes and all other accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. (The Fittings Should be of approved quality) size 3/4" | m.r | 10 |  | 0 |  |  |  | Mechanical
11.27 | Domestic hot and cold water system. | Supply, install, test and commission Galvanized Pipes Sch40 Seamless pipes for cold and hot water complete with all type of fittings and for all pipe's diameter size (1/2",3/4",1", 11/4", etc..) such as elbows 45 deg, or 90 deg, reducers , plugs, tees , joint adaptors, rubber expansion - flexible joints ,shut off valve, copper non return valves swing type ,float valve, hangers and supports .The rate shall include connection to existing Pipes and all other accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. (The Fittings Should be of approved quality) size 1" | m.r | 10 |  | 0 |  |  |  | Mechanical
11.28 | Domestic hot and cold water system. | Connection to the existing main pipe or collector. The rate include coring ,valves, testing, concrete embedment and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. | l.s | 4 |  | 0 |  |  |  | Mechanical
11.29 | Domestic hot and cold water system. | Connection to the existing main pipe or collector. The rate include coring ,valves, testing, concrete embedment and all other fittings and accessories needed to complete the work as per dwgs, specification and direction of supervisor engineer. | l.s | 2 |  | 0 |  |  |  | Mechanical
11.3 | Domestic hot and cold water system. | Supply and install of approved quality 60liter hot water Boiler cylinder including electrical heater. The price includes all fittings, valves and accessories needed to complete the job. | l.s | 1 |  | 0 | 1 | 1 | 3 | Mechanical
11.31 | Air Conditioning Systems | Supply and install and commissioning Mult split air conditioning systems , system of type Tadiran or equivalent, complete with the outdoor and indoor units, piping network, control system and all necessary parts needed, and as per the following Outdoor unit modular, type scroll compressors with fully inverter for each compressor , with all necessary connections, galvanized steel base with all necessary parts to keep low vibration, fittings, distribution joints, cutoff valves. The price shall include shielded control cable between indoor and outdoor units, copper pipe network, and all the works to complete the job, and as per the following "nominal" cooling capacities, but considering that the units shall be capable of providing the actual cooling .capacities as per equipment schedules as following. OUT.01 - 22.0 KW with 2 indoor units (wall Mounted with external drain pump for each one) | l.s | 1 |  | 0 |  |  |  | Mechanical
11.32 | Air Conditioning Systems | Supply and install and commissioning Mult split air conditioning systems , system of type Tadiran or equivalent, complete with the outdoor and indoor units, piping network, control system and all necessary parts needed, and as per the following Outdoor unit modular, type scroll compressors with fully inverter for each compressor , with all necessary connections, galvanized steel base with all necessary parts to keep low vibration, fittings, distribution joints, cutoff valves. The price shall include shielded control cable between indoor and outdoor units, copper pipe network, and all the works to complete the job, and as per the following "nominal" cooling capacities, but considering that the units shall be capable of providing the actual cooling .capacities as per equipment schedules as following. OUT.02 - 75.0 KW with 8 indoor units (wall Mounted with external drain pump for each one) | l.s | 1 |  | 0 |  |  |  | Mechanical
11.33 | Playground drainage | Supply and install stainless steel drainage grills ,and floor traps in the playground after tiling, all according to engineer's instructions. | no. | 5 |  | 0 |  |  |  | Mechanical
SUMMARY
1 | EXCAVATION & DEMOLITION WORKS | 0 |  |  |  | 0
2 | GYPSUM BOARDS & FALSE CEILING | 0 |  |  |  | 0
3 | PLASTERING WORKS | 0 |  |  |  | 0
4 | PAINTING WORKS | 0 |  |  |  | 0
5 | TILING, FLOORING AND MARBLE WORKS | 0 |  |  |  | 0
6 | CARPENTRY & FURNITURE WORKS | 0 |  |  |  | 0
7 | STEEL & ALUMINUM WORKS & ACCESSORIES | 0 |  |  |  | 0
8 | EQUIPMENT | 0 |  |  |  | 0
10 | ELECTRICAL WORKS | 0 |  |  |  | 0
11 | PLUMBING, SANITARY & MECHANICAL WORKS | 0 |  |  |  | 0
|  |  |  | Total Excluding VAT |  | 0
Total to be reported on summary sheet
Name of Tenderer (Company)
Authorized person to sign
In the Capacity of
| Date | 2024-05-24 | 45436.5177
| Signature |  | Stamp

## Mechanical-preambles
PREAMBLES
MECHANICAL INSTALLATIONS
The Bills of Quantities, Specifications, Schedule of Equipment and Drawings and all other Contract documents are complementary to each other.
It is the responsibility of the Contractor to check the locations and quantities of the materials and equipment to be executed in accordance with the contract drawings.
The unit rate of the materials and equipment shall be based on the Specification, all components as required and specified under each item concerned in the Specifications, Technical Data and Notes on the Schedules of Equipment Sheet, Contract Drawings, and all other Contract documents.
All materials and equipment specified in this Volume shall of be of a quality equivalent to/or better than furnished or manufactured by the following:
Equipment & Trade Mark
Fans
- Vortice
- S&P
- Rosenburg
Hangers ,Anchors & Supports for pipes & ducts
- Hilti
Steel pipes (Galvanized Steel )
- Nippon Steel
-Sumitomo
-US Steel Co.
Pumps
- Grundfos
- Lowara
wilo
- Ebara
Valves & Strainers
- Hakohav
- Raphael
PVC drain pipe & fittings
Holiot
- Redi
HDPE drain pipe & fittings
- Wavin
- Geberit
PPR Pipes and Fittings
- Aquatherm
Air grills & diffusers, volume & fire dampers
- Metal press
- Cooling industries company
Pipe insulation
Vidoflex
Heat Pump
- ORAN
VRV System
- Daiken
- Mitsubishi
- Samsung
In addition to the above mentioned requirements, the Unit Rate shall include the following: (The following requirements are complementary to the mentioned items in the B.O.Q.).
A. General
1. Supply of materials and equipment. (unless mentioned to be supplied by the owner)
2. Off loading and handling from trucks on site to place of installation.
3. Installation of materials and equipment.
4. All civil work required and connected with the mechanical installations, such as: equipment concrete bases and supports, cutting through walls and slabs for passage of pipes and conduits and ducts, pipe sleeves, repatching, fixing of pipe and duct hangers and supports to structure, wooden frames for air outlets and louvers and wall mounted fans, excavation and backfilling, riggings, hoisting, water proofing, cleaning, protection and painting.
5. All testing, balancing, adjusting, commissioning and handling to client complete operational systems.
6. Allowance for cleaning and for proper protection of all equipment plants, electrical installations and structures during insulation and paintings.
7. Disinfection, flushing and water treatment.
8. All labor, materials, tools, instruments, electric power supply fuel and water required for installation, testing, balancing, adjusting, disinfection, flushing, operation and commissioning.
9. Thermal insulation for all equipment, valves, trimming and accessories.
10. System identifications, tags, labels, nameplates, and charts.
11. Shop-drawings and record drawings.
12. Spare parts and components for ideal running of all services and equipment.
13. Spare parts information and tools, as recommended by the manufacturer
14. Operation and maintenance manuals.
15. Training of nominated staff
16. Samples as required by the Engineer.
17. Inspection, testing , rejection , adjusting, balancing, commissioning, and handling to client of all materials, equipment and workmanship.
18. Maintenance of all items supplied by contractor as per Contract Conditions
19. Electrical wiring between equipment and power panel
20. For pipe works: Steel, PPR, HDPE, UPVC for all services.
The unit price shall include all pipe fittings and joints such as elbows, bends, tees, reducers, unions, expansion joints, flanges, anchoring, sleeves, floor plates, flanges, sockets and all joining materials, pipe hangers and supports, expansion bellows loops and joints, fire retardant and protection sealants for all pipes crossing fire rated structures, adapters and dielectric unions for connecting dissimilar materials, excavation and back-filling, chasing in walls, painting, pipe protection against corrosion, pipe coating, as required per specifications and drawings.
Pipe work shall be measured in meter run (MR).

## preambles
Bill of Quantities
Preamble
1- | The quantities shown in this bill are not fixed and are liable to variation. Any quantity shown in the bill of quantities (BOQ) may vary 30% without any adjustment or additional to the unit prices.
2- | The contractor shall read the General Technical Specification for Water Supply Networks (GTS) and visit the site. Acquaint him or her self fully with the employer's requirements and with mutual obligations, the method of measurements and the detailing of unit price.
3- | Final payment for each item will be according to the measured quantities in the presence of the contractor and the supervisor.
4- | The contractor is responsible for guarding and for all the insurance of the work and against accidents .. etc.
5- | In the Bill of Quantities, Only the general description of the work is to be carried out is given, without specification all the contractor's obligations set out in the relevant items of the (GTS)
6- | The contractor is not entitled to claim changes in the unit prices in the event that there will be change in the route of the pipelines for technical reasons that will appear during execution.
7- | After finishing all the works and before the final payment, the contractor has to submit as built drawings for the project on the form of computer disk, and one copy which must be checked by licensed surveyor and approved by the supervising engineer No payment for these items to the contractor.
8- | The contractor shall submit to the engineer shop drawings and materials submittals for approval before supplying any material needed as mentioned in the (BOQ).
9- | The contractor has to submit to the engineer a shipment certificate for all materials with origin certificate for each shipment.
10- | The diameter of the needed in this (BOQ) is the nominal diameter of the pipe. The outside and inside diameters shall be according to the Palestinian standard (P.S) No.186
11- | Canceling ,increasing or decreasing of any item is not subject to any variation what so ever, and do not affect the price .
12- | The contactor must inform the consultant during or before pricing about any misunderstanding of any item ,specification ,availability in market ,or any notes, if the contactor submit his price he is responsible to supply and install these items without any changing in the price ,and the owner has the right to select the required items without any change in price.
13- Abbreviations GTS: General Technical Specifications M.R: Meter Run M2: Square Meter M3: Cubic Meter L.S: Lump Sum M: Meter MM: Millimeter BOQ: Bill of Quantity S: Standard Specification W.P: Working Pressure

## units (hidden)
m2
m3
no.
l.s
job
m.l

## category (hidden)
Demolition
Concrete
Stone
Plastering
Tiling and Flooring
Carpentry and Joinery
Steel and Aluminium
Painting
Insulation and Roofing
Mechanical
Electrical
Equipment