## Medical Equipment Spare Parts
Lot 1: Supply and delivery of medical equipment spare parts
No. | Equipment Name | Model | Pending Spare Parts | UoM | Estimated Quantity | Unit price in Euros excl. VAT | Total Unit in Euros excl. VAT
1 | Microscope, OLYMPUS CX21.CX22 and CX23 | CX22 | Objective X100 | Pc | 10
|  | CX23 | PC Board | Pc | 5
|  | CX22 | Objective X100 | Pc | 10
|  | Zeiss | Florescence head | Pc | 1
|  | Zeiss | Objective X100 | Pc | 5
|  | Microscope | Microscope bulbs, 6V, 20W | Pc | 10
|  |  | LED bulb for CX22 microscope | Pc | 8
|  | CX21FS1 Olympus | Mother board | Pc | 3
|  |  | Objectives X100 | Pc | 5
|  |  | Objectives X40 | Pc | 5
|  |  | Objectives X 10 | Pc | 5
|  |  | Light filter | Pc | 10
|  |  | Slide holder | Pc | 10
|  |  | Brightness control potentiometer | Pc | 5
|  |  | Eyepieces lens (10x/18) | Pc | 5
|  | CX23LEDRFSI OLYMPUS | Power board/mother board(AW6897 DV683401) | Pc | 5
|  |  | LED bulb (complete unit) | Pc | 30
|  |  | Power AC/DC Adapter (SA115B-05V) Input: 100-240V,Output 5V/2.5A,12W | Pc | 5
|  | Zeiss primo star | Power AC/DC adapter (FW7362/12) Input: 100-240V,Output 12V/2.5A | Pc | 5
|  | Microscope. | LED Bulbs | Pc | 20
|  |  | Power board | Pc | 3
|  |  | power supply cable-pin | Pc | 10
|  |  | Stage | Pc | 2
|  |  | Universal cleaning agent, handbags | Pc | 20
|  |  | Alcohol Swabs, 70%, 100's pack | Pc | 10
|  |  | Objective X100, Oil | Pc | 5
|  |  | Objective x10 | Pc | 5
|  |  | Eyepiece pair | Pc | 10
|  |  | Power supply cable | Pc | 10
|  |  | Lens cleaning tissues | Pc | 10
2 | Infant Incubator, Infant incubator models; YP-100, B-800, BB-100, A-100, H-2000LCS-ICU, INC-100, A120, RX-800D | A21 | Hood | Pc | 1
|  | Medicor | PC board | Pc | 2
|  | Medicor | Mother board | Pc | 2
|  | YP-100 | Temperature probe | Pc | 10
|  | YP-100 | Temperature probe | Pc | 10
|  | YP-100 | Filter | Pc | 20
|  | RX800D |  | Pc | 20
|  | YXK-6G |  | Pc | 20
|  | YP-100 | Probe gasket | Pc | 20
|  | YP-100 | Access door covers/ Sleeves | Pc | 20
|  | YP-100 | Power cable | Pc | 20
|  | YXK-6G | Air probe/sensor | Pc | 10
|  | YXK-6G | Connector for power failure alarm | Pc | 20
|  | BB-100 | Step down transformer / input 220, output 9V,(grey),9V,0.3A(yellow) &12V, 3A (Brown) | Pc | 10
|  | YXK-6G | Step down transformer /input 240, output 9v | Pc | 10
|  | YP-100 | Rechargeable 9v NiMH,170mAH Battery | Pc | 10
|  | Baby Resusitaires/IR-200 | Fuse, 160mA | Pc | 100
|  | YP100 | Coarse particle filter | PC | 100
|  |  | Power cord British standard top plug+ Socket outlet to IEC320 C20, 16A, 250V, or like I-SHENG 15A/250V, E55943. | PC | 30
|  |  | Fuse 2A | PC | 100
|  |  | Fan motor | PC | 5
|  |  | Start capacitor (CBD 2A,224J,360V). | PC | 50
|  |  | Rechargeable batteries 9V,800mAh. | PC | 50
|  |  | Power board | PC | 5
|  |  | Transformer | PC | 5
|  |  | Hood Sleeve seals | PC | 5
|  |  | Skin temperature probes | PC | 50
|  |  | Motor with fan | PC | 10
3 | Phototherapy machine | A20 | UV Tubes | Pc | 50
|  | XHZ-90, AS20, BBP-500A | Phototherapy tube(2ft YZ20BT,32) | Pc | 100
|  | PHOENIX | phototherapy tubes,2 feet | Pc | 50
|  |  | Pair of Blue UV fluorescent tubes, like YZ20BT 132 20W, tube with 2-pins/G13 base. | Pair | 50
4 | Oxygen concentrators, Oxygen Concentrators model; Devilbiss Drive and 525KS, Newlife elite, Jay-10, Jay-5, YUWELL, 8F-5A, V5-WN-NS, Newlife Intensity, Aeroplus E | Drive Devibliss with CPAP for Bwera GH | Sieve beds | Pair | 20
|  | Drive Devibliss with CPAP for Bwera GH | Service kit | Pair | 20
|  | Drive Devibliss with CPAP for Bwera GH | Bacterial Filter | Pc | 500
|  | JAY 10W, DeVilbiss, AE-5, NEWLIFE, YUWELL/7F-5 | Humidifier bottle | Pc | 200
|  | V8-WN-NS | Sieve beds | Pair | 20
|  | Devilbiss |  | Pair | 20
|  | WHY 5 |  | Pair | 20
|  | AE-5 |  | Pair | 20
|  | LFY-I-8E |  | Pair | 20
|  | ELOC-5 |  | Pair | 20
|  | NEWLIFE |  | Pair | 20
|  | NewLife Intensity 10 | Control board | Pc | 5
|  | NEWLIFE |  | Pc | 5
|  | VisionAire |  | Pc | 5
|  | JAY 10W | Compressor(Model: ZGK500P2-11012-01B) | pc | 5
|  | DeVilbiss | Compressor rebuild kit(Devilbiss 525K-541) | Pc | 50
|  | JAY 10W | Flow meter 10LPM | Pc | 30
|  | DeVilbiss | Inlet Filter | Pc | 20
|  | Newlife Intensity |  | Pc | 20
|  | WHY5 |  | Pc | 20
|  | V8-NS |  | Pc | 20
|  | AE-5 |  | Pc | 20
|  | YUWELL/ 7F-5, JAY 10 W | Bacterial Filter | Pc | 100
|  | YUWELL/ 7F-5 | Foam filter | Pc | 100
|  | Newlife Intensity |  | Pc | 100
|  | DeVilbiss |  | Pc | 100
|  | POWEAM/WHY 5 |  | Pc | 2
|  | NEWLIFE | Four-way connector | Pc | 2
|  | WHY 5 | 9V battery plus clip | Pc | 1
|  | V8-WN-NS | 9V Battery | PC | 5
|  | DEVILBISS | Castors | PC | 4
|  | Newlife | Valves | PC | 1
|  | OZ-S-01 GWO | Power board | PC | 1
|  |  | Capacitor, 10 µf | PC | 1
|  | Oxygen concentrator, Devilbiss | Filter, final bacteria | PC | 1
|  |  | Preventive Maintenance (PM) Kit | Kit | 1
|  |  | Filter, gross bacteria/Extended life intake filter | PC | 1
|  |  | Filter, intake bacteria | PC | 1
|  |  | Filter, pre, (pack of 6) | PC | 1
|  |  | Power board | PC | 1
|  |  | Canisters/Zeolite Sieve beds (pair) | Pair | 1
|  |  | Humidifier Bottles | PC | 1
|  |  | Flowmeter, 0-5LPM | PC | 1
|  |  | Cooling fan, 5 blades | PC | 1
|  |  | Flowmeter, 0-8LPM | PC | 1
|  |  | Control Board PCB | PC | 1
|  |  | Rotary Valve | PC | 1
|  |  | 1/16 Hose/ metre | Metre | 1
|  |  | 1/8 Hose/ metre | Metre | 1
|  | Krober | Filter, gross bacteria | pc | 1
|  |  | Filter, intake bacteria | pc | 1
|  |  | Filter, pre, (pack of 6) | Pc | 1
|  |  | Power board | Pc | 1
|  |  | Preventive Maintenance (PM) kit | KIT | 1
|  |  | Canisters/Zeolite Sieve beds (pair) | Pair | 1
|  |  | Flowmeter, 0-5LPM | Pc | 1
|  |  | Cooling fan, 240VAC, 50Hz, 0.26/0.24A, Impedance protected | Pc | 1
|  |  | Oxygen sensor/Oxygen Analyser | Pc | 1
|  |  | Humidifier Bottles | Pc | 1
|  |  | Capacitor, 10 µf | Pc | 1
|  |  | Oxygen sensor/Oxygen Analyser | Pc | 1
|  | Oxygen concentrator, Aeroplus | Preventive Maintenance (PM) kit | kit | 1
|  |  | Flowmeter (Krober) | Pc | 1
|  |  | Compressor type 2450 AUU44(Krober) | Pc | 1
|  |  | Main board Aeroplus 5 (Krober) | Pc | 1
|  |  | Coarse dust filter Aeroplus E pack of 5 pieces | Pc | 1
|  |  | Fine filter intake for Aeroplus E | Pc | 1
|  |  | Fan 230Volts 50HZ (Krober) | Pc | 1
|  |  | Thermal fuse 72 Degrees (Krober) | Pc | 1
|  |  | Humidifier Bottles | Pc | 1
|  |  | Flowmeter, 0-8LPM | Pc | 1
|  | Oxygen concentrator, LFY-I-8E | Humidifier Bottles | Pc | 1
|  |  | Canisters/Zeolite Sieve beds (pair) | Pair | 1
|  |  | Filter, final bacteria | Pc | 1
|  |  | Filter, gross bacteria | Pc | 1
|  |  | Preventive Maintenance (PM) kit | Kit | 1
|  |  | Capacitor, 10 µf | Pc | 1
|  |  | Control board | Pc | 1
|  | AS0987 | Control boards. | Pc | 1
|  | WHY-5 | Flowmeter, 0-8LPM | Pc | 1
|  | WHY-6 | Humidifier Bottles | Pc | 1
|  | WHY-7 | Canisters/Zeolite Sieve beds (pair) | Pc | 1
|  | WHY-8 | Filter, final bacteria | Pc | 1
|  | WHY-9 | Filter, gross bacteria | Pc | 1
|  | WHY-10 | Preventive Maintenance (PM) kit | Pc | 1
|  | WHY-11 | Capacitor, 10 µf | Pc | 1
|  | VH5/GANTA | Humidifier bottles. | Pc | 1
|  |  | Flowmeter 0-8LPM | Pc | 1
|  |  | Sieve bed/Cannisters | Pc | 1
|  |  | Compressor service kit. | Pc | 1
5 | Radiant warmers, Radiant warmer, models; CROWN, IR-200, PHOENIX, A120, BL-200D, BN-100A, YP-100, NWS-101, HKN-90 | IR-200 | Skin temperature probe | Pc | 15
|  |  | Power board | Pc | 1
|  | YXK-6G | Control unit. | Pc | 1
|  |  | Door sleeves | Pc | 1
|  |  | Power supply cable | Pc | 1
|  |  | Air filter. | Pc | 1
|  |  | Fan motor. | Pc | 1
|  |  | Temperature probe | Pc | 1
|  | HKN-90 Radiant Warmer | Power cord with British standard top plug+ Socket outlet to IEC320 C20, 16A, 250V, or like I-SHENG 15A/250V, E55943. | Pc | 1
|  |  | Power control board | Pc | 1
|  |  | Reusable Skin temperature sensor/probe, Mini-DIN 4pin connector to φ10mm disk sensor, white colour cable for neonates | Pc | 1
|  |  | Heater element for Ningbo David Medical Devices Co. Ltd. HKN-90 Radiant Warmer, 600VA/240V | Pc | 1
|  | Baby Resusitaires/IR-200 | Power cable | Pc | 1
|  |  | Temperature Sensor | Pc | 1
|  |  | Transformer | Pc | 1
|  |  | Skin temperature probes | Pc | 1
|  |  | Air temperature sensors | Pc | 1
|  |  | Heater elements | Pc | 1
|  |  | Motor with fan | Pc | 1
6 | Patient Monitor | X10 | SPO2 Probe | Pc | 5
|  | IM60 | Pc board | Pc | 1
|  | X10 | Single tube cuff | Pc | 30
|  | X10 | Battery | Pc | 3
|  | 1M60 | Switch | Pc | 2
|  | EDAN X12 | Temperature Sensor | Pc | 5
|  | EDAN X10 |  | Pc | 1
|  | Mindray/UMEC 10 |  | Pc | 1
|  | M9000A |  | Pc | 1
|  | COMEN Star 8000E |  | Pc | 2
|  | EDAN X12 | SpO2 Probe | Pc | 5
|  | EDAN X10 |  | Pc | 5
|  | EDAN M3A |  | Pc | 2
|  | V100 |  | Pc | 2
|  | COMEN Star 8000E |  | Pc | 5
|  | COMEN C80 |  | Pc | 1
|  | EDAN X10 | Rechargeable Battery Li 10.8V 2.55Ah | Pc | 2
|  | EDAN M3A | Li-ion 14.8V Battery | Pc | 2
|  | V100 | Battery 6V, 3.3AH | Pc | 1
|  | EDAN X12 | Connector ports(PCB Board ) | Pc | 1
|  | EDAN X10 | ECG probe | Pc | 2
|  | EDAN X12 |  | Pc | 1
|  | M9000A |  | Pc | 1
|  | EDAN X12 | Single Line NIBP Cuff (Adult) | Pc | 5
|  | V100 | Double Line NIBP Cuff(Adult) | Pc | 5
|  | M12 | Paediatric Cuff | Pc | 2
|  | M12 | Neonate Cuff | Pc | 2
|  | EDAN X12 | NIBP Hose connector | Pc | 5
|  | EDAN X12 | Medical CO2 Breathing Circuit Mindray Dry line Water trap | Pc | 1
|  | X10-EDAN | Oxygen sensor probe | Pc | 1
|  |  | Temperature sensor | Pc | 1
|  |  | Rechargeable Li-on batteries 10.8V(Part no. 01.21.064380), | Pc | 1
|  |  | Monitor stand | Pc | 1
|  |  | Power board | Pc | 1
7 | Ventilator | Mindray SV300 | Breathing circuit (Re-usable) | Pc | 1
|  |  | Sensor Flow Air | Pc | 1
|  |  | Sensor Flow Oxygen | Pc | 1
|  |  | Oxygen Horse Pipe | Pc | 1
|  |  | High-Pressure Regulator | Pc | 1
8 | Suction machine | Suction machine | Suction Tube | Pc | 2
|  |  | Suction Bottles | Pc | 2
|  | YX980D, DELUXE, CAMI-HOSPIVAC 350 | Collection jar | Pc | 5
|  | YX980D | Pressure gauge. | Pc | 1
|  |  | Power supply cable. | Pc | 1
|  |  | Suction tube per metre | Pc | 1
|  |  | Bacteria filter, | Pc | 1
|  | Hospivac Suction Machine | Power board. | Pc | 1
|  |  | Suction Bottle | Pc | 1
|  |  | Double pole switch, 25A | Pc | 1
|  |  | Double pole switch, 25A | Pc | 1
|  |  | Collection bottle, 200ml | Pc | 1
|  | SAM 14 Suction machine | Collection bottle, 2 Lt. with float valve system | Pc | 1
|  |  | Heating element, 2Kw/240VAC | Pc | 1
9 | Power Supply | Power Supply | Fuses (0.5A–5A) | Pc | 100
|  |  | Fuses (10A) | Pc | 100
|  |  | Fuses (13A) | Pc | 100
10 | BP Machine | BP Machine | BP cuffs (single) large | Pc | 20
|  |  | BP cuffs (single) small | Pc | 20
|  | YE620B(YUWELL), | AAA leak-proof battery/pair | Pc | 1
|  |  | BP cuff -double tube, bulbs, control valves | Pc | 1
|  | Gittoes,fazzini, healthcare | Single tube cuffs 22-42 cm. | Pc | 1
|  | LD-581(LD3),BA -823 | Single tube cuffs 34.3-50.8cm. | Pc | 1
|  | LD-581(LD3),BA -824 | AA batteries leak-proof | Pc | 1
|  | LD-581(LD3),BA -825 | Stethoscope earbuds | Pc | 1
|  | LD-581(LD3),BA -826 | Bulb, without control valve | Pc | 1
|  | BP Machine | Cuff, with balloon, double tube, Adult | Pc | 1
|  |  | Cuff, with balloon, Single tube, Adult | Pc | 1
|  | BP Machine/ Patient Monitor | Control valve, for bulb | Pc | 1
|  | BP Machine | Cuff, with inflating bulb, double tube, Adult | Pc | 1
|  |  | Cuff, with inflating bulb, Single tube, Adult | Pc | 1
11 | Oxygen Cylinder & Accessories | Oxygen Cylinders | Low-pressure oxygen regulators Oxilitre | Pc | 35
|  |  | High-pressure oxygen regulators | Pc | 10
|  |  | Combined spanner with key | Pc | 15
|  |  | Spindle cylinder keys | Pc | 15
|  |  | Humidifier bottles with metallic threads (ME2002-C) | Pc | 50
|  | Oxygen Regulator | Oxygen regulators single gauge. | Pc | 1
|  |  | Double gauge, single stage regulator, 0-400 bar. | Pc | 1
|  | Oxygen Cylinder | Oxygen cylinder valve CGA540, Female outlet with 3/4"NGT inlet and pressure relief device, 200 Bar Minimum | Pc | 1
|  |  | Oxygen cylinder valve CGA540, Female outlet with 1/2" NGT inlet and pressure relief device, 200 Bar Minimum | Pc | 1
|  |  | Oxygen cylinder valve CGA540, Female outlet with 5/8" BSP inlet and pressure relief device, 200 Bar Minimum | Pc | 1
|  |  | Double gauge, single stage regulator, 0-400 bar; like Saffire, Mubex, ISO 2503, Oxygen regulator, double gauge, single stage, 300 bar service pressure. | Pc | 1
|  |  | Flexible stainless steel braided PTFE oxygen filing horse pipe, Working pressure: 200 bar, | Pc | 1
|  | High-pressure oxygen-filling hose pipe | End fitting type: (i) One end; Bullnose, CGA 540, male end/nut swivel; Thread size: 5/8” BSP (0.903 Inch-14NGO-RH, External); and the other end/side; CGA 540, female end/nut; Thread size: 7/8” BSP (1.0975 Inch-14NGO-RH, Internal). Bending radius: 23mm, End fitting material: 304 Stainless Steel, Length: 1500 mm, minimum | Pc | 1
|  | Pressure regulator | Pressure regulator Oxilitre low pressure should be hand operated | Pc | 50
|  | Flowmeter with a humidifier bottle | Flowmeter with a humidifier bottle | Pc | 20
12 | Power Cable | Power Cable | Top plugs, 13A, 240V | Pc | 200
13 | Operating Table | Operating Table | ATF (Automatic Transmission Fluid)-5 litre Container | Litres | 10
|  | BICAKCILAR/500S | Hydraulic Oil 5litres Tin | Tin | 20
|  |  | Grease 500g | Pc | 8
|  | Delivery bed, MESPA | Hydraulic pump oil, 5Lt. Can | litre | 6
|  | Operating Table, BICAKCILAR | Grease 500g | Tin | 2
|  |  | DW40 , 500ml | Tin | 100
|  |  | ATF oil 1 litre | Litre | 20
14 | Consumables | Consumables | Spray paint (green/white) | Tins | 20
|  |  | WD-40,500mL | Tins | 20
15 | Refrigerator | Fridges | Brazing MAPP gas with torch | Cans | 6
|  |  | Compressor (Danfoss) - 1/5 HP | Pc | 2
|  |  | Compressor (Danfoss) - 1/6 HP | Pc | 2
|  |  | Compressor (Danfoss) - 1/4 HP | Pc | 2
|  |  | Compressor (Danfoss) - 1/2 HP | Pc | 2
|  |  | Gas (R134A) | Cylinders | 2
|  |  | Gas (R22) | Cylinders | 1
|  |  | Digital temperature control (-25 to 90°C) | Pc | 5
|  | DW-FL270 | Fridge guard | Pc | 1
|  |  | Refrigerant R507 | Pc | 1
|  |  | Filter drier | Pc | 1
16 | Handheld Pulse Oximeter | BLT/M800 | SpO2 Probe | Pc | 1
|  | PW-303H |  | Pc | 2
|  | H100B/EDAN | SpO2 Probe | Pc | 2
|  |  | Charger 5VDc | Pc | 1
|  |  | Ni-MH 4.8V rechargeable battery | Pc | 1
|  | AH-M1 | SpO2 Probe | Pc | 1
|  |  | Charger 5VDc | Pc | 1
17 | Infusion Pump | SN-1500H | 12V 2000mAh rechargeable battery | Pc | 2
18 | Oxygen Manifold system | AMiCO | Gas cylinder flexible pigtail hoses (complete set) | Pc | 10
20 | Wall Oxygen System | Wall Oxygen System | Humidifier bottles with flow meter(10LPM)-metallic | Pc | 10
|  |  | Outlet valve system | Pc | 10
21 | Infant warmer | BRW-3000B | Temperature sensor | Pc | 1
|  | OHMEDA | Temperature sensor | Pc | 1
|  | OHMEDA | Relay | Pc | 1
|  | OHMEDA | TRIAC | Pc | 1
|  | IR-200 | Examination Bulb | Pc | 1
22 | Nebulizer | SUNRISE/ 4650U | Fan | Pc | 20
23 | Operating light | MERIVARA/Merilux x3 | Halogen bulbs-24V50W Pin | Pc | 1
|  | Linkan | Charging board | Pc | 1
|  |  | Halogen bulbs-24V150W-pin | Pc | 1
|  |  | Bulbs 12V[25W-150W] | Pc | 1
|  | Operation Light | Surgical Bulb, 24V, 30W, base BA15D | Pc | 1
|  |  | Surgical bulb 24V, 50W halogen, Pin/Screw. | Pc | 1
|  |  | Surgical bulb 24V, 150W, Halogen, Base G6.35 2, 2-pin type | Pc | 1
|  |  | Bulb 74W, 24V, 2-pin type fixed on a lamp holder (Vehicle type). | Pc | 1
|  |  | Surgical bulb 24V, 25W Screw | Pc | 1
|  |  | Surgical bulb, 22.8V, 40W, halogen, life time: 800 hours; like Merilux X3, 22.8V, 40 W bulb | Pc | 1
|  |  | Step down transformer, centre tapped, 24V output, 150W. | Pc | 1
|  |  | Step down transformer, centre tapped, 24V output 250W | Pc | 1
|  |  | Step down transformer, centre tapped, 24V output 350W | Pc | 1
|  |  | Surgical bulbs halogen 24V/40W | Pc | 1
|  | Spot lamp | LED bulbs pin & screw type 3-8W, 240VAC. | Pc | 1
24 | Anaesthesia machine | UAM | Sieve beds | Pc | 1
|  |  | Service kits | Pc | 1
|  |  | Transformer 12V 13A | Pc | 1
|  |  | Breathing circuit | Pc | 1
|  |  | Flow Sensor | Pc | 1
|  |  | Oxygen Sensor | Pc | 1
|  |  | Oxygen Hose pipe | Pc | 1
|  |  | Air filter | Pc | 1
|  |  | Castors for UAM | Pc | 1
|  |  | Oxygen masks adult | Pc | 1
|  |  | Oxygen masks peadrartic | Pc | 1
|  |  | Breathing bags Adult | Pc | 1
|  |  | Breathing bags Peadrartic | Pc | 1
|  |  | Battery 6V, 1A | Pc | 1
|  |  | Scavenging tube | Pc | 1
|  |  | Isoflurane vaporizer | Pc | 1
|  | Dartex Ohmeda 9100C | Breathing system interface seals | Pc | 1
|  |  | Vaporiser manifold seals 14.3mm ID | Pc | 1
|  |  | Seal Ventilator Below | Pc | 1
|  |  | Free-breathing valve Flapper | Pc | 1
|  |  | Free-breathing Valve O ring 34.59ID X 39.83OD | Pc | 1
|  |  | FREE breathing valve O ring, 30IDX33.6 OD | Pc | 1
|  |  | Flow Sensor assembly | Pc | 1
|  |  | Flow Sensor assembly | Pc | 1
|  |  | Flow Sensor elbow connectors | Pc | 1
|  |  | Bellow | Pc | 1
|  |  | Exhalation Diaghram assembly | Pc | 1
|  |  | Oxygen sensor including O ring | Pc | 1
|  |  | Cable Oxygen SENSOR Cell | Pc | 1
|  |  | Battery 12V 7AH Gel | Pc | 1
|  |  | Vaporiser Isoflurane | Pc | 1
|  |  | Breathing Circuit Adult | Pc | 1
|  |  | breathing Circuit Paediatric | Pc | 1
|  |  | Castors for GE anaesthesia Machine | Pc | 1
|  |  | Soda Lime | Pc | 1
|  |  | Breathing Bag Adult | Pc | 1
|  |  | Breathing Bag peadrartic | Pc | 1
|  |  | Bacteria filter | Pc | 1
|  |  | Flow sensor connector tube | Pc | 1
|  |  | Switch V7-2SI7D8 | Pc | 1
|  |  | Mother board | Pc | 1
|  |  | Oxygen gauge | Pc | 1
|  |  | Ceramic disk | Pc | 1
|  |  | On and Of switch | Pc | 1
25 | Refriegrators | Medicare | Batteries 12V/200AH | Pc | 1
|  | Thermofisher | compressor unit | Pc | 1
|  | Flohr vest front | Refrigerants R134A | Pc | 1
|  |  | Power cable | Pc | 1
|  |  | Filter dryer | Pc | 1
|  |  | Capacitor 10uf | Pc | 1
|  |  | Compressor9TL5G) | Pc | 1
|  | BDF-25V2659BIOBASE | Overload Relay | Pc | 1
|  |  | Start capacitor | Pc | 1
|  |  | Refrigerants R134A | Pc | 1
|  |  | Refrigerant R22/R407 (METRON), 13.6Kg | Pc | 1
|  | Refrigerant Gas | Gas R134a, 13.6Kg (ARKEMA) can | Pc | 1
|  |  | Gas R404A, 13.6Kg (ARKEMA) can | Pc | 1
|  |  | Refrigerant R 410a, 13.6Kg can | Pc | 1
|  |  | Refrigerant R290 (Propane) gas, 13Kg can | Pc | 1
|  |  | Danfoss Compressor, 1/4 HP | Pc | 1
|  | Compressor | Danfoss Compressor, 1/5 HP | Pc | 1
|  |  | Danfoss Compressor, 1/6 HP | Pc | 1
|  |  | Compressor, 1.5 HP ( Air Conditioner) | Pc | 1
|  |  | Brazing rod (Copper) | Pc | 1
|  | Copper brazing rod | Brazing powder (Flux) | Pc | 1
|  | Brazing powder | Brazing rod (brass ) | Pc | 1
|  | Brass brazing rod | Fridge charging Valves | Pc | 1
|  | Charging valve | Brazing Gas 453.6gm. | Pc | 1
|  | Mapp Gas | Compressor, 2HP (Mortuary fridge) | Pc | 1
|  | Refrigerator thermostat | Digital thermostat, +50Oc to -500C (Elwell) double probe | Pc | 1
|  | Fridge Digital Thermostat | Fridge condenser, Air cooled, Steel 1/6 HP | Pc | 1
|  | Fridge Condenser | Fridge Evaporator Plate with capillary tube and copper ends, 1/5 HP | Pc | 1
|  | Fridge Evaporator Plate | Fridge evaporator Plate with capillary tube and copper end, 1/6 HP | Pc | 1
|  | Fridge evaporator Plate | Filter drier 1/4 inch | Pc | 1
|  | Refrigerator filter drier | Capillary tube 1/4 HP x 30m roll | Pc | 1
|  | Refrigerator capillary tube | Refrigeration oil, 4 Ltrs. | Pc | 1
|  | Refrigerator oil | Fridge Evaporator fan, Rotary type, power input 220VAC, 50Hz, 26W. | Pc | 1
|  | Fridge Evaporator fan | Compressor rotary 24000 BTU/H | Pc | 1
|  | Compressor | Compressor 18000 BTU/H | Pc | 1
|  | Air conditioner compressor | AVS 120-250VAC/30A | Pc | 1
|  | Remote control | Armaflex pipe insulation internal diameter 1/4 inch x 2m length | Pc | 1
|  | Air conditioner/ Mortuary insulation material | Armaflex pipe insulation internal diameter 1/6 inch x 2m length | Pc | 1
|  |  | Armaflex pipe insulation internal diameter 3/8 inch x 2m length | Pc | 1
|  |  | Brass rod, round | Pc | 1
|  | Brazing rod | Square copper rod | Pc | 1
|  |  | Araldite sealant, slow bonding (Pair) | Pc | 1
|  | Others | Compressors ⅛ HP | Pc | 1
|  | Refrigerators | Compressors ⅕ HP | Pc | 1
|  |  | Compressors ⅟4HP | Pc | 1
|  |  | Compressors ⅓HP | Pc | 1
|  |  | Compressors ⅟2 HP | Pc | 1
|  |  | Compressors 1HP | Pc | 1
|  |  | Refrigerant R404 | Pc | 1
|  |  | Refrigerant R22, | Pc | 1
|  |  | Refrigerant R134a, | Pc | 1
|  |  | Refrigerant R600 | Pc | 1
|  |  | Refrigerant R410 | Pc | 1
|  |  | RefrigerantR407 | Pc | 1
|  |  | Refrigerant R404 | Pc | 1
|  |  | Condenser fan 240V/50HZ | Pc | 1
|  |  | Compressor fan 240V/50HZ | Pc | 1
|  |  | Door gasket | Pc | 1
|  |  | Condenser cleaner | Pc | 1
|  |  | Breezing rods | Pc | 1
|  |  | Breezing gas | Pc | 1
|  |  | Copper pipes a roll | Pc | 1
|  |  | Filling valves | Pc | 1
|  | Araldite sealant | Araldite sealant | Pair | 1
26 | Ultrasonic pocket Doppler |  | Rechargeable battery 1800mAh/8.6Wh,Model 2XGRPH-AA 2.4V | Pc | 1
27 | Medicine trolley | Medicine trolley | Castors 7(3/4) diameter. Per pair | Pc | 1
|  |  | Welding rods /Box | Pc | 1
|  |  | Assembly nuts/screws | Pc | 1
28 | Patient screen |  | Castors and base | Pc | 1
29 | Electrical Accessories & Supply | Contactor | Contactor 25A, 240VAC, ABB | Pc | 1
|  |  | Contactor 35A, 240VAC, ABB | Pc | 1
|  |  | Top plug 13A, 240VAC, British Make | Pc | 1
|  | Top plug | Flexible cable 1.5mm sq x 100m., 3 core Rolls | Pc | 1
|  | Electrical Cable | Flexible cable 2.5mm sq x 100m 3 core | Pc | 1
|  | Asbestos Cable | Asbestos Cable 2mm sq x 100m | Pc | 1
|  |  | Socket out let, 2-gang, British standard. | Pc | 1
|  | Socket outlet | Socket outlet Single, British standard | Pc | 1
|  |  | 15A,240VAC, PVC strip connector | Pc | 1
|  | Strip connector | 20A,240VAC, PVC strip connector | Pc | 1
|  |  | 25A,240VAC, PVC strip connector | Pc | 1
|  |  | 30A,240VAC, PVC strip connector | Pc | 1
|  |  | Circuit breaker, like Crab Tree, 30A/240VAC | Pc | 1
|  | Circuit breaker | Circuit breaker, like Crab Tree, 20A/240VAC | Pc | 1
|  |  | Circuit breaker, like Crab Tree, 15A/240VAC | Pc | 1
|  |  | Circuit breaker, like Crab Tree, 10A/240VAC | Pc | 1
|  |  | Electrical fitting 5ft, with electronic ballast and 36-40W tube | Pc | 1
|  | Electrical fitting | Electrical fitting 4ft, with electronic ballast and 11-40W tube | Pc | 1
|  |  | Electrical fitting 3ft, with electronic ballast and 11-20W tube | Pc | 1
|  |  | Changeover switch 1 phase, 10A | Pc | 1
|  | Changeover switch | Changeover switch 3 phase, 32A | Pc | 1
|  | Fuse | 240volts 1000watts | Pc | 1
|  |  | Fuses 13A, 250VAC | Pc | 1
|  |  | Fuses 5A, 250VAC | Pc | 1
|  |  | Fuses 2A, 250VAC | Pc | 1
|  |  | Insulating tape, Red colour | Pc | 1
|  | Insulating tape | Insulating tape, Yellow colour | Pc | 1
|  |  | Insulating tape, Black colour | Pc | 1
|  | Transformer | Step down transformer, 240VAC/110VAC, 2kW | Pc | 1
|  | Step down transformer | Step down transformer, 240VAC/24V, 48V, 110VAC, 300w centre tapped | Pc | 1
|  |  | Step down transformer, 240VAC/24V, 12V, 110VAC, 300w centre tapped | Pc | 1
|  |  | Step down transformer, 240VAC/24V, 48V, 110VAC, 200w centre tapped | Pc | 1
|  |  | Step down transformer, 240VAC/24V, 12V, 110VAC, 200w centre tapped | Pc | 1
|  | Generator | Engine oil, Diesel, 5Lt Delo | Litre | 1
|  | Paint, General purpose | High gloss spray paint, Black/White (Tin 227gm) | Tin | 1
|  | Gloves | Gloves, rubber heavy duty | Pair | 1
|  |  | Gloves, latex-allergic allergic | Pair | 1
|  | Protective gear | Protective gear (trousers and matching jacket) | Pair | 1
|  | Industrial shoes | Industrial shoes Size 7 (41) | Pair | 1
|  |  | Industrial shoes, Size 8 (42) | Pair | 1
|  |  | Industrial shoes, Size 9 (43) | Pair | 1
|  |  | Industrial shoes, Size 10 (44) | Pair | 1
|  | Assorted Electricals | Industrial shoes, Size 6 (40) | Pair | 1
|  | Others | Fuses, 0.1A-15A | PC | 1
|  |  | Top plugs | PC | 1
|  |  | AVS | PC | 1
|  |  | Fridge guards | PC | 1
|  |  | Machine power cables 2.5mm | PC | 1
|  |  | Araldite adhesive | PC | 20
|  |  | Silicon | PC | 10
|  |  | Silicon tubes | PC | 10
|  |  | Thread tapes | PC | 50
|  |  | Insulation tapes | PC | 100
|  |  | Oxygen Heads | PC | 1
|  |  | Off/ON switches 16A-30A | PC | 20
|  |  | Infra-red bulbs 240v/100w | PC | 20
|  |  | Penetrating/ WD40 500ML | PC | 40
|  |  | Silicon Grease | PC | 10
|  | Batteries | 12V/7AH | PC | 1
|  |  | 12V/9AH GEL | PC | 1
|  |  | 12V/14AH GEL | PC | 1
|  |  | 12V/28AH, GEL | PC | 1
|  |  | 12V/33AH GEL | PC | 1
|  |  | 12V/48AH GEL | PC | 1
|  |  | 12V/70AH GEL | PC | 1
|  |  | 12V/100AH GEL | PC | 1
|  |  | 12V/200AH GEL | PC | 1
30 | Stabiliser (see below) | Stabiliser | 250VA | PC | 10
|  |  | 500VA | PC | 10
|  |  | 750VA | PC | 10
|  |  | 1000VA | PC | 10
|  |  | 1500VA | PC | 10
|  |  | 2000VA | PC | 10
|  |  | 2500VA | PC | 10
|  |  | 3000VA | PC | 10
|  |  | 3500VA | PC | 10
|  |  | 4000VA | PC | 10
|  |  | 4500VA | PC | 10
|  |  | 5000VA | PC | 5
31 | Furniture | Furniture’s | Mackintosh 1mm thick or more one roll of 10 metres | Metre | 100
32 | Autoclave | Tuttnauer 3870MLV | Heating element | Pc | 1
|  |  | Thermostat | Pc | 1
|  |  | Door gasket | Pc | 1
|  | LS-75HD | Door gasket | Pc | 1
|  |  | Pressure relieve valve | Pc | 1
|  |  | Satety valve | Pc | 1
|  |  | Power control board | Pc | 1
33 | Trolleys | Castor Wheels | Castor wheels 6 Inches | Set | 20
|  |  | Castor wheels 4 Inches | Set | 10
|  |  | Castor wheels 2 Inches | Set | 10
Sub-total
Delivery cost to Jinja City
Delivery cost to Fort Portal City
Grand total
Name:
Title:
Company name:
Place and date:
Signature and stamp:

## Medical Equipment
Lot 3: Supply, delivery and installation of medical equipment and user training of health workers.
S/N | Item Description | Unit of Measure | Estimated Quantity | Unit price in Euros excl. VAT | Total Unit price in Euros excl. VAT
1 | Tabletop Autoclave 20 Litres | Pc | 18
2 | Autoclave 100 Litres | Pc | 5
3 | Autoclave externally heated 20 LITRES | Pc | 1
4 | Sterilisation Drums | Pc | 18
5 | Dressing Trolleys | Pc | 20
6 | Treatment Trolley | Pc | 24
7 | Infant Weighing Scale- Beam type | Pc | 1
8 | Infant Weighing Scale- Hanging type | Pc | 1
9 | Weighing scale tolder ditigal | Pc | 1
10 | Adult Weighing Scale | Pc | 1
11 | Resuscitator, Manual, Adult | Pc | 46
12 | Resuscitator, Manual, Infant | Pc | 46
13 | Examination Light | Pc | 20
14 | SDD Solar Fridge | Pc | 4
15 | Handheld Pulse Oximeter-Ambulances | Pc | 20
16 | Glucometer | Pc | 1
17 | Penguin Suckers | Pc | 1
18 | Baby Cots | Pc | 48
19 | Mayo table | Pc | 26
20 | Laryngoscope | Pc | 26
21 | Diagnostic Equipment Set (Eye, Ear, Oral) | Pc | 20
22 | Diagnostic Equipment Set for Clinical Officer (CO) | Pc | 20
23 | Diagnostic Equipment Set for Maternal Child Health (MCH) | Pc | 20
24 | Diagnostic equipment Set for Medical Officer (MO) | Pc | 20
25 | Diagnostic Equipment Set for Nurse | Pc | 20
26 | Diagnostic Equipment Set for Ward | Pc | 20
27 | Diagnostic Set for Outpatient Department (OPD) | Pc | 20
28 | Diagnostic Set, Portable | Pc | 20
29 | Head Lamp, Surgical | Pc | 20
30 | Washing Machine 10kg | Pc | 17
31 | Instrument Caesareans | Pc | 19
32 | Instrument Set IUCD | Pc | 20
33 | Instrument Set Laparotomy-Adult | Pc | 19
34 | Instrument Set Laparotomy-Paed | Pc | 19
35 | Instrument Set Stitch Removing | Pc | 20
36 | Instrument Set Suture | Pc | 20
37 | MVA Kit Reusable | Pc | 20
38 | Suction Apparatus Foot Operated | Pc | 20
39 | Crash Cart with Defibrillator | Pc | 6
40 | Vital Sign Monitor | Pc | 40
41 | Anaesthesia Cart | Pc | 1
42 | Operating Light Ceiling Mounted | Pc | 2
43 | Footstool, two steps. | Pc | 14
44 | CBC 3 parts. | Pc | 1
45 | Bed, Adult Patient | Pc | 50
46 | Bed, Children, Patient | Pc | 50
47 | Bedside Locker | Pc | 100
48 | Manual CPAP | Pc | 20
49 | Self loading strechter | Pc | 1
50 | Portable Automatic External Defibrillator (AED) | Pc | 1
51 | Oxygen analysers | Pc | 20
52 | Weighing scale new born | Pc | 1
53 | Instrument set, delivery | Pc | 1
54 | Ventilator | Pc | 1
Sub- total
1 | Delivery cost to Jinja City
2 | Delivery cost to Jinja district
3 | Delivery cost to Kamuli district
4 | Delivery cost to Fort Portal City
5 | Delivery cost to Kabarole district
6 | Delivery cost to Kyegegwa district
7 | Delivery cost to Kasese district
Grand total
Name:
Title:
Company name:
Place and date:
Signature and stamp:
Note on M7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Provided by UHAProvided by UHA
Note on P7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Provided bu UHA
Note on U48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: To confrim availability of space
Note on C52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Busiga and RW to provide updates
Note on C53: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For ambulances

## Mannequins Table A
Lot 2: Supply and delivery of Mannequins
Table A
N° | Description | Unit of measure | EstimatedQuantity | Unit price in Euros excl. VAT | Total unit prices in euros excl. VAT
1 | PPH Simulator | Pc | 22
2 | Preterm new Born Simulator | Pc | 20
3 | Birthing Simulator | Pc | 22
4 | New born Simulator | Pc | 20
5 | Emergency training Simulator | Pc | 22
Sub- total
1 | Delivery cost to Jinja City
2 | Delivery cost to Jinja district
3 | Delivery cost to Kamuli district
4 | Delivery cost to Fort Portal City
5 | Delivery cost to Kabarole district
6 | Delivery cost to Kyegegwa district
7 | Delivery cost to Kasese district
Grand total
Name:
Title:
Company name:
Place and date:
Signature and stamp:

## Mannequins Table B
Lot 2: Supply and delivery of Mannequins
Table B
No. | Item | Unit of measure | Estimated quantity | Unit Price in Euros excl. VAT | Lumpsum unit price in Euros excl. VAT
1 | Nursing simulator | Pc | 6
2 | Obstetric simulator | Pc | 6
3 | Emergency care Simulator | Pc | 6
4 | Paediatric nursing simulator | Pc | 6
5 | Baby dolls for maneuvers | Pc | 6
6 | CPR pratice model adult | Pc | 3
Sub-total
1 | Delivery cost to Hoima City
2 | Delivery cost to Jinja City
3 | Delivery cost to Fort Portal City
Grand total
Name:
Title:
Company name:
Place and date:
Signature and stamp:

## Delivery schedule-Medical equip
Estimated Delivery schedule for Lot 3: Medical equipment
|  | HCIVs | [6 empty] | GHs |  | RRH |  | GHs |  | HCIVs
No. | Description | Namwendwa | Nakandulo | Buwenge | Budondo | Bugembe | Mpumudde | Walukuba | Kamuli | Buwenge | Jinja | Fortportal | Kyegegwa | Bwera | Bujubuli | Nyamirami | Rukoki | Rwesande | Ruteete | Bukuku | Kataraka | Total
1 | Tabletop Autoclave 20 Litres | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 18
2 | Autoclave 100 Litres | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
3 | Autoclave externally heated 20 LITRES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
4 | Sterilisation Drums | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 18
5 | Dressing Trolleys | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
6 | Treatment Trolley | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 24
7 | Infant Weighing Scale- Beam type | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8 | Infant Weighing Scale- Hanging | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
9 | Adult Weighing Scale | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
10 | Resuscitator, Manual, Adult | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 0 | 4 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 46
11 | Resuscitator, Manual, Infant | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 0 | 4 | 4 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 46
12 | Examination Light | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
13 | SDD Solar Fridge | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 4
14 | Handheld Pulse Oximeter-Ambulances | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
15 | Glucometer | [9 empty] | 1 | [10 empty] | 1
16 | Penguin Suckers | [10 empty] | 1 | [9 empty] | 1
17 | Baby Cots- check in the old docs | 3 | 4 | 3 | 3 | 3 | 3 | 4 | 5 | 5 | 5 | [5 empty] | 5 |  |  |  | 5 | 48
18 | Mayo table | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 26
19 | Laryngoscope | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 26
20 | Diagnostic Equipment Set (Eye, Ear, Oral) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
21 | Diagnostic Equipment Set for Clinical Officer (CO) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
22 | Diagnostic Equipment Set for Maternal Child Health (MCH) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
23 | Diagnostic equipment Set for Medical Officer (MO) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
24 | Diagnostic Equipment Set for Nurse | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
25 | Diagnostic Equipment Set for Ward | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
26 | Diagnostic Set for Outpatient Department (OPD) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
27 | Diagnostic Set, Portable | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
28 | Head Lamp, Surgical | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
29 | Washing Machine 10-15kg | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 17
30 | Instrument Caesareans | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 19
31 | Instrument Set IUCD | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
32 | Instrument Set Laparotomy-Adult | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 19
33 | Instrument Set Laparotomy-Paed | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 19
34 | Instrument Set Stitch Removing | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
35 | Instrument Set Suture | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
36 | MVA Kit Reusable | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
37 | Suction Apparatus Foot Operated | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
38 | Crash Cart with Defibrillator | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
39 | Vital Sign Monitor | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 40
40 | Anaesthesia Cart | [10 empty] | 1 | [9 empty] | 1
41 | Operating Light Ceiling Mounted | [17 empty] | 1 |  | 1 | 2
42 | Footstool, two steps. | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 14
43 | CBC 3 parts. | [9 empty] | 1 | [10 empty] | 1
44 | Bed, Adult Patient | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 50
45 | Bed, Children, Patient | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 0 | 10 | 0 | 0 | 0 | 10 | 50
46 | Bedside Locker | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 20 | 20 | 0 | 20 | 0 | 0 | 0 | 20 | 100
47 | Manual CPAP | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
48 | Self loading strechter | [9 empty] | 1 | [10 empty] | 1
49 | Foldable stretcher | [10 empty] | 1 | [9 empty] | 1
50 | Portable Automatic External Defibrillator (AED) | [9 empty] | 1 | [10 empty] | 1
52 | Oxygen analysers | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 20
Note on I8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Provided by UHAProvided by UHA
Note on L8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Provided bu UHA
Note on Q48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: To confrim availability of space
Note on C52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Busiga and RW to provide updates
Note on C54: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For ambulances