## Preliminaries
ANNEX B - PRICING SHEDULE
BILLS OF QUANTITIES FOR THE PROPOSED CONSTRUCTION OF 1 COLLECTION CENTRE IN PEMBA
Item | GENERAL DESCRIPTIONS OF WORKS | Tsh. | Able to offer as per specifications? Y/N | If no, please describe alternative specifications | UNIT PRICE [include currency] (excluding VAT) | Lead time (please represent as number of days e.g. 14 days)
DESCRIPTION OF SITE:
DESCRIPTION OF WORKS:
A. | The work within this contract comprises of: Construction of three collection centres in Pemba
SINGULAR AND PLURAL
B. | Word importing the singular only also includes the plural.
LAW GOVERNING CONTRACT
C. | The contract shall be in all respect to be constructed and operated in accordance with the Belgian Law.
METHOD OF MEASUREMENT:
D. | These Bills of Quantities have been prepared in accordance with the standard method of measurement of Building Works for East Africa first edition (metric) published by the architectural association of Kenya chapter of Quantity Surveyor Act; 1970; and applied equally to the measurement of proposed works and of variations by Quantity Surveyors.
E. | Variation of ‘Builder’s Work’ will be subject to the same amended rates of percentage of adjustment.
DEFINITIONS OF ABBREVIATIONS:
F. | The Contractor should take due notice of the under mentioned abbreviations:-
mm - millimetres
cm - centimetres
M3 - cubic meters
M2 - square metres
M - linear metres
No - Number
Kg - Kilograms
P.C - Prime cost
TO COLLECTION TSHS.
ITEM | GENERAL DESCRIPTIONS OF WORKS | TSHS.
METHOD OF MEASUREMENT:
A. | These Bills of Quantities have been prepared in accordance with the standard method of measurement of Building Works for East Africa first edition (metric) published by the architectural association of Kenya chapter of Quantity Surveyor Act; 1970; and applied equally to the measurement of proposed works and of variations by Quantity Surveyors.
B. | Variation of ‘Builder’s Work’ will be subject to the same amended rates of percentage of adjustment.
DEFINITIONS OF ABBREVIATIONS:
C. | The Contractor should take due notice of the under mentioned abbreviations:-
mm - millimetres
cm - centimetres
M3 - cubic meters
M2 - square metres
M - linear metres
No - Number
Kg - Kilograms
P.C - Prime cost
D. | The Contractor shall allow for keeping all records appertaining to the work and shall keep on the site a daily diary recording weather conditions; temperature; visitors to the site, etc.
E. | The Contractor is to supply to the Employer such information as he may be required in connection with the work; including statement showing the number of men employed in all trades daily; and delivery notes (stating the name of the project) for all materials delivered to the site.
| TO COLLECTION TSHS. | 0
ITEM | GENERAL DESCRIPTIONS OF WORKS | TSHS.
EMPLOYER’S INSPECTION:
A. | No work shall be covered up until it is inspected and approved by the Employer. | -
PROTECTION FROM THE WEATHER:
B | The Contractor shall allow for covering up and protecting all new work from injury by weather or any other cause. Any damage; loss or expense caused by non-compliance with the clause shall be at sole risk of the contract.
TOOLS, PLANT AND SCAFFOLDING:
C | Provide all necessary cranes, hoists, concrete mixer and other plant including ladder, staging, access gangways tackle, tarpaulins, tools, moulds templates and other requisites necessary for proper executing, adapting from time to time as may be necessary and maintain all plant and equipment during the course of the contract. | N/A
SITE ACCOMODATION:
D | The Contractor shall provide and maintain any necessary temporary office accommodation required by himself and his Sub-Contractors suitably equipped with desks; chairs; drawing boards; and electric lighting and telephone.
WATER FOR THE WORKS
G. | The Contractor shall allow for all necessary clean fresh water for the works, including that required by Sub-Contractors and for any temporary plumbing metres and storage facilities and pay all charges in connection therewith and clear away on completion and make good works disturbed.
LIGHTING AND POWER FOR THE WORKS
E | The Contractor shall allow for providing and maintaining a temporary electricity supply for the works including that required by Sub-Contractor and for any meters and fittings to give artificial lighting and power necessary for the execution of the works and pay all charges, in connection and make good all works disturbed. | 0
| TO COLLECTION TSHS. | 0
WATCHING AND LIGHTING:
A. | The Contractor shall allow for providing and maintaining any barriesrs; hoalding; watching; lighting which must comply with the By-laws of requirements of the Local Authority and polycy regulations and the Contractor must give all requiste policies to those authorities and provide everything necessary to protect the general public workmen; plant; materials and the whole of the works
B. | No advertisement will be permitted without the written authority of the Employer.
SIGN BOARD:
C. | The Contractor shall provide and erect a large sized sign board on the site showing the title of the contract, the name and address of the Employer; consultant, nominated suppliers and Sub-Contractor and such information as may be required by the Employer who shall provide the sign layout and colours of the Board. The board shall be repainted when necessary and removed when no longer required. this includes the project registration in the required boards.
PROTECTION:
D. | The Contractor is required to protect works section until completion.
TESTING:
E. | Allow for testing all the installations required to be tested and provide everything necessary for this purpose and leave the whole in perfect working order to the satisfaction of the Employer and Local Authority.
REMOVING RUBBISH AND CLEANING:
F. | The Contractor shall make good all defects and injuries to the works, clean down external faces wash off stains to face work, clean off marks mortar and cement, clean windows inside and out, scrub floors, flush drains run and leave all parts of the works clean, free from rubbish and waste materials and perfect on completion.
G. | The Contractor shall clean and cart away all rubbish as it accumulate and keep the works in orderly condition to the satisfaction of the Employer
| TO COLLECTION | 0
COLLECTION
Page No. 5/1/1
Page No. 5/1/2
| Page No. 5/1/3 | 0
Page No. 5/1/4
| Page No. 5/1/5 | 0
| Page No. 5/1/6 | 0
| BILL No. 01- PRELIMINARIES CARRIED TO GENERAL SUMMARY | 0

## Measured work
ANNEX B-PRICING SHEDULE
BILLS OF QUANTITIES FOR THE PROPOSED CONSTRUCTION OF 1 COLLECTION CENTRES IN PEMBA
Item | Description | Unit | Qty | Rate | Rate | Amount | Amount | Able to offer as per specifications? Y/N | If no, please describe alternative specifications | UNIT PRICE [include currency] (excluding VAT) | Lead time (please represent as number of days e.g. 14 days)
BILL NO 02. MEASURED WORK
ELEMENT NR. 1 : SUBSTRUCTURE
(ALL PROVISIONAL)
| Trenches excavation; to receive foundations;- |  |  |  | 0 |  | 0 |  |  |  |  | 556.5 |  | doroto
A | Excavation to exceed 1.50 meters deep | LS | 1 |  | 0 | 0 | 0 |  |  |  |  | 111.3 |  | goweko
[5 empty] | 0 |  | 0 | [6 empty] | kitunda
B | Extra over any kind of excavation for breaking up Rocks | m³ | 8 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
C | Backfilling; depositing and compacting in layers maximum 150mm thick imported material around foundations | m³ | 111.3 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
D | For selected Excavated materials: Spread,well ram and consolidate to make up levels under floor | m³ | 9.5 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
| Filling |  |  |  | 0 |  | 0
A | Sand filling in making up levels; average 150 mm thick | m³ | 9.5 |  | 0 | 0 | 0
| Hardcore |  |  |  | 0 |  | 0
B | 150mm thick stone hardcore bed; leveled compacted and sand blinded to receive damp proof membrane measured separately | m² | 21.6 |  | 0 | 0 | 0
| Soil Sterilization |  |  |  | 0 |  | 0
A | Chemical anti termite treatment around the building plinth 30cm | m | 79.5 |  | 0 | 0 | 0
B | Aldrin' solution or equivalent and approved applied at a rate of 7 litres per square metre to the floor | m² | 95.5 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
[5 empty] | 0 |  | 0
| Stone masonry foundation |  |  |  | 0 |  | 0
A | Strip foundations,stairs and ramps foundations | m³ | 55.225 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
[5 empty] | 0 |  | 0
B | Damp-proof Membrane (DPM) | m | 79.5 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
C | 500Gauge polythene sheet laying on blinded hardcore with 150mm sides and end laps | m² | 96 |  | 0 | 0 | 0
D | Pointing of the stone masonry foundation surface. | m² | 25 |  | 0 | 0 | 0
| TOTAL FOR SUB-STRUCTURE |  |  |  | 0 | 0 | 0
0
0
| ELEMENT NO. 2 - FRAME |  |  |  | 0
| Concrete work |  |  |  | 0
| Vibrated Reinforced in-situ concrete; grade 20 nominal mix (1:2:4) |  |  |  | 0
A | Lintel Beams, shade on the side doors and Columns ; horizontal or sloping not exceeding 15 degrees from horizontal | m³ | 2.83 |  | 0 | 0 | 0
B | Ramps and Stairs according to the drawings | LS | 2 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
| High Tensile Reinforcement; bars; BS 4449:1969 |  |  |  | 0 |  | 0
A | 12mm Diameter bars | kg | 347.6 |  | 0 | 0 | 0
B | 8mm Diameter bars | kg | 167 |  | 0 | 0 | 0
C | Binding wires | kg | 15 |  | 0 | 0 | 0
| Balustrades: |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
| Sawn formwork to. |  |  |  | 0 |  | 0
A | Horizontal sides and soffites of beams | m² | 3.0375 |  | 0 | 0 | 0
B | Vertical sides of Columns | m² | 37.26 |  | 0 | 0 | 0
| TOTAL FOR FRAME-WORK |  |  |  | 0 | 0 | 0
0
| ELEMENT NO 3: WALLS |  |  |  | 0
| Internal wall |  |  |  | 0
| Block work; 4 MPa bedded and jointed in cement/sand mortar (1:4) |  |  |  | 0
A | 150mm Wall | m² | 259.2 |  | 0 | 0 | 0
| TOTAL FOR WALLS |  |  |  | 0 | 0 | 0
0
0
| ELEMENT NO 4: DOORS |  |  |  | 0
| Hardwood Mninga or equal and approved:-Supply and fix Hardwood Mninga or equal and approved 45mm thick panelled door comprising of 45mm*100mm rebated stiles; all panels filled in with and including 25 mm thick Hardwood Boards complete with 15 mm *150 mm frame with one labor, 50 mm*150 mm transome or Mulliom to Engineers' Appoval |  |  |  | 0
A | 1500x2400x45mm thick hardwood solidcore flush door; Double Door; Divided into two equal shutters; | Nr. | 2 |  | 0 | 0 | 0
B | 900 x 2400 x 45mm thick;Single Door; ditto; | Nr. | 5 |  | 0 | 0 | 0
| Ironmongery supply and fix the following as manufactured by Union ltd."or other equal and approved. |  |  |  | 0 |  | 0
C | 150mm Brass butt hinges. (3 pieces equivalent to 1 pair) | Pairs | 10 |  | 0 | 0 | 0
D | Three-lever mortise union lockset model 1223 case 65; | Nr. | 7 |  | 0 | 0 | 0
E | Flush bolt 100mm | Nr. | 42 |  | 0 | 0 | 0
F | 30mm diameter rubber doorstop fixed to concrete floor or blockwork base. | Nr. | 10 |  | 0 | 0 | 0
G | Steel Grilled Doors
| 1500*2400 | Nr | 2 |  |  | 0
| 900*2400 | Nr | 1 |  |  | 0
| TOTAL DOORS |  |  |  | 0 | 0 | 0
0
| ELEMENT NO 5: WINDOWS |  |  |  | 0
| Aluminium glazing approved by the Architect; single glazed combination frame and windows, 1.2 x 100mm Aluminium section framing, all mullions and transomes; epoxy power coat RAL 9006 finish, 5mm clear glass pre assembled with stainless steel plates and screws window ironmongery, glazed beads, fiber mosquito net, rubber gaskets and backer rods and fixing to mansory or concrete grounds, sealing all around with non-hardening EPDM silicone sealant; |  |  |  | 0
A | 2000 x 1500mm high aluminium window consist of 2No casement shutters with 6mm tinted glass and 01No mosquito shutter; | Nr. | 5 |  | 0 | 0 | 0 | [5 empty] | 3
B | 2400*2000 mm high; ditto; transparent glasses | Nr. | 2 |  | 0 | 0 | 0 | [5 empty] | 1.74
C | 1200 x 700mm high; ditto; | Nr. | 3 |  | 0 | 0 | 0 | [5 empty] | 1.16
| Composite items |  |  |  | 0 |  | 0
A | Supply and fix in position "WINDOW GRILLES"; comprising of 32x32x3mm SHS pipes framing; filled in with 25x25x3mm flat; bars cut and bent to patterns spaced at not more than 150mm centres complete to the aproval of Architect for window Size | M2 | 27.12 |  | 0 | 0 | 0
| TOTAL FOR WINDOWS |  |  |  | 0 | 0 | 0
0
| ELEMENT NO.6: ROOFING |  |  |  | 0
| Sawn soft wood; Impregnated with Preservatives |  |  |  | 0
A | Supply and install 2"x6" treated timber beams & King post | m | 167.2 |  | 0 | 0 | 0
B | Supply and install 2"x4" treated timber struts | m | 137.676 |  | 0 | 0 | 0
C | Supply and install 2"x6" (50x150mm) treated timber wall plate | m | 31 |  | 0 | 0 | 0
D | Supply and install 2"x2" (50x75mm) treated timber purlins at 600mm c/c | m | 310.2 |  | 0 | 0 | 0
E | Supply and install 2"x2" treated timber brandering (ceiling joists) at 500mm c/c | m | 701.945 |  | 0 | 0 | 0
| ALAF or equivalent IT5 profile coloured aluminium roofing sheets; 28 gauge lapped to sides and ends as per manufacturer's specifications; fixed to timber purlins (m/s) | m2 | 166 |  | 0 | 0 | 0
F | Supply and install roof covering on sloped surfaces with angles of 8° and 12° from the horizontal, ensuring proper installation with all necessary fixings and accessories to achieve a secure and weatherproof roof | M2 | 28.0683 |  | 0 | 0 | 0
G | Supply and install aluminium roof nails ( colour to match roof covering) | Pkt | 5 |  | 0 | 0 | 0
| Supply and install 407mm girth valley (colour to match roof covering) | m |  |  | 0 | 0
H | Application of Silicon | m | 38.85 |  |  | 0
I | Aluminium Flush 10cm * 20cm * 20cm to be placed on the joint between the parapet wall and the sheet | m | 38.85 |  |  | 0
| TOTAL FOR ROOFING |  |  |  | 0 | 0 | 0
PARAPET, ROOF GUTTERS & RC ROOF
A | Construct masonry parapet walls using high-quality concrete blocks or brickwork, including plastering | M2 | 114.6 |  |  | 0
B | Apply waterproofing finishing to parapet walls, using high-quality cement-based waterproofing solution, flexible and UV-resistant, including two coats of weather guard paint for enhanced protection | M2 | 229.2 |  |  | 0
C | Supply and install gutter outlet pipes, PVC - Class C, including all necessary fittings | m | 10 |  |  | 0
D | Supply and install PVC downpipes - high-strength PVC ( Class c) including fittings and accessories | m | 14 |  | 0 | 0 | 0
| ELEMENT NO. 07: FINISHINGS |  |  |  | 0 |  | 0
| (Floor; Wall and Ceiling Finishing): |  |  |  | 0 |  | 0
| Floor finish: |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
| Screed; cement and sand (1:4); wood floated |  |  |  | 0 |  | 0
A | 40mm thick bed | m2 | 107 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
| Wall finish: |  |  |  | 0 |  | 0
A | Internal wall plastering (1:4) cement sand morta | m2 | #REF! |  | 0 | #REF! | #REF!
B | Externa wall plastering (1:4) cement sand morta | m2 | #REF! |  | 0 | #REF! | #REF!
[5 empty] | 0 |  | 0
| Ceilling Finish: |  |  |  | 0 |  | 0
| 9mm thick gypsum board ceiling complete with gypsum screw,and fible tape fixed to brandering (measured separate) |  |  |  | 0 |  | 0
A | 1200x2400x9mm thick gypsum board; ex thailand or Gproc brand or any other approved | m² | 98 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
B | 100 x 100mm Moulded cornices | M | 128 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
C | Supply and fix PVC ceiling complete including PVC and corner joints, shoe nail and all accessories | m2 | 33.6 |  | 0 | 0 | 0
| TOTAL FINISHINGS |  |  |  | 0 | #REF! | #REF!
[5 empty] | 0 |  | 0
[5 empty] | 0 |  | 0
| ELEMENT NO. 08: PAINTING AND DECORATIONS |  |  |  | 0 |  | 0
| Internal works |  |  |  | 0 |  | 0
| Prepare, skimm and apply one thinned coat and two full coats of Silk vinly paint; Wash and wear; Goldstar; Galaxy or any equal approved as per Archtect's instruction on: |  |  |  | 0 |  | 0
A | Plastered walls | m² | #REF! |  | 0 | #REF! | #REF!
[5 empty] | 0 |  | 0
| Prepare and apply one thinned coat and two full coats of plastic emulsion paint as per the Architect’s approval on surface of : |  |  |  | 0 |  | 0
B | Gypsum Ceiling | m² | 98 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
| EXTERNAL WORK: |  |  |  | 0 |  | 0
| Prepare, skimm and apply one undercoat and two full coats of weather guard paint as per architect's approval on surface of : |  |  |  | 0 |  | 0
A | Plastere Walls, columns. | m² | #REF! |  | 0 | #REF! | #REF!
| Prepare and apply one undercoat and two full coats of egg shell varnish on timber surfaces: |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
| TOTAL PAINTING |  |  |  | 0 | #REF! | #REF!
0
0
| ELEMENT NR. 09: ELECTRICAL INSTALLATIONS |  |  |  | 0
| DISTRIBUTION SYSTEM: 4Ways TPN distribution board (DB 3 ) with 100A/300mmA RCCB incomer and outgoing MCBs as shown in Schematic diagram as ABB or approved equal. | Pcs | 1 |  | 0 | 0 | 0
| Earth Rod copper | Pcs | 1 |  | 0 | 0 | 0
| Metal Box Single | Pcs | 1 |  | 0 | 0 | 0
| Metal Box Double | Pcs | 12 |  | 0 | 0 | 0
| Round Box | Pcs | 10 |  | 0 | 0 | 0
| Conduit pipe 3/4''Tronic (Class B) | Pcs | 50 |  | 0 | 0 | 0
| Nail 2'' | Kg | 2 |  | 0 | 0 | 0
| Switch Socket Double TRONIC | pcs | 8 |  | 0 | 0 | 0
| Switch 1gang 1 Way TRONIC | pcs | 1 |  | 0 | 0 | 0
| Switch 2gang 1 Way TRONIC | pcs | 4 |  | 0 | 0 | 0
| Power saver lamp | pcs | 14 |  | 0 | 0 | 0
| Solution Tap TRONIC | pcs | 10 |  | 0 | 0 | 0
| Earth wire Single core 4mm | MTS | 20 |  | 0 | 0 | 0
| Cable 6mm2 Twin | MTS | 20 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
| Cable single core 1.5mmsq |  |  |  | 0 |  | 0
| Red | Roll | 3 |  | 0 | 0 | 0
| Black | Roll | 2 |  | 0 | 0 | 0
| Green | Roll | 2 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
| Cable single core 2.5mmsq 100m |  |  |  | 0 |  | 0
| Red | Roll | 3 |  | 0 | 0 | 0
| Black | Roll | 2 |  | 0 | 0 | 0
| Green | Roll | 2 |  | 0 | 0 | 0
| TOTAL FOR ELECTRICAL INSTALLATION |  |  |  | 0 | 0 | 0
0
0
| ELEMENT No:10 SUPPLY AND FIX PLUMBING AND WATER SYSTEM INSTALLATION |  |  |  | 0
| INFINITY white vitreous china wash hand basin | No | 2 |  | 0 | 0 | 0
| Complete Toilet flat Floor/WC (Assian type) | No | 2 |  | 0 | 0 | 0
| White colored toilet paper roll holder | No | 2 |  | 0 | 0 | 0
| IPS Pipe 1/2'' | pcs | 3 |  | 0 | 0 | 0
| IPS Elbow 1/2'' | Pcs | 3 |  | 0 | 0 | 0
| IPS TEE 1/2'' | Pcs | 3 |  | 0 | 0 | 0
| IPS NIPPLE 1/2'' | Pcs | 3 |  | 0 | 0 | 0
| IPS Socket 1/2'' | Pcs | 3 |  | 0 | 0 | 0
| Male socket 1/2'' | Pcs | 3 |  | 0 | 0 | 0
| R-Socket 1/2''x3/4'' | Pcs | 3 |  | 0 | 0 | 0
| R-Bush 1/2''x3/4'' | Pcs | 3 |  | 0 | 0 | 0
| IPS Pipe 3/4'' | Pcs | 3 |  | 0 | 0 | 0
| IPS Elbow 3/4'' | Pcs | 3 |  | 0 | 0 | 0
| IPS Tee 3/4'' | pcs | 3 |  | 0 | 0 | 0
| IPS Nipple 3/4'' | pcs | 3 |  | 0 | 0 | 0
| IPS Socket 3/4'' | pcs | 3 |  | 0 | 0 | 0
| IPS Union 3/4'' | pcs | 3 |  | 0 | 0 | 0
| GET Valve 3/4'' | pcs | 3 |  | 0 | 0 | 0
| Polly Pipe (Class C) 3/4'' | Roll | 3 |  | 0 | 0 | 0
| Tee Poly 3/4'' | Pcs | 3 |  | 0 | 0 | 0
| Tee Conector Female 3/4'' | Pcs | 3 |  | 0 | 0 | 0
| Male Connector 3/4'' | Pcs | 3 |  | 0 | 0 | 0
| Pvc Pipe (Class 'B') 11/2'' | Pcs | 3 |  | 0 | 0 | 0
| PVC Elbow 11/2'' | Pcs | 3 |  | 0 | 0 | 0
| PVC Tee 11/2'' | Pcs | 3 |  | 0 | 0 | 0
| PVC 45Degree Band Elbow 11/2'' | Pcs | 3 |  | 0 | 0 | 0
| PVC YT Joint 11/2'' | Pcs | 3 |  | 0 | 0 | 0
| PVC Reducer 11/2''X11/4'' | Pcs | 3 |  | 0 | 0 | 0
| PVC Cement 1/2Ltre | Pcs | 3 |  | 0 | 0 | 0
| Floor Trup (Vertical) 11/2'' | Pcs | 3 |  | 0 | 0 | 0
| Fisher Plug for HWB 12mm | Pairs | 3 |  | 0 | 0 | 0
| Heavy Flexible pipe 1/2'' | pcs | 3 |  | 0 | 0 | 0
| Fisher Plug 8mm | Box | 3 |  | 0 | 0 | 0
| Angle Valve (PEX England) 1/2'' | pcs | 3 |  | 0 | 0 | 0
| Bib cork 1/2'' | Pcs | 3 |  | 0 | 0 | 0
| Thread Seal Tape | pcs | 3 |  | 0 | 0 | 0
| PVC Pipe 4'' | pcs | 3 |  | 0 | 0 | 0
| PVC Elbow 4'' | pcs | 3 |  | 0 | 0 | 0
| PVC Tee 4'' | pcs | 3 |  | 0 | 0 | 0
| PVC Inspection Elbow 4'' | pcs | 3 |  | 0 | 0 | 0
| PVC 45 Degree Band Elbow 4'' | pcs | 3 |  | 0 | 0 | 0
| Chamber Cover 45X45 | Pcs | 3 |  | 0 | 0 | 0
| 600x900x6 thick Looking mirror with bevel edges side ,side coated alkali resistant opaque | Pcs | 3 |  | 0 | 0 | 0
| Stainless steel soap dish | Pcs | 3 |  | 0 | 0 | 0
| Stainless steel toilet roll holder | Pcs | 3 |  | 0 | 0 | 0
| 100mm diametre stainless steel floor drains | Pcs | 3 |  | 0 | 0 | 0
| PS Above Plummbing quantities are provisional |  |  |  | 0 | 0 | 0
| Gutter's |  |  |  | 0 |  | 0
| PVC Gutter 100 diametre (15ft) | m | 12 |  | 0 | 0 | 0
| Gutte clamp | No | 10 |  | 0 | 0 | 0
| Down pipe 100 dimetre | No | 2 |  | 0 | 0 | 0
| Clamp for Down pipe | No | 8 |  | 0 | 0 | 0
| Elbow 3'' | No | 4 |  | 0 | 0 | 0
| Extral over for Tee | No | 3 |  | 0 | 0 | 0
| Connector | No | 9 |  | 0 | 0 | 0
| Stopper | No | 4 |  | 0 | 0 | 0
| outlet | No | 2 |  | 0 | 0 | 0
[5 empty] | 0 |  | 0
| Supply water storage tank; “SIMTANK” 5000 litres | No | 1 |  | 0 | 0 | 0
|  | Pcs | 1 |  | 0 | 0 | 0
WATER TANK POST
| Block work masonry including foundation thickness 230mm | m2 | 18.4 |  |  | 0
| C25 concrete to slab | m3 | 0.529 |  |  | 0
| reinforcement | kg | 100 |  |  | 0
| Floor screed | m2 | 5.29 |  |  | 0
| Plastering | m2 | 36.8 |  |  | 0
| Construct septic tank overall internal dimensions; size 2900 x 1510x 2500mm. deep in 230mm(to drawings) | No | 1 |  | 0 | 0 | 0
| Construct Soak away pit overall internal dimensions; size 2200 x 2000mm. deep in 230mm. thick blocks walls; | No | 1 |  | 0 | 0 | 0
| TOTAL PLUMBING AND MECHANICAL INSTALLATION |  |  |  |  | 0 | 0
BILL No.3: MEASURED WORKS SUMMARY
| ELEMENT NO. 01 - Sub-structure |  |  |  |  | 0 | 0 | #REF! | #REF!
| ELEMENT NO. 02 - Frame-work |  |  |  |  | 0 | 0 | #REF! | #REF!
| ELEMENT NO. 03 - Walls |  |  |  |  | 0 | 0 | #REF! | #REF!
| ELEMENT NO. 04 - Doors |  |  |  |  | 0 | 0 | #REF! | #REF!
| ELEMENT NO. 05 - Windows |  |  |  |  | 0 | 0 | #REF! | #REF!
| ELEMENT NO. 06 - Roof |  |  |  |  | 0 | 0 | #REF! | #REF!
| ELEMENT NO. 07 - Finishings |  |  |  |  | #REF! | #REF! | #REF! | #REF!
| ELEMENT NO. 08 - Paintings and Decorations |  |  |  |  | #REF! | #REF! | #REF! | #REF!
| ELEMENT NO. 09: Electrical Installation |  |  |  |  | 0 | 0 | #REF! | #REF!
| ELEMENT NO. 10: Plumbing sanitary and Mechanical Installation |  |  |  |  | 0 | 0 | #REF! | #REF!
| BILL No.3 - MEASURED WORKS CARRIED GENERAL SUMMARY |  |  |  |  | #REF! | #REF!
Note on B57: jordan kabyemela: Brightson Please Quantify
Note on D94: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The assumption is 8 nails/sqm and this is only for ton roof covering does not include trusses @KABYEMELA, Jordan

## General Summary
ANNEX B-PRICING SHEDULE
BILLS OF QUANTITIES FOR THE PROPOSED CONSTRUCTION OF 1 COLLECTION CENTRE IN PEMBA CLUSTER
Item | Description | Amount | Able to offer as per specifications? Y/N | If no, please describe alternative specifications | UNIT PRICE [include currency] (excluding VAT) | Lead time (please represent as number of days e.g. 14 days)
GENERAL SUMMARY
A | BILL No 01: GENERAL PRELIMINARIES | 0
B | BILL No. 02: MEASURED WORK | #REF!
INSURANCE CLAUSES
Insurance against loses and damage of works by fire,earth quakes etc.
Performance Security
| SUB-TOTAL | #REF!
| TOTAL AMOUNT (VAT Inclusive) | #REF!