# Tender PSE22004-10087- Clarifications and Errata

21/OCT/2025

## Notes:

Important errata are being published as part of these questions and answers. They are highlighted in red below as part of the answers to questions.

Specifications mentioned in Plans, BoQs and technical specifications are all included in the price.

The Contractor shall distribute all direct and indirect costs, profit, and overhead proportionally across all items in the Bill of Quantities.

## Errata:

## An updated Annex1: Bill of Quantities has been published (REV01). Item No. 2.04.

## Questions:

Stage Platform: There are two different drawings for the stage, each with a distinct installation and execution method. If a ready-made stage is intended, the stage dimensions must be in multiples of one meter, as the available panels come in sizes of 50×50 cm or 100×200 cm..

- Answer: 	The prefabricated unit will be utilized, and its dimensions are 8 meters by 3 meters.

Folding Partition System: The folding partition requires suspension from the ceiling, which involves dismantling parts of the false ceiling and constructing gypsum board bulkheads these works are not included in the current BOQ items.

- Answer:  		The price shall include all necessary works needed to complete the installation this includes the removal and reinstallation of any affected ceiling and flooring components, as well as the proper fixing, repainting, and restoration of both surfaces to their original condition.

Carpet Flooring: The carpet specifications are not clearly defined and need clarification to confirm the required type and quality

Answer: 	The specifications provided are sufficient.

The specified panel type is woven vinyl; however, the carpet required for the hall flooring is not part of this system. Therefore, compatibility should be reviewed or the specifications updated accordingly.

- Answer:  	The woven vinyl will be for the area without carpet, at the end of the hall where the coffee tables are (if used). For the new item (carpet skirting) 2.04 please refer to the updated BoQ.

- End of questions and answers