## Cover Page
2025-09-03
BOQ PROPOSED SOLAR WORKS IN THE SELECTED SCHOOLS IN BIYAYA S.S, ALERE S.S. AND OFUA S.S. IN ADJUMANI DISTRICT
|  | © | 2025

## Summary
BOQ PROPOSED MINOR REPAIR OF SOLAR WORKS IN THE SELECTED SCHOOLS IN ADJUMANI DISTRICT
MAIN SUMMARY
BILL NO. | DESCRIPTION | PAGE NO. | AMOUNT IN BOQS (Euro €)
1 | Preliminaries | 1/13 | 0
Main works
2 | ALERE SS SOLAR WORKS | 2/31 | 0
3 | BIYAYA SS SOLAR WORKS |  | 0
4 | OFUA CIVIL SOLAR WORKS |  | 0
| SUB-TOTAL (EUR) |  | 0
| Add 5% Contigency | 5% | 0
ADD: VAT
| TOTAL AMOUNT |  | 0

## Smry. Bl. 1 Prelims
Item |  |  | Description | EURO
BILL No 1
PRELIMINARIES
SUMMARY
| 1 |  | Total Carried From Page 1/1 | 0
| 2 |  | Total Carried From Page 1/2 | 0
| 3 |  | Total Carried From Page 1/3 | 0
| 4 |  | Total Carried From Page 1/4 | 0
| 5 |  | Total Carried From Page 1/5 | 0
| 6 |  | Total Carried From Page 1/6 | 0
| 7 |  | Total Carried From Page 1/7 | 0
| 8 |  | Total Carried From Page 1/8 | 0
| 9 |  | Total Carried From Page 1/9 | 0
| 10 |  | Total Carried From Page 1/10 | 0
| 11 |  | Total Carried From Page 1/11 | 0
| 12 |  | Total Carried From Page 1/12 | 0
0
8
|  | TOTAL FOR BILL No 1 CARRIED TO MAIN SUMMARY |  | 0
PRELIMINARIES |  |  |  | 1/13

## Preliminaries
Item | Description |  |  |  | Euro
BILL No 1
PRELIMINARIES
A | Sufficiency of Bid
The Contractor shall be deemed to have satisfied himself before bidding as to the correctness and sufficiency of his Bid for the Works and of the rates and prices stated in the bills of Quantities which rates and prices shall cover all his obligations under the Contract and all matters and things necessary for the proper completion and maintenance of the works
B | Definition of Terms and Abbreviations
The Terms and Abbreviations used in this Bills of Quantities Shall be interpreted as follows:-
| “ B.S.” |  | shall mean | The current British Standard of Specification published by the British Standard Institution, Park Street, London, W.1 England
| “ NO.” |  | shall mean | Number
| "L.M. |  | shall mean | Linear Meter
| "M" |  | shall mean | Linear Meter
| "SM" |  | shall mean | Square Meter
| "CM" |  | shall mean | Cubic Meter
| "Ditto" |  | shall mean | The whole of the preceding description except as qualified in the section in which it occurs. Where it occurs in brackets, it shall mean the whole of the preceding description which is contained within the appropriate.
| "MS" |  | shall mean | Measured separately
| "BSM" |  | shall mean | Both sides measured
| "P.C" |  | shall mean | Prime cost
| "75mm to 150mm" |  | shall mean | Exceeding 75mm but not exceeding 150mm in girth, and all items described in this manner shall be similarly construed.
"As Before" shall mean the whole of the proceeding description except as qualified in the description in which it occurs. Where it occurs in description of succeeding items it shall mean the same as in the first description of the Series in which it occurs except as qualified in description, which is contained within the appropriate brackets.
"Necessary", "Proper": Wherever these words occur they shall mean executed to the extent that it must be conducted in a manner or character which is "necessary" or "proper" in the opinion of the Project Manager.
"Provisional Sum" shall mean a sum of money included in the Contract to cover the cost of a portion of the Works, the extent of nature of which is undetermined at the time of preparing the Contract Documents or which cannot be accurately determined until that portion of work is complete. All such sums are to be used as directed by the Project Manager and deducted in whole or in part from the Contract Price if not required.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
Definition of Terms and Abbreviations (Cont'd)
"Prime Cost Sum" or "P.C. Sum" shall mean a sum provided for work or services to be executed by a nominated Sub-Contractor, a Statutory Authority or a Public undertaking, or for materials or goods to be obtained from a Nominated Supplier. Such sums shall be deemed to be exclusive of any cash discount or profit required by the Main Contractor. All prime cost sums are to be used as directed together with any profit added by the Main Contractor from the Contract Sum, if not required.
"As described" shall mean as described in the descriptions of materials and workmanship contained in the General Specifications and/or Bills of Quantities.
"Works" shall mean all or any portion of the work described on Page 1/7 of this section of the tender documents and shall include materials and articles, wherever the same are being manufactured or prepared which are to be used in the execution of this Contract and whether the same may be on the site or not.
"Contract" means the Condition of Contract, the Specifications, the Drawings, the Bills of Quantities, the Tender, the Letter of Acceptance, the Contract Agreement and such further documents as may be expressly incorporated in the letter of Acceptance or Contract Agreement.
"Contract Price" means the sum stated in the Letter of Acceptance as the amount payable to the Contractor for the execution and completion of the Works and the remedying of any defects therein in accordance with the provisions of the Contract.
"Specification" means the specification of the works included in the Contract and any modification thereof or addition thereto made or submitted by the Contractor and approved by the Project Manager.
"Drawings" means the drawings, calculations and technical information or a like nature provided by the Project Manager to Contractor under the Contract and all drawings, calculations, samples, patterns, models, operation and maintenance manuals and other technical information of a like nature submitted by the Contractor and approved by the Project Manager.
"Bills of Quantities" means the priced and completed Bills of Quantities forming part of the Tender.
"Approved" or "Approval" shall mean as approved by the Project Manager.
"Directed" shall mean directed by the Project Manager at his absolute discretion.
"Selected" shall mean as selected and approved by the Project Manager at his absolute discretion.
"Allow" Wherever this word occurs, the cost of the item is at the risk of the Contractor.
Notices
For purposes of this Contract, Notices shall be in writing and shall be delivered by hand or facsimile message against a written confirmation of receipt by registered letter or by e-mail subsequently confirmed by a letter at the following address: -
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
A | Access to site and temporary roads
Means of access to the Site shall be agreed with the Project Manager prior to the commencement of the Works and the Contractor must allow for building any temporary access roads for the transport of materials, plant and workmen as may be required for the complete execution of the Works including the provision of temporary culverts, crossings, bridges or any other means of gaining access.
Upon the completion of the Works, the Contractor shall remove such temporary roads, culverts, bridges, etc., and make good and reinstate all Works and services disturbed to the satisfaction of the Project Manager.
B | Area to be occupied by the Contractor
The area of the Site which may be occupied by the Contractor for use as storage and for the purpose of erecting workshops, etc., shall be defined on the Site by the Project Manager.
C | Setting out
| The Contractor shall set out the Works in accordance with the dimension and levels shown on the Drawings and shall be responsible for the correctness of all dimensions and levels so set out by him and will be required to amend all errors arising from inaccurate setting out at his own cost and expense. In the event of any error or discrepancy in the dimensions or levels marked on the Drawings being discovered, such errors or discrepancies shall be reported by the Contractor to the Project Manager for his immediate attention. |  |  |  | N/A
No Work shall be commenced by the Contractor until he has received written instruction from the Project Manager to adjust such discrepancies which may be proved. Upon receipt of such instructions, the Contractor shall thereupon be responsible for accurate setting out of the Works, giving effect to the adjustments necessary to comply with such instructions, and no claim for extra expense or relief based on any discrepancy or error in the dimensions or levels shown on the Drawings may be made thereafter.
Before any Work is commenced by the Sub-Contractors or Specialised Firms, dimensions must be checked on the Site and / or buildings and agreed with the Contractor, irrespective of the comparative dimensions shown on the Drawings. The Contractor shall be responsible for the accuracy of such dimensions.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
A | Existing services
Prior to the commencement of any Work, the Contractor is to ascertain from the relevant Authorities the exact position, depth and levels of all existing electric cables, water pipes or other services in the area and he shall make whatever provisions may be required by the Authorities concerned for the support and protection of such services. Any damage or disturbance caused to any service shall be reported immediately to the Project Manager and the relevant Authority and shall be made good to their satisfaction at the Contractors expense.
B | Transport to and from the site
The Contractor shall include in his prices for the transport of materials, workmen, etc., to and from the Site of the proposed Works, at such hours and such routes as are permitted by the Authorities
C | Public and private roads, pavements
| The Contractor will be required to make good, at his own expense, any damage he may cause to the present road surfaces and pavements during the period of the Works. In particular all the existing lawns, gardens, stormwater channels, hedges, fences etc., which may be destroyed or damaged during the progress of the Works are to be made good by the Contractor to the approval of the Project Manager. |  |  |  | N/A
D | Security of the works
The Contractor shall be entirely responsible for the security of all the Works, stores, materials, plant, personnel, etc., both of his own and Sub-Contractors’, and shall provide all necessary watching, lighting and other precautions as necessary as to ensure the security and the protection of the public.
E | Water for the works
The Contractor shall allow for providing all temporary water supplies required for the works, including Sub-Contract Works, together with all necessary storage tanks and distribution systems for the same and must allow for bearing all expenses incurred and paying for all water consumed without charge to any Sub-Contractor. Expenses in connection with Nominated Sub-Contractors should be allowed for in the attendance items under the relevant P.C. Sums.
No guarantee or warranty is given as to the availability or suitability of water at the site.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
A | Electric light and power
The Contractor shall allow for providing all temporary lighting and power supplies required for the works, including Sub-Contract works, together with all necessary distribution systems for the same and must allow for bearing all expenses incurred and paying for all current consumed without charge to any Sub-Contractor. Expenses in connection with Nominated Sub-Contractors should be allowed for in the attendance items under the relevant P.C. Sums.
No guarantee or warranty is given as to the availability or suitability of power at the site.
B | Telephone |  |  |  | 0
| The Contractor shall arrange for, provide and maintain a telephone on the Site from the commencement to the completion of the Contract and shall pay all charges in connection therewith. |  |  |  | 0
C | Temporary Buildings for use by the Contractor |  |  |  | 0
The Contractor shall at his own cost, supply and erect all temporary buildings, sheds, mess rooms and stores with floors at least 150mm above ground level. No office, stores or other temporary buildings shall be erected on Site without first obtaining the consent from the Project Manager as to the type of temporary building to be supplied and the position in which they are to be erected.
D | Sheds for storage of Materials |  |  |  | 0
The Contractor shall provide and maintain on the Site, ample weatherproof sheds for storage of cement and other perishable materials and shall clear the same away on completion and make good any disturbed surfaces.
0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
| (ii) | The Contractor shall keep on the Site and maintain in good condition, one dumpy or quickset level and levelling staff and one 30 metres steel/linen tape for the use of the Project Manager. The Contractor shall also provide stationery for use by the Project Manager.
| (iii) | He shall provide, erect and maintain a lockup pedestal type water or bucket closet for the sole use of the Project Manager including making temporary connection to drain where applicable to the satisfaction of the Government and Medical officers of Health and shall provide the services of a cleaner and pay all conservancy charges and keep both office and closet clean and in sanitary condition from the commencement to the completion of the Works and dismantle and make good disturbed surfaces to the satisfaction of the Project Manager on completion of the Works. |  |  | 0
| (iv) | The office and the closet shall be completed before the Contractor is permitted to commence the Works. |  |  | 0
A | Office for the Resident Engineer or Clerk of works |  |  |  | 0
| The Contractor shall provide, erect and maintain where directed on site an approved weatherproof office for the sole use of the Resident Engineer or Clerk of Works. The office shall be not less than 12 square meters and shall be of construction similar to the office of the consultants. The office shall be furnished with 1 No. desk with lockable drawers complete with chairs, 1 No. A3 Size drawing chest with four drawers, 1 No. lockable metal filing cabinet. The office shall have enough space and chairs for the occupants and visitors. The office shall also have all power and lighting points as necessary. The contractor shall allow for regular cleaning of the office. The Contractor shall also provide stationery for use by the Resident Engineer or Clerk of Works |  |  |  | N/A
| The contractor shall also supply and maintain the following for the full contract duration, with and including all consumables and maintenance, to the Project Manager's Approval:- |  |  |  | 0
| (i) | 1No. fully connected Personal desktop computer with UPS and Licensed software (Microsoft XP professional latest version , Intel 7, 3.40GHz processor, 2GB of RAM expandable, 500GB HD Drive, CDRW/DVD Drive, Sound Card, 16MB VGA, 2 serial, 4 USB and 1 Parallel port) complete with keyboard, mouse, mouse pad, 10/100bps Ethernet Card, 19" LCD TFT Flat panel Screen and accessories as manufactured by Dell or equal approved. This is the minimum to be provided and the Contractor is expected to supply the latest version of both the equipment and software |  |  | N/A
| (ii) | 1No. Plain paper photocopier, desktop type with variable magnification that can take A3 full size copies, minimum capacity 10copies/minute, including 3kg toner and regular service by agent |  |  | N/A
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
| (iii) | 1No. A3 colour printer with scanner |  |  | N/A
| (v) | Full time internet connection
| (vi) | 1No. 10.1 mega pixel digital camera with minimum 30-bit colour depth with 8MB internal memory and 4GB memory card for picture storage as manufactured by Sony or equal approved |  |  | N/A
| (vii) | These equipments shall revert to the Employer after project completion
A | Signboard
| The contractor shall inspect reinforce, modify, rebrand and maintain exsting sign board during the whole period of building operations and remove at completion, an approved temporary signboard to the Architect’s standard design and giving the title of the Works and showing the names of the Employer, Project manager, Architect, Quantity Surveyor, Engineers and the Contractor with sufficient space to add the names of the Nominated Sub-Contractors and Suppliers. The lettering concerning the Project manager, Architect, Quantity Surveyor and the Engineer is not to be more than 75mm high. |  |  |  | N/A
B | Sanitation of the works |  |  |  | 0
Sanitation of the Works shall be arranged and maintained by the Contractor to the satisfaction of the Government and Local Authorities, Labour Department and the Architect.
C | Materials, tools, plant and scaffolding |  |  |  | 0
All materials and workmanship used in the execution of the Works shall be of the best quality and description unless otherwise described. Any materials for the Works condemned by the Project Manager shall immediately be removed from the Site at the Contractor’s expense
| The Contractor shall be responsible for the provision of all materials, scaffolding, tools, plants, transport and workmen required for the Works except insofar as may be stated otherwise herein and he shall allow for the provision of the foregoing except for such items specifically and only required for the use of the Nominated Sub-Contractors as described herein. |  |  |  | 0
| No timber used for scaffolding, formwork or similar purpose shall be used afterwards in the permanent Works. |  |  |  | 0
| All such plant, tools and scaffolding shall comply with all regulations whether general or local in force throughout the period of the Contract and shall be altered or adapted during the Contract as may be necessary to comply with any amendments in / or additions to such regulations. |  |  |  | 0
D | Supervision and Working hours |  |  |  | 0
| The said Works shall be executed under the direction and to the entire satisfaction of the Project Manager,who shall at all times during normal working hours have access to the Works and to the yards and the workshops of the |  |  |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
Contractor and Sub-Contractors or other places where work is being prepared for the Contract. The working hours shall be those generally worked by good employers in the Building and Civil Engineering Trade in Uganda. No work shall be carried out at night or on gazetted holidays unless the Project Manager shall so direct.
No work shall be covered up nor shall any concreting be carried out in the absence of the Clerk of Works without the prior approval of the Project Manager in writing.
A | Fair wages
The Contractor shall pay rates of wages and observe hours and conditions of labour not less favourable than the minimum rates of remuneration and minimum conditions of employment applicable in the district in which the works is carried out. The relevant notice must be posted up and kept posted upon the Site where it can conveniently be read by the employees concerned.
B | Labour
With the exception of the security watchmen, Workers may be housed on the Site only with the written approval from the employer and all related cost shall be covered by the contractor. In the event that this is not acceptable the Contractor shall allow for all transport and other charges in moving labour to and from the Site at such hours and such routes as are permitted by the Authorities. The Contractor is to provide, erect and maintain satisfactory housing for the watchmen and shall remove the same on completion of the Works.
C | Existing Property
The Contractor shall take every precaution to avoid damage to all existing property including roads, cables, drains and other services and he will be held responsible for all damage thereto, arising from the execution of this Contract, and he shall make good all such damages when directed at his own expense.
D | Protection of the works
The Contractor shall cover up and protect all finished works liable to damage including provision of temporary roofs, gutters, drains, etc., until the completion of the Works.
In the event of any damage occurring to the Works, materials, sewers, drains, gullies, paths or other Works on the Site temporarily in the possession of the Contractor, for the purpose of this Contract, either from the weather, want of proper protection, defects or insufficiency of the Works, the Contractor alone shall be responsible and shall without extra charges, make good all damages and pay all costs which may be levied.
E | Standard Measurements
All dimensions and measurements, etc., shown on the Drawings and given in this Bills of Quantities shall be metric.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
A | Bills of Quantities
The whole of the Works contained in these Bills of Quantities is measured on the basis of the Standard Method of Measurement of Building and Associated Civil Works for Eastern Africa, prepared by the Architectural Association of Kenya,Quantity Surveying Chapter Second Edition, Metric, printed in 2008.
The Method of Measurements herein used must be accepted and will be strictly adhered to for the adjustments of variations or for remeasurements as necessary. The whole of the quantities in these Bills, unless expressly otherwise stated, have been arrived at by taking the net measurements of various items of completed Works from the Drawings.
All the Works in this Contract that is liable to adjustment has been measured as “Provisional” in these Bills of Quantities, and no excavation or foundation work or other works so described shall be filled in or covered up until all measurement needed for the Adjustments of Variations under clause 37 of the Conditions of Contract have been made by the Project Manager.
The rates set out by the Contractor against each item shall, unless otherwise expressly provided to the contrary, or unless there is a separate item for extra labour, cutting or waste, be held to include for waste on materials, carriage and cartage, carrying in and return of empties, hoisting, setting, fitting and fixing in position, making good and all other labours and everything else necessary for the completion of each item and for establishment charges and profit.
Throughout the Bills of Quantities generally, no mention is made of heights for hoisting and all prices must include for hoisting and fixing at any level within the limit shown on the Drawings or included in the general description unless a specific level is stated.
The Contractor shall be deemed to have made allowance in his rates generally to cover items of Preliminaries expenses in connection with P.C Sums or other items if these have not been priced against the respective items.
These Bills of Quantities have been prepared in the elemental form and each element contains work in various trades. For the purpose of pricing, the Bills of Quantities may be taken apart and each trade collected together but when the Tender is submitted the Bills of Quantities must be re-assembled in the correct order.
B | Pricing Preliminaries
The Contractor shall price out individually and in detail all the items carrying a monetary value in this and any other section of the Bills for Quantities as required and under no circumstances will lump sums be allowed unless otherwise stated to the contrary in the tender documents. Any item not priced either in the Preliminaries Bill or elsewhere in the Bills of Quantities, will be deemed to have been allowed for in the prices inserted against other items in the Bills of Quantities.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
A | Prime Cost (P.C.) Sums
| (i) | The words “Prime Cost” (or the initials “P.C”) wherever appearing in these Bills of Quantities, shall mean net cost exclusive of any trade, cash or other discounts whatsoever but inclusive of the cost of packing, carriage and delivery. Such costs shall be the sums due to the Sub-Contractor or suppliers after adjustment where applicable in respect of measurements or rates.
| (ii) | Any increases or decreases in these Prime Cost Sums resulting from the adjustments and properly paid by the Contractor, shall be added to or deducted from the Contract Sum in the final account. In substantiation, the Contractor is required to produce to the Project Manager, all quotations, invoices and receipted accounts as shall be necessary to show the details of the sums actually paid.
| (iii) | Any sums added by the Contractor in these Bills of Quantities in respect of profit upon any Prime Cost Sums will be deducted in the final settlement of accounts and a sum will be added, the amount of which will bear the same proportion to the sum added as the net amount properly expended bears to the original P.C.Sum.
B | Samples
The Contractor shall furnish at the earliest possible opportunity before work commences at his own cost, any samples of materials of workmanship that may be called for by the Project Manager for his approval or rejection and any further samples in the case of rejection until such samples are approved by the Project Manager and such samples when approved shall be the minimum standard for the work to which they apply.
C | The Contractor shall also provide Samples of finished work (mock-ups) which shall be deemed to include: -
(i) Making the samples with material identical to those to be used in the Works.
(ii) Making samples under the same conditions as those likely to exist during the construction of the Works.
(iii) Maintaining and protecting approved samples
(iv) Remove the samples when no longer required by the Project Manager.
D | Proprietary Articles
Where proprietary articles are specified herein, the Contractor may propose the use of materials of equal quality but from other manufacturers with the approval of the Project Manager, but the decision of the Project Manager will be final.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
A | Protection
The Contractor shall cover up and protect from damage, including damage from inclement weather, all finished work and unfixed materials including that of the Sub-Contractor, etc., to the satisfaction of the Project Manager until the completion of the Contract and make good any damage which occurs. The Contractor shall carefully preserve all trees or bushes on or near the site.
B | Removal of plant, Rubbish, etc
The Contractor shall, upon completion of the Works, remove and clear away all temporary buildings, plant, rubbish and unused material, and shall leave the whole of the Site of the Works in a clean and tidy state to the satisfaction of the Project Manager. He shall also remove all rubbish and dirt from the Site at weekly intervals or as directed by the Project Manager.
Particular care shall be taken in leaving windows clean and removal of all paint and cement stains therefrom.
C | Prevention of Nuisance
The Works and such sections of the Site necessary therefore shall be under the entire care and control of the Contractor during the whole period of the Contract and he shall take all possible precautions to prevent any nuisance, inconvenience or injury to the holders or occupiers of the existing or surrounding properties and to the public generally, and shall at all times keep all the paths and roads affected by the works in a safe and clear state and shall use proper precautions to ensure the safety of all wheeled traffic and pedestrians.
D | Visitors to the site
The Contractor is required to control all visitors to the Site and to keep out unauthorised visitors and to provide a visitors book and ensure that all the authorised visitors sign therein.
E | Testing
i) General
Allow for expenses in connection with the testing of materials and existing structual integrity as required by the Project Manager including the supply and preparation of materials to be tested, the cost of materials and their packing and conveyance to the nearest approved testing laboratory. The following structural integrity test may/shall be required; Ferroscans, rebound hammertest, core assessement, foundation depth; as may be required and instructed by project manager
ii) Concrete tests
Allow for making all necessary concrete test cubes and testing at an approved laboratory. One copy of the test cube report shall be forwarded direct to the Project Manager by the Laboratory officials.
An accurate record of all test cubes taken and crushed must be kept on site and the Contractor will only be reimbursed for successful tests upon the production of Laboratory Certificates.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES
A | Programme and progress
The Contractor's attention is drawn to clause 27 (Program) of the Conditions of Contract.
B | Site progress photographs
The Contractor shall take and develop (in both digital and still form) site progress photographs every two weeks.
Adequate copies shall be made for distribution to the client (2 No.) and the Consultants (1 No.)
D | Temporary Hoardings, Fencing and the like
The Contractor shall be entirely responsible for all temporary hoarding and fencing which shall be required by either the Project Manager or the Local Authority. The Contractor should ascertain the extent of such temporary hoardings and fencing and include the costs in his bid.
E | Occupational Health and Safety, HIV/AIDS and Gender
The Contract shall provide a qualified safety officer to deal with OHS, HIV/AIDS and Gender Management and provide all neccesary facilities including transport. HIV/AIDS and STD prevention and counselling shall include information, education and counselling cmapaigns including regular distribution of condoms. The Contractor shall provide, maintain and operate a HIV/AIDS and STD clinic or make alternative arrangements with an existing facility to the approval of the Project Manager. The Contractor shall also carry out Gender sensitisation and awareness raising meetings and workshops and provide gender senstive monitoring and reporting
F | Compliance with NEMA Regulations and the Enviroment Impact Assessment Report Recommendations
The Contractor shall comply with all the regulations set out by the National Enviromental Management Authority (NEMA). The contractor should familiarize himself with the Recommendations of the Enviromental Impact Assesment and comply with them during execution of the work.
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
PRELIMINARIES

## SUMMARY ALERE
BOQ PROPOSED MINOR REPAIR OF SOLAR WORKS IN ALERE SS IN ADJUMANI DISTRICT
MAIN SUMMARY
BILL NO. | DESCRIPTION | PAGE NO. | AMOUNT IN BOQS (Euro €)
Main works
3 | ALERE SOLAR WORKS |  | 0
| SUB-TOTAL (EUR) |  | 0
ADD: VAT
| TOTAL AMOUNT |  | 0

## ALERE SOLAR WORKS
Solar system Installation at Alere ICT Block : The school is off-grid
Item | Description | Unit | Qty | Rate (EUR) | Amount (EUR)
A | Solar system. All DC cables to be UV resistant.
A.1 | 580W solar panel | Pcs | 36 |  | 0
A.2 | PV Solar cable 4mm² with the MC4-male and female connectors properly crimped to interconnect the panels | LM | 100 |  | 0
A.3 | PV Solar cable 6mm² with the MC4-male and female connectors properly crimped to collect the panel circuits up to the combiner box | LM | 30 |  | 0
A.4 | PV cable 10mm² for collecting the panel circuits from the PV combiner box to the hybrid inverter | LM | 20 |  | 0
A.5 | HDPE conduit 50mm for the 10mm² cable connecting between the panel structure and the hybrid inverter including trench and back filling | LM | 20 |  | 0
A.6 | Combiner box 300x300x120mm for collecting battery and PV circuits | Pcs | 1 |  | 0
A.7 | 6mm² cable from the combiner box to hybrid inverter | LM | 10 |  | 0
A.8 | Supply and install Surge Protection Device (type 2) for both AC and DC ciruits | Pcs | 2 |  | 0
A.9 | Supply and install a hybrid inverter with in-built MPPT controller of AC output power of 16kVA and PV input power of 21kW or equal approved combination of a hybrid inverter and additional standalone MPPT controller capable of PV input power of 21kW. See technical specifications attached as annex the inverter must conform to. | Pcs | 1 |  | 0
A.10 | Li-ion battery: 51.2V, 200Ah, lifetime of 6000 cycles at 80% DoD at 25°C. Such as Eastman ES51.2-200LP or equal approved | Pcs | 6 |  | 0
A.11 | 6mm² cable for interconnecting batteries | LM | 15 |  | 0
A.12 | Battery cable of 10mm² to collect the battery bank to the combiner box and to the inverter | LM | 10 |  | 0
A.13 | DC circuit breaker for battery system | Pcs | 2 |  | 0
A.14 | 60A AC circuit breaker with adjustable thermal setting for the inverter output | Pcs | 1 |  | 0
A.15 | Lockable steel battery cabinet of dimensions 2.0mx1.0mx1.5m to store 7 batteries, covered with 1.2 mm mild steel plates on all side with air vents and lockable door at the front. | Item | 1 |  | 0
A.16 | PVC Trunking of 50x75mm, with removable cover to conceal all surface run cables from inverter to batteries and from panels | LM | 20 |  | 0
A.17 | 16mm² load cable from the inverter to the distribution board | LM | 20 |  | 0
A.18 | 6way Distribution Board | Pcs | 1 |  | 0
A.19 | Installation assorted accessories including junction boxes, strip connectors 60A, clips, insulating tape, cable lugs, screws, nuts, rubber covers, and copper bar strips, breaker boxes, etc. | Item | 1 |  | 0
A.20 | Modular single-phase energy meter Victron/Schneider or equal approved | Pcs | 0 |  | 0
B | Solar panel support structure The solar panels will be mounted on a standalone structure complete with all necessary brackets, anti-theft locks, sealing strips between panels, and accessories. The structure shall be fabricated using hollow steel sections of minimum 100mmx50mmx6mm for the vertical stands and 50mmx25mmx6mm for the top rails and horizontal members and the panels shall be securely fixed onto the support frame by riveting. All steel components shall be primed and painted or otherwise treated to resist rust and corrosion. The structure shall include column footings constructed with C35 concrete, sized appropriately for structural stability.
B.1 | Steel solar panel structure | kg | 1000 |  | 0
| Sub_Total |  |  |  | 0
C | Protective Earthing All materials to be supplied and installed compliant with the IEC 62305 and NFC 21-201 standards to obtain <10 Ohms earth resistance. All termination points to be properly done.
C.1 | Supply and install 600mmx600mx6mm earthing mat at a depth of at least 0.5m | Pcs | 1 |  | 0
C.2 | Precast Inspection chamber of 300mmx300mm complete with cover made of grade 25 concrete | m3 | 0.05 |  | 0
C.3 | Test clamp complete as by FURSE or HEX or equal. | Pcs | 1 |  | 0
C.4 | Excavate pit 1000 x 1000 x 1000 mm (L x W x D) and place course salt mixed with charcoal dust and soil in pit and compact and the earthing mat into this pit, connect and place precast manhole 300 x 300 complete with cover marked with earth symbol. | Pcs | 1 |  | 0
C.5 | 16mm2 PVC insulated copper wire-green/yellow complete with all accessories for general body earthing and equipotential bonding | LM | 30 |  | 0
C.6 | Allow for installation accessories such as connectors | Item | 1 |  | 0
C.7 | 50mm diameter PVC pipe well clipped to the external walls to conceal the conductors | LM | 20 |  | 0
| Sub_Total |  |  |  | 0
D | Visual information & knowledge management The following items will be supplied and/installed for the purpose of Maintenance and Operations of the installed systems
D.1 | Operational manual; Comprehensive Operation and Maintenance manual for the installed system, written in English and graphically illustrated for unambiguous interpretation and understanding by Operation and Maintenance staff. Special attention shall be drawn to fault finding and remedial action. The manual shall include a system wiring diagram, a list of spare parts and the names of the accredited suppliers/agents of these spare parts. The manual shall also include the manufacturer's name, model number, service manuals, parts list and brief descriptions of all equipment and their basic operating features i.e. routine maintenance procedures, possible breakdowns and repairs, recommended spare parts, troubleshooting guide, equipment layout and simplified wiring and control diagrams of the system as installed. | pcs | 1 |  | 0
D.2 | Component signage; each component of the installed systems should be clearly labelled onto sticker paper or equal/better approved material and securely mounted directly adjacent to the component. The lettering shall be high contrast and no less than 50mm and no more than 75mm in size. Sites where only specific components are being replaced will be treated similarly to sites where full installations will be done; i.e. labels will also be installed against all existing components of systems where the contractor only replaces certain parts. | Ls | 1 |  | 0
D.3 | System chart/layout; an A1 size chart showing the entire system with its parts and wiring, labelled in English, securely mounted at a location readily accessible and easily understood by Operation and Maintenance staff. The lettering and drawings will be high contrast for good visibility. | pcs | 1 |  | 0
D.4 | Error/warning chart; an A1 size chart illustrating common warning signs and error messages, and their meanings, labelled in English, securely mounted at a location readily accessible and easily understood by Operation and Maintenance staff. The lettering and drawings will be high contrast for good visibility. | pcs | 1 |  | 0
0
SUMMARY FOR SOLAR INSTALLATION
| Solar system installation |  |  |  | 0
| Protective Earthing |  |  |  | 0
| Visual information & knowledge management |  |  |  | 0
| Total carried to summary |  |  |  | 0
Stand alone solar Installation at Alere SS for security lighting
A | 100 W All-in-One Solar Security Light 100 W All-in-One Solar Security Light, complete with 560 Wh Li-ion battery, 105 W PV panel, MPPT charge controller, dusk-to-dawn photocell control, mounted on a 7 m hot-dip galvanized steel pole, including base plate, 4 No. M16 anchor bolts, and C25 concrete footing 600×600×1000 mm | No | 5 |  | 0
Operations and Maintenance Manuals
C | Comprehensive Operation and Maintenance manuals for the stand alone solar streets light, written in English and graphically illustrated for unambiguous interpretation and understanding by Operation and Maintenance staff. Special attention shall be drawn to fault finding and remedial action. The manuals shall include a system wiring diagram, a list of spare parts and the names of the accredited suppliers/agents of these spare parts. The manuals shall also include the manufacturer's name, model number, service manuals, parts list and brief descriptions of all equipment and their basic operating features i.e. routine maintenance procedures, possible breakdowns and repairs, recommended spare parts, troubleshooting guide, equipment layout and simplified wiring and control diagrams of the system as installed. | item | 1 |  | 0
| Total carried to summary |  |  |  | 0
Summary
| Solar system ICT |  |  |  | 0
| Stand alone solar security lighting |  |  |  | 0
| GRAND SUMMARY TO OVERAL SUMMARY |  |  |  | 0

## SUMMARY BIYAYA
BOQ PROPOSED MINOR REPAIR OF SOLAR WORKS IN BIYAYA SS IN ADJUMANI DISTRICT
MAIN SUMMARY
BILL NO. | DESCRIPTION | PAGE NO. | AMOUNT IN BOQS (Euro €)
Main works
1 | BIYAYA SOLAR WORKS |  | 0
| SUB-TOTAL (EUR) |  | 0
ADD: VAT
| TOTAL AMOUNT |  | 0

## BIYAYA SOLAR WORKS
Solar system: The school is on-grid
Item | Description | Unit | Qty | Rate (EUR) | Amount (EUR)
A | Solar system. All DC cables to be UV resistant.
A.1 | 580W solar panel | Pcs | 32 |  | 0
A.2 | PV Solar cable 4mm² with the MC4-male and female connectors properly crimped to interconnect the panels | LM | 100 |  | 0
A.3 | PV Solar cable 6mm² with the MC4-male and female connectors properly crimped to collect the panel circuits up to the combiner box | LM | 30 |  | 0
A.4 | PV cable 10mm² for collecting the panel circuits from the PV combiner box to the hybrid inverter | LM | 20 |  | 0
A.5 | HDPE conduit 50mm for the 10mm² cable connecting between the panel structure and the hybrid inverter including trench and back filling | LM | 20 |  | 0
A.6 | Combiner box 300x300x120mm for collecting battery and PV circuits | Pcs | 1 |  | 0
A.7 | 6mm² cable from the combiner box to hybrid inverter | LM | 10 |  | 0
A.8 | Supply and install Surge Protection Device (type 2) for both AC and DC ciruits | Pcs | 2 |  | 0
A.9 | Supply and install a hybrid inverter with in-built MPPT controller of AC output power of 16kVA and PV input power of 21kW or equal approved combination of a hybrid inverter and additional standalone MPPT controller capable of PV input power of 21kW. See technical specifications attached as annex the inverter must conform to. | Pcs | 1 |  | 0
A.10 | Li-ion battery: 51.2V, 200Ah, lifetime of 6000 cycles at 80% DoD at 25°C. Such as Eastman ES51.2-200LP or equal approved | Pcs | 6 |  | 0
A.11 | 6mm² cable for interconnecting batteries | LM | 15 |  | 0
A.12 | Battery cable of 10mm² to collect the battery bank to the combiner box and to the inverter | LM | 10 |  | 0
A.13 | DC circuit breaker for battery system | Pcs | 2 |  | 0
A.14 | 60A AC circuit breaker with adjustable thermal setting for the inverter output | Pcs | 1 |  | 0
A.15 | Lockable steel battery cabinet of dimensions 2.0mx1.0mx1.5m to store 7 batteries, covered with 1.2 mm mild steel plates on all side with air vents and lockable door at the front. | Item | 1 |  | 0
A.16 | PVC Trunking of 50x75mm, with removable cover to conceal all surface run cables from inverter to batteries and from panels | LM | 20 |  | 0
A.17 | 16mm² load cable from the inverter to the distribution board | LM | 20 |  | 0
A.18 | 6way Distribution Board | Pcs | 1 |  | 0
A.19 | Installation assorted accessories including junction boxes, strip connectors 60A, clips, insulating tape, cable lugs, screws, nuts, rubber covers, and copper bar strips, breaker boxes, etc. | Item | 1 |  | 0
A.20 | Modular single-phase energy meter Victron/Schneider or equal approved | Pcs | 0 |  | 0
B | Solar panel support structure The solar panels will be mounted on a standalone structure complete with all necessary brackets, anti-theft locks, sealing strips between panels, and accessories. The structure shall be fabricated using hollow steel sections of minimum 100mmx50mmx6mm for the vertical stands and 50mmx25mmx6mm for the top rails and horizontal members and the panels shall be securely fixed onto the support frame by riveting. All steel components shall be primed and painted or otherwise treated to resist rust and corrosion. The structure shall include column footings constructed with C35 concrete, sized appropriately for structural stability.
B.1 | Steel solar panel structure | kg | 1000 |  | 0
| Sub_Total |  |  |  | 0
C | Protective Earthing All materials to be supplied and installed compliant with the IEC 62305 and NFC 21-201 standards to obtain <10 Ohms earth resistance. All termination points to be properly done.
C.1 | Supply and install 600mmx600mx6mm earthing mat at a depth of at least 0.5m | Pcs | 1 |  | 0
C.2 | Precast Inspection chamber of 300mmx300mm complete with cover made of grade 25 concrete | m3 | 0.05 |  | 0
C.3 | Test clamp complete as by FURSE or HEX or equal. | Pcs | 1 |  | 0
C.4 | Excavate pit 1000 x 1000 x 500 mm (L x W x D) and place course salt mixed with charcoal dust and soil in pit and compact and the earthing mat into this pit, connect and place precast manhole 300 x 300 complete with cover marked with earth symbol. | Pcs | 1 |  | 0
C.5 | 16mm2 PVC insulated copper wire-green/yellow complete with all accessories for general body earthing and equipotential bonding | LM | 30 |  | 0
C.6 | Allow for installation accessories such as connectors | Item | 1 |  | 0
C.7 | 50mm diameter PVC pipe well clipped to the external walls to conceal the conductors | LM | 20 |  | 0
| Sub_Total |  |  |  | 0
D | Visual information & knowledge management The following items will be supplied and/installed for the purpose of Maintenance and Operations of the installed systems
D.1 | Operational manual; Comprehensive Operation and Maintenance manual for the installed system, written in English and graphically illustrated for unambiguous interpretation and understanding by Operation and Maintenance staff. Special attention shall be drawn to fault finding and remedial action. The manual shall include a system wiring diagram, a list of spare parts and the names of the accredited suppliers/agents of these spare parts. The manual shall also include the manufacturer's name, model number, service manuals, parts list and brief descriptions of all equipment and their basic operating features i.e. routine maintenance procedures, possible breakdowns and repairs, recommended spare parts, troubleshooting guide, equipment layout and simplified wiring and control diagrams of the system as installed. | pcs | 1 |  | 0
D.2 | Component signage; each component of the installed systems should be clearly labelled onto sticker paper or equal/better approved material and securely mounted directly adjacent to the component. The lettering shall be high contrast and no less than 50mm and no more than 75mm in size. Sites where only specific components are being replaced will be treated similarly to sites where full installations will be done; i.e. labels will also be installed against all existing components of systems where the contractor only replaces certain parts. | Ls | 1 |  | 0
D.3 | System chart/layout; an A1 size chart showing the entire system with its parts and wiring, labelled in English, securely mounted at a location readily accessible and easily understood by Operation and Maintenance staff. The lettering and drawings will be high contrast for good visibility. | pcs | 1 |  | 0
D.4 | Error/warning chart; an A1 size chart illustrating common warning signs and error messages, and their meanings, labelled in English, securely mounted at a location readily accessible and easily understood by Operation and Maintenance staff. The lettering and drawings will be high contrast for good visibility. | pcs | 1 |  | 0
0
COLLECTION
| Solar system installation |  |  |  | 0
| Protective Earthing |  |  |  | 0
| Visual information & knowledge management |  |  |  | 0
| Total carried to summary |  |  |  | 0
Stand alone solar security lighting
A | 100 W All-in-One Solar Security Light 100 W All-in-One Solar Security Light, complete with 560 Wh Li-ion battery, 105 W PV panel, MPPT charge controller, dusk-to-dawn photocell control, mounted on a 7 m hot-dip galvanized steel pole, including base plate, 4 No. M16 anchor bolts, and C25 concrete footing 600×600×1000 mm | No | 5 |  | 0
Operations and Maintenance Manuals
C | Comprehensive Operation and Maintenance manuals for the stand alone solar streets light, written in English and graphically illustrated for unambiguous interpretation and understanding by Operation and Maintenance staff. Special attention shall be drawn to fault finding and remedial action. The manuals shall include a system wiring diagram, a list of spare parts and the names of the accredited suppliers/agents of these spare parts. The manuals shall also include the manufacturer's name, model number, service manuals, parts list and brief descriptions of all equipment and their basic operating features i.e. routine maintenance procedures, possible breakdowns and repairs, recommended spare parts, troubleshooting guide, equipment layout and simplified wiring and control diagrams of the system as installed. | item | 1 |  | 0
| Total carried to summary |  |  |  | 0
Summary
| Solar system ICT |  |  |  | 0
| Stand alone solar security lighting |  |  |  | 0
| GRAND SUMMARY TO OVERAL SUMMARY |  |  |  | 0

## SUMMARY OFUA SS
BOQ PROPOSED MINOR REPAIR OF SOLAR WORKS IN OFUA SS IN ADJUMANI DISTRICT
MAIN SUMMARY
BILL NO. | DESCRIPTION | PAGE NO. | AMOUNT IN BOQS (Euro €)
Main works
1 | OFUA SOLAR WORKS |  | 0
| SUB-TOTAL (EUR) |  | 0
ADD: VAT
| TOTAL AMOUNT |  | 0

## OFUA SOLAR WORKS
Solar system: The school is off grid
Item | Description | Unit | Qty | Rate (EUR) | Amount (EUR)
A | Solar system. All DC cables to be UV resistant.
A.1 | 580W solar panel | Pcs | 36 |  | 0
A.2 | PV Solar cable 4mm² with the MC4-male and female connectors properly crimped to interconnect the panels | LM | 100 |  | 0
A.3 | PV Solar cable 6mm² with the MC4-male and female connectors properly crimped to collect the panel circuits up to the combiner box | LM | 30 |  | 0
A.4 | PV cable 10mm² for collecting the panel circuits from the PV combiner box to the hybrid inverter | LM | 20 |  | 0
A.5 | HDPE conduit 50mm for the 10mm² cable connecting between the panel structure and the hybrid inverter including trench and back filling | LM | 20 |  | 0
A.6 | Combiner box 300x300x120mm for collecting battery and PV circuits | Pcs | 1 |  | 0
A.7 | 6mm² cable from the combiner box to hybrid inverter | LM | 10 |  | 0
A.8 | Supply and install Surge Protection Device (type 2) for both AC and DC ciruits | Pcs | 2 |  | 0
A.9 | Supply and install a hybrid inverter with in-built MPPT controller of AC output power of 16kVA and PV input power of 21kW or equal approved combination of a hybrid inverter and additional standalone MPPT controller capable of PV input power of 21kW. See technical specifications attached as annex the inverter must conform to. | Pcs | 1 |  | 0
A.10 | Li-ion battery: 51.2V, 200Ah, lifetime of 6000 cycles at 80% DoD at 25°C. Such as Eastman ES51.2-200LP or equal approved | Pcs | 6 |  | 0
A.11 | 6mm² cable for interconnecting batteries | LM | 15 |  | 0
A.12 | Battery cable of 10mm² to collect the battery bank to the combiner box and to the inverter | LM | 10 |  | 0
A.13 | DC circuit breaker for battery system | Pcs | 2 |  | 0
A.14 | 60A AC circuit breaker with adjustable thermal setting for the inverter output | Pcs | 1 |  | 0
A.15 | Lockable steel battery cabinet of dimensions 2.0mx1.0mx1.5m to store 7 batteries, covered with 1.2 mm mild steel plates on all side with air vents and lockable door at the front. | Item | 1 |  | 0
A.16 | PVC Trunking of 50x75mm, with removable cover to conceal all surface run cables from inverter to batteries and from panels | LM | 20 |  | 0
A.17 | 16mm² load cable from the inverter to the distribution board | LM | 20 |  | 0
A.18 | 6way Distribution Board | Pcs | 1 |  | 0
A.19 | Installation assorted accessories including junction boxes, strip connectors 60A, clips, insulating tape, cable lugs, screws, nuts, rubber covers, and copper bar strips, breaker boxes, etc. | Item | 1 |  | 0
A.20 | Modular single-phase energy meter Victron/Schneider or equal approved | Pcs | 0 |  | 0
B | Solar panel support structure The solar panels will be mounted on a standalone structure complete with all necessary brackets, anti-theft locks, sealing strips between panels, and accessories. The structure shall be fabricated using hollow steel sections of minimum 100mmx50mmx6mm for the vertical stands and 50mmx25mmx6mm for the top rails and horizontal members and the panels shall be securely fixed onto the support frame by riveting. All steel components shall be primed and painted or otherwise treated to resist rust and corrosion. The structure shall include column footings constructed with C35 concrete, sized appropriately for structural stability.
B.1 | Steel solar panel structure | kg | 1000 |  | 0
| Sub_Total |  |  |  | 0
C | Protective Earthing All materials to be supplied and installed compliant with the IEC 62305 and NFC 21-201 standards to obtain <10 Ohms earth resistance. All termination points to be properly done.
C.1 | Supply and install 600mmx600mx6mm earthing mat at a depth of at least 0.5m | Pcs | 1 |  | 0
C.2 | Precast Inspection chamber of 300mmx300mm complete with cover made of grade 25 concrete | m3 | 0.05 |  | 0
C.3 | Test clamp complete as by FURSE or HEX or equal. | Pcs | 1 |  | 0
C.4 | Excavate pit 1000 x 1000 x 1000 mm (L x W x D) and place course salt mixed with charcoal dust and soil in pit and compact and the earthing mat into this pit, connect and place precast manhole 300 x 300 complete with cover marked with earth symbol. | Pcs | 1 |  | 0
C.5 | 16mm2 PVC insulated copper wire-green/yellow complete with all accessories for general body earthing and equipotential bonding | LM | 30 |  | 0
C.6 | Allow for installation accessories such as connectors | Item | 1 |  | 0
C.7 | 50mm diameter PVC pipe well clipped to the external walls to conceal the conductors | LM | 20 |  | 0
| Sub_Total |  |  |  | 0
D | Visual information & knowledge management The following items will be supplied and/installed for the purpose of Maintenance and Operations of the installed systems
D.1 | Operational manual; Comprehensive Operation and Maintenance manual for the installed system, written in English and graphically illustrated for unambiguous interpretation and understanding by Operation and Maintenance staff. Special attention shall be drawn to fault finding and remedial action. The manual shall include a system wiring diagram, a list of spare parts and the names of the accredited suppliers/agents of these spare parts. The manual shall also include the manufacturer's name, model number, service manuals, parts list and brief descriptions of all equipment and their basic operating features i.e. routine maintenance procedures, possible breakdowns and repairs, recommended spare parts, troubleshooting guide, equipment layout and simplified wiring and control diagrams of the system as installed. | pcs | 1 |  | 0
D.2 | Component signage; each component of the installed systems should be clearly labelled onto sticker paper or equal/better approved material and securely mounted directly adjacent to the component. The lettering shall be high contrast and no less than 50mm and no more than 75mm in size. Sites where only specific components are being replaced will be treated similarly to sites where full installations will be done; i.e. labels will also be installed against all existing components of systems where the contractor only replaces certain parts. | Ls | 1 |  | 0
D.3 | System chart/layout; an A1 size chart showing the entire system with its parts and wiring, labelled in English, securely mounted at a location readily accessible and easily understood by Operation and Maintenance staff. The lettering and drawings will be high contrast for good visibility. | pcs | 1 |  | 0
D.4 | Error/warning chart; an A1 size chart illustrating common warning signs and error messages, and their meanings, labelled in English, securely mounted at a location readily accessible and easily understood by Operation and Maintenance staff. The lettering and drawings will be high contrast for good visibility. | pcs | 1 |  | 0
0
COLLECTION
| Solar system installation |  |  |  | 0
| Protective Earthing |  |  |  | 0
| Visual information & knowledge management |  |  |  | 0
| Total carried to summary |  |  |  | 0
Stand alone solar security lighting
A | 100 W All-in-One Solar Security Light 100 W All-in-One Solar Security Light, complete with 560 Wh Li-ion battery, 105 W PV panel, MPPT charge controller, dusk-to-dawn photocell control, mounted on a 7 m hot-dip galvanized steel pole, including base plate, 4 No. M16 anchor bolts, and C25 concrete footing 600×600×1000 mm | No | 5 |  | 0
Operations and Maintenance Manuals
C | Comprehensive Operation and Maintenance manuals for the stand alone solar streets light, written in English and graphically illustrated for unambiguous interpretation and understanding by Operation and Maintenance staff. Special attention shall be drawn to fault finding and remedial action. The manuals shall include a system wiring diagram, a list of spare parts and the names of the accredited suppliers/agents of these spare parts. The manuals shall also include the manufacturer's name, model number, service manuals, parts list and brief descriptions of all equipment and their basic operating features i.e. routine maintenance procedures, possible breakdowns and repairs, recommended spare parts, troubleshooting guide, equipment layout and simplified wiring and control diagrams of the system as installed. | item | 1 |  | 0
| Total carried to summary |  |  |  | 0
Summary
| Solar system ICT |  |  |  | 0
| Stand alone solar security lighting |  |  |  | 0
| GRAND SUMMARY TO OVERAL SUMMARY |  |  |  | 0