## Lot 2. Industrial materials RV2
Lot 2. Supply of Industrial materials
Item | Description | Unit | Quantity | Unit Price (Euros) Exc. VAT | Amount (Euros) | Quantity per site, delivered to
[6 empty] | Kumgogo | Mt. Samba | Kumsenga | Kigina | Migezi | VETA Kasulu | Mati Mubondo | VETA Buhigwe | SIDO Kigoma
A. | General industrial materials
1 | barrel bolt 10 mm for door internal | Pcs | 50 |  | 0 | 10 | 10 | 10 | 10 | 10
2 | brass hinges -100mm | pairs | 40 |  | 0 | 8 | 8 | 8 | 8 | 8
3 | brass lock -100mm for external | pcs | 25 |  | 0 | 5 | 5 | 5 | 5 | 5
4 | 2inches screws for door hinges and barrel bolt | box | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
5 | Ordinary iron nails 3inches | Kg | 82 |  | 0 | 10 | 10 | 10 | 10 | 10 |  | 2 |  | 30
6 | Ordinary iron nails 4inches | Kg | 75 |  | 0 | 10 | 10 | 10 | 10 | 10 |  | 5 |  | 20
7 | Ordinary iron nails 5inches | Kg | 45 |  | 0 | 5 | 5 | 5 | 5 | 5 |  |  |  | 20
8 | Ordinary iron nails 2inches | Kg | 12 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 2
9 | Ordinary iron nails 1inch | Kg | 5 |  | 0 | [6 empty] | 1 |  | 4
10 | Roof nails 3inches with coloured cap same as roof colour | Kg | 26 |  | 0 | 5 | 5 | 5 | 5 | 5 |  | 1
11 | Rubber for roofing nails, Packet @ 500pcs | Packet | 2.5 |  | 0 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
12 | Cement 42.5N/mm2 bag 50 kg | Bags | 1725 |  | 0 | 225 | 225 | 225 | 225 | 225 |  | 130 |  | 470
13 | Lime bag 25 kg | Bags | 55 |  | 0 | 5 | 5 | 5 | 5 | 5 |  |  |  | 30
14 | 9mm thick gypsum plasterboard mositure resistant ceiling finishing fixed with gypsum screws | pcs | 32 |  | 0 | [8 empty] | 32
15 | Gypsum screws 2'' length | Boxes | 5 |  | 0 | [8 empty] | 5
16 | 2.5m length cornice: Gypsum moulded non ornamental cornices to be fixed to bricks | pc | 48 |  | 0 | [8 empty] | 48
17 | Gypsum powder 25kg | pc | 5 |  | 0 | [8 empty] | 5
18 | Marine board 4ft x 8ft; 12mm thick | pc | 2 |  | 0 | [8 empty] | 2
19 | Water proof cement for internal walls | packets | 50 |  | 0 | 10 | 10 | 10 | 10 | 10
20 | 28G IT5 Green resincoated sheet 3m long | no. | 85 |  | 0 | 17 | 17 | 17 | 17 | 17
22 | 28G resin coated, and light reflective Courugated Iron sheets of 10ft | Pcs | 76 |  | 0 | [8 empty] | 76
23 | 28G resin coated, and light reflective Courugated Iron roof ridge of 10ft | Pcs | 6 |  | 0 | [8 empty] | 6
24 | 2mm holes sized coffee mesh wire - for windows and opening on ventilation windows | Rolls | 1 |  | 0 | [8 empty] | 1
25 | High yield ribbed steel bar 12mm diameter (fy 500Mpa) 12 m long | bar | 235 |  | 0 | 35 | 35 | 35 | 35 | 35 |  |  |  | 60
26 | High yield ribbed steel bar 8mm diameter (fy 500Mpa) 12m long | bar | 133 |  | 0 | 15 | 15 | 15 | 15 | 15 |  |  |  | 58
27 | Binding wires 25 kg | kg | 40 |  | 0 | 5 | 5 | 5 | 5 | 5 |  |  |  | 15
28 | Shovels/spades with steel handles | pcs | 10 |  | 0 | 2 | 2 | 2 | 2 | 2
29 | Hoes with wooden handel | pcs | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
30 | Pick axes with wooden handle (sururu) | pcs | 8 |  | 0 | 1 | 1 | 1 | 1 | 1 |  |  |  | 3
31 | Mortar mixing troughs / mixing pans (metal karai) | pcs | 10 |  | 0 | 2 | 2 | 2 | 2 | 2
32 | Empty plastic buckets from drained vegetable oil, 10litres | pcs | 60 |  | 0 | 10 | 10 | 10 | 10 | 10 |  |  |  | 10
33 | Plastic drums for water storage 250litres capacity | pcs | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
34 | 500 Gauge polythene damp proof membrane. Horizontal coverage 300mm wide. (100m) | roll | 4 |  | 0 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 |  |  |  | 1
35 | Bituminous hessian base damp proof course (DPC) to BS 743 type 5A of 120m wide, 30m long | roll | 7 |  | 0 | 1 | 1 | 1 | 1 | 1 |  |  |  | 2
36 | Ant termite solution | litres | 15 |  | 0 | 2 | 2 | 2 | 2 | 2 |  |  |  | 5
37 | Ant termite sprayer | Pcs | 2 |  | 0 | 1 | [7 empty] | 1
38 | Diamond mesh wire | m | 10 |  | 0 | [6 empty] | 10
B | Floor and wall tiles
39 | Non slipery floor Tiles 600x600mm, 8mm thick porcelin | Boxes | 45 |  | 0 | [8 empty] | 45
40 | Non slipery floor Tiles 400x400mm, 8mm thick porcelin for office and toilets. | Boxes | 150 |  | 0 | 21 | 21 | 21 | 21 | 21 |  | 45
41 | Ceramic wall tiles 250x400x6mm thick to wash room if any (optional) this materials they might be required or not depend on the final decision at site with patners | Boxes | 400 |  | 0 | 60 | 60 | 60 | 60 | 60 |  | 65 |  | 35
42 | Wall skirting 110mm high for corridor | Boxes | 15 |  | 0 | 3 | 3 | 3 | 3 | 3
43 | Tiles grout | Packet | 49 |  | 0 | 5 | 5 | 5 | 5 | 5 |  | 4 |  | 20
44 | Aluminium trips for tiles | pcs | 15 |  | 0 | [6 empty] | 15
C. | Painting and decoration
45 | Skimming wall putty bags 25 kg | bags | 108 |  | 0 | 17 | 17 | 17 | 17 | 17 |  | 5 | 3 | 15
46 | White cement, 40kg per bag | bags | 3 |  | 0 | [6 empty] | 3
47 | sanding paper no 150, 140/180 and 120 | m | 72 |  | 0 | 10 | 10 | 10 | 10 | 10 |  | 5 | 2 | 15
48 | Paint binder/primer 20 litre bucket | bucket | 9 |  | 0 | 1 | 1 | 1 | 1 | 1 |  | 1 |  | 3
49 | weather guard paint 20 litres bucket | bucket | 19 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 2 | 2 | 5
50 | silky paint 20 litres | bucket | 20 |  | 0 | 3 | 3 | 3 | 3 | 3 |  |  |  | 5
51 | Emmulison paint - white 20l | bucket | 7 |  | 0 | 1 | 1 | 1 | 1 | 1 |  | 2
52 | Oil paint black - 4 ltrs tin | tin | 2 |  | 0 | [6 empty] | 2
53 | Oil paint white - 4 ltrs tin | tin | 2 |  | 0 | [6 empty] | 2
54 | Bitumen paint - 4 ltrs tin | tin | 10 |  | 0 | 1 | 1 | 1 | 1 | 1 |  | 2 |  | 3
55 | Gloss paint Summmer Blue -4ltrs | tin | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
56 | Gloss paint black-4ltrs tin for fisher board | tin | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
57 | Red oxide, 4ltrs tin | tin | 1 |  | 0 | [6 empty] | 1
58 | Thinner solvent | litres | 29 |  | 0 | 5 | 5 | 5 | 5 | 5 |  | 2 | 2
59 | roller brush 10'' | pcs | 5 |  | 0 | [6 empty] | 2 |  | 3
60 | roller brush 6'' | pcs | 22 |  | 0 | 4 | 4 | 4 | 4 | 4 |  |  | 2
61 | brush 3'' | pcs | 16 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 2 | 1 | 3
62 | brush 2.5'' | pcs | 5 |  | 0 | [6 empty] | 2 |  | 3
63 | Musking tape - 1" | Pcs | 21 |  | 0 | 3 | 3 | 3 | 3 | 3 |  | 4 |  | 2
64 | Bucket for color mixing 20l | pcs | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 |  |  | 1
65 | Clear Vanish, 4ltrs tin | tin | 15 |  | 0 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 8
D | Windows
66 | Alluminium window 600 x 600 - profile thickness 60mm + glass 4 mm thick at cubicles | pcs | 25 |  | 0 | 5 | 5 | 5 | 5 | 5
67 | Aluminium window 600 x 1500 - profile thickness 60mm + glass 4 mm at urinal | pcs | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
Powder coated Aluminium window frame including 80mm profile, 6mm one way grazing, beads and rubber gaskets for glazing,panel for mosquito, assembling; fixing to grounds including ironmongery; sealing all round with approved non-hardening mastic:
68 | overall size 1800x 2000mm high, (ref: "W1") | no. | 7 |  | 0 | [8 empty] | 7
69 | overall size 1800 x 1500mm high, (ref: "W2") | no. | 2 |  | 0 | [8 empty] | 2
70 | overall size 800 x 900mm high, (ref: "W3") | no. | 2 |  | 0 | [8 empty] | 2
71 | Supply and install aluminium windows 1.3m wide by 1.3m high with sliding 1m bottom sliding sash and top 0.3m sliding sash and their insects mesh wire. | Nos | 0 |  | 0
72 | Supply, fabricate, and install aluminium partition walls comprising 100 mm thick aluminium framing, 8 mm glass panels, and one complete 900 mm wide by 2000mm long aluminium sliding door, including mortice lockset, hinges, screws, rubber glazing gaskets,door closer, all necessary ironmongery, fixing accessories, sealing, and full installation, all to the Engineer’s approval | m | 6 |  | 0 | [6 empty] | 6
Ventilation grills window use 1"x1.5" x2.5mm thick metal bars and 1"x1.5" x1.5mm thick hallow section steel bar. full welded and apply redoxide primer and three coat of oil based paint. colour to be selected during implentation
73 | overall size 1800x 2000mm high, (ref: "W1") | no. | 7 |  | 0 | [8 empty] | 7
74 | overall size 1800 x 1500mm high, (ref: "W2") | no. | 2 |  | 0 | [8 empty] | 2
75 | overall size 800 x 900mm high, (ref: "W3") | no. | 2 |  | 0 | [8 empty] | 2
76 | Overall size 500 x 2000mm high | no. | 8 |  | 0 | [8 empty] | 8
Gutters syestem for rainwater harvest and tank connections
77 | 6'' PVC gutter class B (3m) | pcs | 3 |  | 0 | [8 empty] | 3
78 | 2.5'' PVC Down pipe | pcs | 2 |  | 0 | [8 empty] | 2
79 | 6" PVC End cap | pcs | 3 |  | 0 | [8 empty] | 3
80 | 6" PVC Union-Connector | Pcs | 3 |  | 0 | [8 empty] | 3
81 | 6" PVC Tee Connectors | Pcs | 2 |  | 0 | [8 empty] | 2
82 | 6" PVC Gutter Bracket | pcs | 50 |  | 0 | [8 empty] | 50
83 | 2.5" PVC Blacket for down pipe | Pcs | 6 |  | 0 | [8 empty] | 6
84 | 1" IPS Tank connector | Pcs | 1 |  | 0 | [8 empty] | 1
85 | 1" Bib tape (SANWA or similar) | pcs | 1 |  | 0 | [8 empty] | 1
86 | Water storage tank 5,000 litres, 100% leak proof constructed in multi-layer,and UV stabilized material to last years in the sun with Minimum 10 year warrantly including free replacement for manufacturing defects. Tank quality must be approved before delivery to site | pcs | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
87 | Ditto: water storage tank ; 10,000litres, quality as above | no. | 1 |  | 0 | [8 empty] | 1
88 | Tank connectors 1'' | PCS | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
89 | Supply IPS pipe 3/4'' class B | pcs | 20 |  | 0 | 4 | 4 | 4 | 4 | 4
E | Plumbing
90 | Disabled European type high level W.C vitrous china to B.S 3402 complete with cistern of 6litres flushing tank and other accessories complete with hand rails | pcs | 6 |  | 0 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1
91 | Asian type low level W.C vitrous china to B.S 3402 complete with cistern of 6litres flushing tank, and all and other accessories | pcs | 21 |  | 0 | 4 | 4 | 4 | 4 | 4 |  |  |  | 1
92 | Shurtuff (hand held bidet) 15mm diamter by 1m long flexible hose | No | 31 |  | 0 | 4 | 4 | 4 | 4 | 4 |  | 8 |  | 3
93 | Hand wash basin tempoe with single central taphole monoblock basin mixer, with pop up waste (standards BS 3402) Small size complete with seating foot, tap, gate valve 0,5'' size and Hand washing basin with seating foot, pillar tape, flexible pipe, angle valve and P-traps which is not flexible , supply a p-trap which is solid PVC pipe | pcs | 6 |  | 0 | [6 empty] | 4 |  | 2
94 | Urinal complete with pillar tapes, flexible pipe, and wall fixtures | Pcs | 2 |  | 0 | [6 empty] | 2
95 | Stainless steel kitchen sink with single bowl, single drainer, 38mm chrome plated strainer waste, chain and rubber plug with slotted tail;38mm plastic bottle trap with 75mm seal and fixed with chromium plated screws | No | 1 |  | 0 | [8 empty] | 1
96 | Mirror: 600x450x6mm thick plate glass mirror plugged and screwed with 4no. Chromium plated domex screws | No | 2 |  | 0 | [8 empty] | 2
97 | Bathroom accessories | No | 2 |  | 0 | [8 empty] | 2
98 | 15mm diameter flexible connectors to water closets | No | 3 |  | 0 | [8 empty] | 3
99 | 15mm diameter flexible connectors to hand wash basin | No | 3 |  | 0 | [8 empty] | 3
100 | 15mm diamter flexible connectors to kitchen sink | No | 1 |  | 0 | [8 empty] | 1
101 | Plug; 15mm diameter flexible | No | 5 |  | 0 | [8 empty] | 5
102 | Gs bib tap 1/2'' size | pcs | 55 |  | 0 | 8 | 8 | 8 | 8 | 8 |  | 15
103 | IPS connector 1/2'' | pcs | 112 |  | 0 | 20 | 20 | 20 | 20 | 20 |  | 12
104 | IPS Elbow 1/2'' | pcs | 190 |  | 0 | 30 | 30 | 30 | 30 | 30 |  | 40
105 | IPS Tee Connectors(1/2'') : To branch the water supply to toilets, sinks, and bidet sprayers. | pcs | 100 |  | 0 | 12 | 12 | 12 | 12 | 12 |  | 40
106 | Ips pipe 1/2'' | pcs | 48 |  | 0 | 7 | 7 | 7 | 7 | 7 |  | 13
107 | IPS Reducing bush 3/4''-1/2'' | pcs | 14 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 4
108 | IPS Male connector 3/4'' | pcs | 50 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 40
109 | IPS elbow 3/4'' | pcs | 3 |  | 0 | [8 empty] | 3
110 | IPS elbow 1/4'' | pcs | 30 |  | 0 | [8 empty] | 30
111 | IPS Tee 1/4'' | pcs | 2 |  | 0 | [8 empty] | 2
112 | IPS Tee 3/4'' | pcs | 16 |  | 0 | [8 empty] | 16
113 | IPS Reducing bush 1/4''-3/4'' | pcs | 6 |  | 0 | [8 empty] | 6
114 | IPS Nipple 1/2'' | pcs | 75 |  | 0 | 8 | 8 | 8 | 8 | 8 |  | 35
115 | IPS Nipple socket 1/2'' | pcs | 9 |  | 0 | [6 empty] | 9
116 | IPS socket 1/2'' | pcs | 35 |  | 0 | [6 empty] | 35
117 | IPS plug 1/2'' | pcs | 15 |  | 0 | [6 empty] | 5 |  | 10
118 | Polypipe 3/4'' - 150m meters | roll | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
119 | Gate valve Gs 1/2'' | pcs | 17 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 7
120 | GS union 1/2'' | pcs | 10 |  | 0 | 2 | 2 | 2 | 2 | 2
121 | Tangit 500 gramms pvc cement | pcs | 9 |  | 0 | 1 | 1 | 1 | 1 | 1 |  | 4
122 | PVC pipe 4'' class B - 6 meter pipe | pcs | 28 |  | 0 | 4 | 4 | 4 | 4 | 4 |  | 8
123 | PVC lbow inspection eye 4", 90° | pcs | 29 |  | 0 | 5 | 5 | 5 | 5 | 5 |  |  |  | 4
124 | PVC Floor trap/drain 4'' | pcs | 27 |  | 0 | 3 | 3 | 3 | 3 | 3 |  | 12
125 | PVC Vent cap 4" | pcs | 12 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 2
126 | PVC clamps 4" | pcs | 36 |  | 0 | 6 | 6 | 6 | 6 | 6 |  | 6
127 | 4" PVC bend 90°, For vertical ↔ horizontal transitions | pcs | 39 |  | 0 | 6 | 6 | 6 | 6 | 6 |  | 5 |  | 4
128 | 4" PVC bend 45° plain, male and female, For smooth flow direction | pcs | 32 |  | 0 | 4 | 4 | 4 | 4 | 4 |  | 4 |  | 8
129 | 4" PVC sanitary tee, For vertical stack connections | pcs | 15 |  | 0 | 3 | 3 | 3 | 3 | 3
130 | 4" PVC Y-junction, For main lines joining | pcs | 10 |  | 0 | 2 | 2 | 2 | 2 | 2
131 | 4" PVC couplers, For extending 4" pipes | pcs | 30 |  | 0 | 6 | 6 | 6 | 6 | 6
132 | PVC gully trap 4'' | Pcs | 9 |  | 0 | [6 empty] | 6 |  | 3
133 | PVC floor P-Trap 3'' | Pcs | 21 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 8 |  | 3
134 | 2'' diameter elbow 90 deg. PVC pipes class B | Pcs | 6 |  | 0 | [8 empty] | 6
135 | 2'' diameter plug 45 deg. PVC pipes class B | Pcs | 5 |  | 0 | [8 empty] | 5
136 | 2'' diameter tee 45 deg. PVC pipes class B | Pcs | 5 |  | 0 | [8 empty] | 5
137 | 2'' diameter T- joints PVC pipes class B | pcs | 3 |  | 0 | [8 empty] | 3
138 | 2'' diameter Y-T joints PVC pipes class B | pcs | 3 |  | 0 | [8 empty] | 3
139 | 1.5" PVC pipes class B | pcs | 28 |  | 0 | 4 | 4 | 4 | 4 | 4 |  | 8
140 | 1.5" PVC elbow class B | pcs | 75 |  | 0 | 12 | 12 | 12 | 12 | 12 |  | 15
141 | 1.5" PVC plug class B | pcs | 24 |  | 0 | 4 | 4 | 4 | 4 | 4 |  | 4
142 | 1.5" PVC Tee class B | pcs | 17 |  | 0 | 2 | 2 | 2 | 2 | 2 |  | 4 |  | 3
143 | 1.5" PVC couplers, For 1.5" basin drainage | pcs | 20 |  | 0 | 4 | 4 | 4 | 4 | 4
144 | 1.5" PVC clamps, For support of 1.5" line | pcs | 100 |  | 0 | 20 | 20 | 20 | 20 | 20
145 | Bottle trap / P-trap for disabled basin | pcs | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
146 | Basin waste outlet (chrome), For the 4 basins | pcs | 20 |  | 0 | 4 | 4 | 4 | 4 | 4
147 | Silicone sealant (sanitary grade), Waterproofing joints | tube | 15 |  | 0 | 3 | 3 | 3 | 3 | 3
148 | Main inlet gate valve 3/4", Building main shutoff | pcs | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
149 | Angle valve 1/4'' | pcs | 1 |  | 0 | [8 empty] | 1
150 | Distribution line gate valve 1/2", For isolating toilet block | pcs | 5 |  | 0 | 1 | 1 | 1 | 1 | 1
151 | Gully trap complete with cover, For receiving floor drains and 1.5" lines | pcs | 10 |  | 0 | 2 | 2 | 2 | 2 | 2
152 | Pipe clamps 1/2"For IPS line support | pcs | 125 |  | 0 | 25 | 25 | 25 | 25 | 25
153 | Pipe clamps 3/4", For polypipe support | pcs | 125 |  | 0 | 25 | 25 | 25 | 25 | 25
154 | Seal tape | pcs | 140 |  | 0 | 20 | 20 | 20 | 20 | 20 |  | 10 |  | 30
155 | 300x300x300mm overall sizes complete with cast iron grating; | No | 3 |  | 0 | [8 empty] | 3
156 | 600x600x300mm Handhole: Complete with medium duty cast iron frame and covers in thick | No | 3 |  | 0 | [8 empty] | 3
Electrical materials
157 | Metallic square boxes to BS 60669 | no. | 27 |  | 0 | [6 empty] | 12 |  | 15
158 | Twin Metallic rectangural boxes to BS 60669 | no. | 24 |  | 0 | [6 empty] | 10 |  | 14
159 | PVC round boxes | no. | 44 |  | 0 | [6 empty] | 14 |  | 30
160 | Round cover | no. | 24 |  | 0 | [6 empty] | 14 |  | 10
161 | 15amps switch socket twin to BS 60669 | no. | 24 |  | 0 | [6 empty] | 12 |  | 12
162 | 10amps two way switch two gand to BS 60669 | no. | 5 |  | 0 | [6 empty] | 4 |  | 1
163 | 10amps one way swich one gang; to BS 60669 | no. | 8 |  | 0 | [8 empty] | 8
164 | 10amps one way switch two gangs switch; to BS 60669 | no. | 10 |  | 0 | [6 empty] | 8 |  | 2
165 | 1" PVC elbow Connector | Bar | 20 |  | 0 | [6 empty] | 10 |  | 10
166 | Television Sockets to BS 60669 | no. | 2 |  | 0 | [6 empty] | 1 |  | 1
167 | LED Lights 15watt | no. | 6 |  | 0 | [6 empty] | 6
168 | 38W LED LIGHTS bulb | no. | 12 |  | 0 | [8 empty] | 12
169 | 100W LED LIGHTS bulb | no. | 1 |  | 0 | [8 empty] | 1
170 | Bulb Holders | no. | 6 |  | 0 | [6 empty] | 6
171 | Solar Lighting Bulbs 18 watt with Holders | no. | 8 |  | 0 | [8 empty] | 8
172 | 10amps one way one gang; to BS 60669 | no. | 8 |  | 0 | [8 empty] | 8
173 | 10amps one way two gangs switch; to BS 60669 | no. | 10 |  | 0 | [6 empty] | 8 |  | 2
174 | 1.5mm2 single core wire-red | m | 400 |  | 0 | [6 empty] | 100 |  | 300
175 | 1.5mm2 single core wire-blue | m | 400 |  | 0 | [6 empty] | 100 |  | 300
176 | 1.5mm2 single core wire-earth | m | 400 |  | 0 | [6 empty] | 100 |  | 300
177 | 2.5mm2 single core wire -red | m | 250 |  | 0 | [6 empty] | 50 |  | 200
178 | 2.5mm2 single core wire -blue/black | m | 250 |  | 0 | [6 empty] | 50 |  | 200
179 | 2.5mm2 single core wire -earth/green | m | 250 |  | 0 | [6 empty] | 50 |  | 200
180 | 16mm² tail wire pure copper, single core; Red | m | 20 |  | 0 | [8 empty] | 20
181 | 16mm² tail wire pure copper, single core; Black | m | 20 |  | 0 | [8 empty] | 20
182 | 1.5" PVC surface trunk square conduit | pcs | 6 |  | 0 | [6 empty] | 6
183 | Single Phase, 8Mcb's 63A/300mA SPN -12 ways Distribution Board to BS; built with circuit breaker RCCD complete with all necessary accessories and all MCB's as shown in the drawings | no. | 1 |  | 0 | [8 empty] | 1
184 | 1x2core x16mm2 armoured cables 100m long each with accessories (Power from TANESCO to the building) | m | 200 |  | 0 | [8 empty] | 200
185 | Complete pure copper earth rod 12mm thick and 1m height with salt and charcoal. | no. | 1 |  | 0 | [8 empty] | 1
186 | Power outlet | no. | 10 |  | 0 | [8 empty] | 10
187 | Switch points | no. | 14 |  | 0 | [8 empty] | 14
188 | Earthing point including the chamber and cover | no. | 1 |  | 0 | [8 empty] | 1
189 | DP Switch for Air conditioners and water heaters points | no. | 6 |  | 0 | [8 empty] | 6
190 | Television Points | no | 2 |  | 0 | [8 empty] | 2
191 | AC Unit - Gender Office Room - 9,000 BTU capacity, inverter technology, low-noise. | no. | 2 |  | 0 | [8 empty] | 2
192 | Copper pipe and accessories for AC installation | LS | 1 |  | 0 | [8 empty] | 1
193 | Dry powder CO2 fire extinguisher 6kgs | no. | 1 |  | 0 | [8 empty] | 1
194 | Liquid CO2 fire extinguisher 6kgs | no | 1 |  | 0 | [8 empty] | 1
195 | 1inch seal tape, insulation tape | no. | 16 |  | 0 | [6 empty] | 4 | 2 | 10
196 | Electrical conduits pipes | pcs | 67 |  | 0 | [6 empty] | 17 |  | 50
197 | Saddle clips 25mm | box | 10 |  | 0 | [8 empty] | 10
198 | Water proof junction box | pcs | 5 |  | 0 | [8 empty] | 5
| Total without VAT |  |  |  | 0
| add VAT 18% |  |  |  | 0
| Grand Total with VAT |  |  |  | 0
| Sites distance from nearby district town/office | Distance in km
1 | Kumgogo secondary | 35 | From Kibondo town
2 | Mt. Samba secondary | 40 | From Kibondo town
3 | Kumsenga secondary | 55 | From Kibondo town
4 | Kigina secondary | 70 | From Kibondo town
5 | Migezi secondary | 60 | From Kibondo town
6 | VETA Kasulu | 13 | From Kasulu town
7 | Mati Mubondo | 15 | From Kasulu town
8 | VETA Buhigwe | 2 | From Buhigwe District council office
9 | SIDO Kigoma | 3 | From Kigoma town centre