## Blank BoQ VETA (hidden)
BILL OF QUANTITY FOR CONSTRUCTION, RENOVIATION & REHABILITATION AT VETA PROJECT | [5 empty] | BILL OF QUANTITY FOR CONSTRUCTION, RENOVIATION & REHABILITATION AT VETA PROJECT
VETA BLOCK A1 WORKSHOP, GUIDENCE AND COUNCELING ROOM
| VETA BLOCK A1 WORKSHOP, GUIDENCE AND COUNCELING ROOM | [5 empty] | Construction of tiles and walling
1:00 | Construction of tiles and walling |  |  |  |  | S/n | Decription of materials | Qty | Unit | Unit price | Amount euro
S/N | DECRIPTION OF MATERIALS | QTY | UNIT | UNIT PRICE | AMOUNT Euro | 1 | Supply of floor tiles width 8.75m, length10m, 87.5 square meter (m2)50x50 cm | 50 | Box
1 | Supply of Floor tiles width 8.75m, Length10m, 87.5 square meter (m2)50x50 cm | 50 | Box |  |  | 2 | Supply scutting tiles | 5 | Box
2 | Supply Scutting tiles | 5 | Box |  |  | 3 | Cement 42.5n | 10 | Bag
3 | Cement 42.5N | 10 | Bag |  |  | 4 | Fine aggregate 4.5m3 | 2 | Trip
4 | Fine aggregate 4.5m3 | 2 | Trip |  |  | 5 | Grout (white) kg | 10 | Kg
5 | Grout (white) Kg | 10 | kg |  |  | 6 | Blocks 6" ( 450x230x150) mm | 1500 | Pc
6 | Blocks 6" ( 450x230x150) mm | 1500 | pc |  |  | 7 | Rainforcement iron steel 12 sq mm for ring beam | 40 | Pc
7 | Rainforcement iron steel 12 Sq mm for ring beam | 40 | pc |  |  | 8 | Rainforcement iron steel 8 sq mm for ring beam | 14 | Pc
8 | Rainforcement iron steel 8 Sq mm for ring beam | 14 | pc |  |  | 9 | Binding wire for cage ring beam | 1 | Pc
9 | Binding wire for cage ring beam | 1 | pc |  |  | 10 | Props (milunda) | 15 | Pc
10 | Props (milunda) | 15 | pc |  |  | 11 | Timber 1''x8''x3 | 30 | Pc
11 | Timber 1''x8''x3 | 30 | pc |  |  | 12 | Nails kg 3'', 4'' 5'' @5kg | 25 | Kg
12 | Nails kg 3'', 4'' 5'' @5kg | 25 | kg |  |  | 13 | Sub total raw materials
| SUB TOTAL RAW MATERIALS |  |  |  |  | 14
[6 empty] | 15 | Painting
| PAINTING |  |  |  |  | 16 | Emulsion paint white | 7 | Bkt
1 | EMULSION PAINT WHITE | 7 | BKT |  |  | 17 | Silk paint | 7 | Bkt
2 | Silk Paint | 7 | BKT |  |  | 18 | Skimming putty | 12 | Bag
3 | SKIMMING PUTTY | 12 | BAG |  |  | 19 | Fiber tape | 7 | Roll
4 | FIBER TAPE | 7 | ROLL |  |  | 20 | Binder | 6 | Bkt
5 | BINDER | 6 | BKT |  |  | 21 | Solvent | 6 | Gln
6 | SOLVENT | 6 | GLN |  |  | 22 | Weather guard paint | 7 | Bkt
7 | WEATHER GUARD PAINT | 7 | BKT |  |  | 23 | Oil paint black | 6 | Tin
8 | OIL PAINT BLACK | 6 | TIN |  |  | 24 | Sand paper no 120 | 4 | Roll
9 | SAND PAPER NO 120 | 4 | ROLL |  |  | 25 | Sub total raw materials
| SUB TOTAL RAW MATERIALS |  |  |  |  | 26
[6 empty] | 27 | Electrical instalation
| ELECTRICAL INSTALATION |  |  |  |  | 28 | Description | Qty | Unit | Price | Amount
ITEM | DESCRIPTION | QTY | UNIT | PRICE | AMOUNT | 29 | Materials
| MATERIALS |  |  |  |  | 30 | electrical installation
B. | ELECTRICAL INSTALLATION |  |  |  |  | 31 | Single fluorescent 4ft fitting complete,led philips or other equal approved | 16 | Pcs
1 | Single fluorescent 4ft fitting Complete,LED philips or other equal approved | 16 | PCS |  |  | 32 | Double switch socket abb or other equal approved | 15 | Pcs
2 | Double switch socket ABB or other equal approved | 15 | PCS |  |  | 33 | Nb: cables for 1.5sqmm 2.5sqmm and 4sqmm should be euro or other equal approved
3 | NB: Cables for 1.5sqmm 2.5sqmm and 4sqmm should be EURO or other equal approved |  |  |  |  | 34 | Single core wire 1.5sqmm - red | 4 | Roll
4 | Single core wire 1.5sqmm - Red | 4 | Roll |  |  | 35 | Single core wire 1.5sqmm - black | 4 | Roll
5 | Single core wire 1.5sqmm - Black | 4 | Roll |  |  | 36 | Single core wire 1.5sqmm -green | 4 | Roll
6 | Single core wire 1.5sqmm -green | 4 | Roll |  |  | 37 | Single core wire 2.5sqmm - red | 4 | Roll
7 | Single core wire 2.5sqmm - red | 4 | Roll |  |  | 38 | Single core wire 2.5sqmm | 4 | Roll
8 | Single core wire 2.5sqmm | 4 | Roll |  |  | 39 | Single core wire 2.5sqmm green | 4 | Roll
9 | Single core wire 2.5sqmm green | 4 | Roll |  |  | 40 | Main switch 6way,1ph with integral rcd 63a/300mma abb other equal approved | 2 | Pcs
10 | Main switch 6way,1PH with integral RCD 63A/300mmA ABB other equal approved | 2 | PCS |  |  | 41 | 2gang 1 way switch abb or other equal approved | 3 | Pcs
11 | 2gang 1 way switch ABB or other equal approved | 3 | PCS |  |  | 42 | Earth rod approved copper 16mm not less than 1200mm | 4 | Pcs
12 | Earth rod approved copper 16mm not less than 1200mm | 4 | PCS |  |  | 43 | Earth wire 4sqmm | 20 | M
13 | Earth wire 4sqmm | 20 | M |  |  | 44 | Fine screw | 4 | Packet
14 | Fine screw | 4 | PACKET |  |  | 45 | Insullation tapes (yellow,black,red) tronic or other equal approved | 12 | Pcs
15 | Insullation tapes (yellow,Black,Red) Tronic or other equal approved | 12 | PCS |  |  | 46 | Air condition 18btu bosch or other equal approved | 1 | Pcs
16 | Air condition 18btu Bosch or other equal approved | 1 | PCS |  |  | 47 | Conduit pipe tronic or other equal approved | 50 | Pc's
17 | Conduit pipe Tronic or other equal approved | 50 | PC's |  |  | 48 | Elbow | 25 | Pc's
18 | Elbow | 25 | PC's |  |  | 49 | Conduit coupling | 15 | Pc's
19 | Conduit coupling | 15 | PC's |  |  | 50 | Round cover | 15 | Pc's
20 | Round cover | 15 | PC's |  |  | 51 | Round box | 3 | Pc's
21 | Round box | 3 | PC's |  |  | 52 | Plstic clips 22mm | 5 | Box
22 | Plstic clips 22mm | 5 | BOX |  |  | 53 | Metal box single | 3 | Pcs
23 | Metal box single | 3 | PCS |  |  | 54 | Metal box twin | 15 | Pcs
24 | Metal box twin | 15 | PCS |  |  | 55 | Subtotal of raw materials
| SUBTOTAL OF RAW MATERIALS |  |  |  |  | 56
57
58
[6 empty] | 59 | Roofing
| ROOFING |  |  |  |  | 60 | Cypress 2" x 4"x12' (purlins) | 80 | Pcs
1 | Cypress 2" X 4"X12' (Purlins) | 80 | PCS |  |  | 61 | Nail 4" | 15 | Kg
2 | Nail 4" | 15 | KG |  |  | 62 | Nail 5" | 12 | Kg
3 | Nail 5" | 12 | KG |  |  | 63 | 28g corrugated roofing sheet 5.5m long | 75 | Pcs
4 | 28G Corrugated roofing sheet 5.5m long | 75 | PCS |  |  | 64 | Ridge cap | 15 | Pcs
5 | Ridge cap | 15 | PCS |  |  | 65 | Roofing nail | 40 | Kg
6 | Roofing nail | 40 | KG |  |  | 66 | Core of 12000mm length | 12 | Pcs
7 | Core of 12000mm length | 12 | PCS |  |  | 67 | Line and pin (red in colour) | 10 | Pcs
8 | Line and pin (red in colour) | 10 | PCS |  |  | 68 | Sub total of raw materials
| SUB TOTAL OF RAW MATERIALS |  |  |  |  | 69
70
[6 empty] | 71 | Gypsum ceiling board
| GYPSUM CEILING BOARD |  |  |  |  | 72 | Gypsum board | 65 | Pcs
1 | Gypsum board | 65 | PCS |  |  | 73 | Gypsum belt | 40 | Pcs
2 | Gypsum belt | 40 | PCS |  |  | 74 | Gypsum screw | 10 | Box
3 | Gypsum screw | 10 | BOX |  |  | 75 | Nail 3" | 12 | Kg
4 | Nail 3" | 12 | KG |  |  | 76 | Nail 4" | 9 | Kg
5 | Nail 4" | 9 | KG |  |  | 77 | Cypress fascial board 1" x 10"x12' | 20 | Pcs
6 | Cypress Fascial board 1" X 10"X12' | 20 | PCS |  |  | 78 | Cypress 2" x 2"x12' | 65 | Pcs
7 | Cypress 2" X 2"X12' | 65 | PCS |  |  | 79 | Subtotal of raw materials 2
| SUBTOTAL OF RAW MATERIALS 2 |  |  |  |  | 80
81
[6 empty] | 82 | Aluminium profiles partition veta
| ALUMINIUM PROFILES PARTITION VETA |  |  |  |  | 83 | Aluminium partition perimeter frame (profiles) | 50 | Pcs
1 | Aluminium partition perimeter frame (Profiles) | 50 | PCS |  |  | 84 | Aluminium t-section mullion / t-joint profile | 30 | Pcs
2 | Aluminium T-Section Mullion / T-Joint Profile | 30 | PCS |  |  | 85 | Glazing bead (glass retaining bead) | 22 | Pc s
3 | Glazing Bead (Glass Retaining Bead) | 22 | PC S |  |  | 86 | Aluminium angle profile (l-section) | 6 | Pcs
4 | Aluminium Angle Profile (L-Section) | 6 | PCS |  |  | 87 | Door hinges (butt hinges / aluminium door hinges) | 6 | Set
5 | Door Hinges (Butt Hinges / Aluminium Door Hinges) | 6 | Set |  |  | 88 | Z-section aluminium profile / z-bracket | 12 | Pcs
6 | Z-Section Aluminium Profile / Z-Bracket | 12 | PCS |  |  | 89 | Hydraulic door closer | 14 | Pcs
7 | Hydraulic Door Closer | 14 | PCS |  |  | 90 | Door pull handle / lever handle | 6 | Pcs
8 | Door Pull Handle / Lever Handle | 6 | PCS |  |  | 91 | Mortice lock / aluminium door lockset | 7 | Pcs
9 | Mortice Lock / Aluminium Door Lockset | 7 | PCS |  |  | 92 | Aluminium blind rivets (4.5 mm pop rivets) | 12 | Box
10 | Aluminium Blind Rivets (4.5 mm Pop Rivets) | 12 | Box |  |  | 93 | Epdm rubber gasket / glazing rubber seal | 6 | Rallor
11 | EPDM Rubber Gasket / Glazing Rubber Seal | 6 | Rallor |  |  | 94 | Clear float glass / toughened glass | 16 | Sheet
12 | Clear Float Glass / Toughened Glass | 16 | Sheet |  |  | 95 | Aluminium composite panel (acp / alucobond panel) 9mm | 12 | Pcs
13 | Aluminium Composite Panel (ACP / Alucobond Panel) 9mm | 12 | PCS |  |  | 96 | Sub total of raw materials
| SUB TOTAL OF RAW MATERIALS |  |  |  |  | 97
98
[6 empty] | 99 | Maintenance of gutter block a1 veta
| MAINTENANCE OF GUTTER BLOCK A1 VETA |  |  |  |  | 100 | Item | Qty | Unit | Rate cost | Amaunt euro
| ITEM | QTY | Unit | Rate cost | Amaunt Euro | 101 | Gutter 4'' | 16 | Pcs
1 | Gutter 4'' | 16 | PCS |  |  | 102 | Down pipe 3'' | 4 | Pcs
2 | Down pipe 3'' | 4 | PCS |  |  | 103 | Stop end 4'' | 6 | Pcs
3 | Stop end 4'' | 6 | PCS |  |  | 104 | Union gutter 4'' | 8 | Pcs
4 | Union gutter 4'' | 8 | PCS |  |  | 105 | Silcon | 4 | Pcs
5 | Silcon | 4 | PCS |  |  | 106 | Tangent | 3 | Litre
6 | Tangent | 3 | LITRE |  |  | 107 | Screw 1'' | 2 | Pcs
7 | Screw 1'' | 2 | PCS |  |  | 108 | Crampe gutter 4'' | 75 | Pcs
8 | Crampe gutter 4'' | 75 | PCS |  |  | 109 | Down pipe clamp 4'' | 6 | Pcs
9 | Down pipe clamp 4'' | 6 | PCS |  |  | 110 | Sub total of raw materials
| SUB TOTAL OF RAW MATERIALS |  |  |  |  | 111
112
[6 empty] | 113 | Safety gears for all task
| SAFETY GEARS FOR ALL TASK |  |  |  |  | 114 | Helment | 16 | Pcs
1 | Helment | 16 | PCS |  |  | 115 | Roller brush 9'' | 7 | Pcs
2 | Roller brush 9'' | 7 | PCS |  |  | 116 | Brush 4'' | 7 | Pcs
3 | Brush 4'' | 7 | PCS |  |  | 117 | Reflector | 16 | Pcs
4 | Reflector | 16 | PCS |  |  | 118 | Scaffold | 1 | Set
5 | Scaffold | 1 | SET |  |  | 119 | Scraper (wide) | 7 | Pcs
6 | scraper (wide) | 7 | PCS |  |  | 120 | Steel float | 7 | Pcs
7 | Steel float | 7 | PCS |  |  | 121 | Ladder (glass chrome 4m) | 1 | Pcs
8 | Ladder (glass chrome 4m) | 1 | PCS |  |  | 122 | Safety boot | 7 | Pairs
9 | Safety boot | 7 | PAIRS |  |  | 123 | Mask | 17 | Pcs
10 | Mask | 17 | PCS |  |  | 124 | Sub total of raw materials
| SUB TOTAL OF RAW MATERIALS |  |  |  |  | 125 | veta grand total for raw materials
VETA GRAND TOTAL FOR RAW MATERIALS

## Consolidated BoQ
Item No. | Item Name | Required Specification | Offered Specifications | Comments/Remarks | Unit of Measurement | Estimated Qty VETA | Estimated Qty SIDO | Estimated Qty FETA | Estimated Qty (Total) | Unit Rate (Euro) | TOTAL FETA,VETA AND SIDO (Euro)
1 | Floor tiles 50x50 cm | Ceramic/vitrified floor tiles, wear-resistant, anti-slip surface finish, uniform colour, suitable for internal flooring. |  |  | Box | 50 |  | 15 | 65 |  | 0
2 | Stair tiles 80x60cm (pair) | Ceramic/vitrified floor tiles, wear-resistant, anti-slip surface finish, uniform colour, suitable for internal flooring. |  |  | Box |  |  | 65 | 65 |  | 0
3 | Skirting Tiles | Matching ceramic skirting tiles, minimum height as specified, water-resistant, smooth edge finish. |  |  | Box | 5 |  | 2 | 7 |  | 0
4 | Cement 42.5N | Portland cement grade; fine powder, high compressive strength, and consistent quality. |  |  | Bags | 10 | 398 | 20 | 428 |  | 0
5 | Fine Aggregates/ Sand | Natural sand or crushed fine material; clean, well-graded particles, providing good workability and durability in concrete mixes. |  |  | Trips 4.5m3 | 2 | 20 | 3 | 25 |  | 0
6 | Course aggregate | Crushed stone of nominal size 19 mm; hard, angular particles with high compressive strength, durable, and resistant to abrasion. |  |  | Trips 4.5m3 |  | 16 |  | 16 |  | 0
7 | Hardcore | Crushed stone fill material (various sizes), used as a compactable base; high strength, excellent load-bearing capacity, and very durable under compression. |  |  | Trips 4.5m3 |  | 18 |  | 18 |  | 0
8 | Grout (white) kg | Cementitious or epoxy-based white grout, water-resistant, anti-shrink, suitable for tile joints. |  |  | kg | 10 |  | 5 | 15 |  | 0
9 | Cement Blocks 6" | Concrete blocks (6-inch); strong, uniform, and durable with good load-bearing properties 4MPa. ( 450x230x150) mm |  |  | Pcs | 1500 | 3600 | 70 | 5170 |  | 0
10 | Reinforcement steel | High-yield steel bars; ribbed, high tensile strength, and resistant to deformation. bar lenght should be 12m, 12 mm diameter |  |  | Pcs | 55 | 61 |  | 116 |  | 0
11 | Dpm | Supply heavy-duty polyethylene sheet of minimum thickness 1000 gauge (250 microns), suitable for use as a damp-proof membrane. The material shall be durable, waterproof, and resistant to puncture under normal site handling and installation conditions. The sheet shall be capable of being laid over a prepared blinding layer with joints designed to overlap by not less than 150 mm, compatible with sealing using waterproof adhesive tape. The membrane supplied shall ensure continuity and provide an effective barrier against ground moisture ingress. |  |  | Rolls (2.4*20) |  | 6 |  | 6 |  | 0
12 | Dpc | The material shall be durable and waterproof, suitable for preventing rising damp. It shall allow for joints to overlap at least 100 mm and be properly sealed to form a continuous moisture barrier. |  |  | Rolls |  | 3 |  | 3 |  | 0
13 | Wire mesh 2.5mm | Steel wire mesh with 2.5 mm thickness, typically galvanized or black steel; strong, flexible, corrosion-resistant (if galvanized), and durable for reinforcement applications. |  |  | Pcs |  | 5 |  | 5 |  | 0
14 | Reinforcement steel | High-yield steel bars; ribbed, high tensile strength, and resistant to deformation. bar lenght should be 12m, 08 mm diameter |  |  | Pcs | 14 | 18 |  | 32 |  | 0
15 | Binding Wire | Mild steel tying wire, often annealed; flexible, easy to bend, moderate tensile strength, and resistant to breakage during tying. |  |  | Roller | 1 | 2 |  | 3 |  | 0
16 | Props | Local props; strong, load-bearing, resistant to bending under vertical loads, and reusable depending on material quality greater than 8cm diameter. |  |  | Pcs | 15 | 60 |  | 75 |  | 0
17 | Timber | Treated softwood timber; lightweight, good strength-to-weight ratio, resistant to warping and moderately durable against insects when treated. 1''x8''x3 |  |  | Pcs | 30 | 30 |  | 60 |  | 0
18 | 2.5 inch nail | Steel construction nails; rigid, durable, with good holding strength. |  |  | Kg |  | 2 |  | 2 |  | 0
19 | 3 inch nail | Steel construction nails; rigid, durable, with good holding strength. |  |  | Kg | 17 | 43 | 12 | 72 |  | 0
20 | 4 inch nail | Steel construction nails; rigid, durable, with good holding strength. |  |  | Kg | 29 | 77 | 9 | 115 |  | 0
21 | 5 inch nail | Steel construction nails; rigid, durable, with good holding strength. |  |  | Kg | 17 | 60 |  | 77 |  | 0
22 | Roofing Nails | Supply roofing nails manufactured from hot-dip galvanized steel, designed for roofing applications. The nails shall have a large flat head for firm holding, a strong shank to prevent bending, and adequate length of 3 inch to ensure secure fixing. They shall be durable, corrosion-resistant, and suitable for withstanding outdoor weather conditions. |  |  | Kg | 40 | 25 |  | 65 |  | 0
23 | Emulsion Paint white | Paint shall be high-quality water-based emulsion paint suitable for interior/exterior application, manufactured by an approved supplier, and compliant with relevant standards (e.g., ISO or equivalent). |  |  | Buckets 20 Littres | 9 | 2 | 10 | 21 |  | 0
24 | Silk Paint | Acrylic-based; smooth finish, UV- and weather-resistant. |  |  | Buckets 20 Littres | 7 | 6 | 24 | 37 |  | 0
25 | Skimming Wall Putty | Fine cement-based; smooth, crack-resistant finish. |  |  | Bags 25Kg | 12 | 22 | 25 | 59 |  | 0
26 | Fiber Tape | Reinforced mesh tape made from fiberglass strands; lightweight, high tensile strength, resistant to cracking, moisture, and alkali, and highly durable for reinforcing joints and surfaces. |  |  | Rolls | 7 | 5 | 15 | 27 |  | 0
27 | Binder | Adhesive liquid; improves paint bonding and durability. |  |  | Buckets 20 Littres | 3 | 5 | 23 | 31 |  | 0
28 | Solvent | Chemical thinner; fast-evaporating, compatible with paints. |  |  | Gallon 1 Littres | 6 | 65 | 29 | 100 |  | 0
29 | Weather Guard Paint | Acrylic-based; smooth finish, UV- and weather-resistant. |  |  | Buckets 20 Littres | 7 | 7 | 26 | 40 |  | 0
30 | Oil Paint Black | Glossy, durable coating with good wear resistance. |  |  | Tin 4 Littres | 6 | 14 | 18 | 38 |  | 0
31 | Bitumen Paint | Waterproof coating; highly durable against moisture. |  |  | Tin 4 Littres |  | 7 | 30 | 37 |  | 0
32 | Oil Paint Ascot Grey | Glossy, durable coating with good wear resistance. 4 littres. |  |  | Tin 4 Littres |  |  | 6 | 6 |  | 0
33 | Pva roof paint brown | PVA roof paint, brown colour, water-based acrylic/PVA modified coating, UV and weather resistant, for exterior roof surfaces, applied in two coats, equal approved. |  |  | Buckets |  |  | 6 | 6 |  | 0
34 | Sand paper no 120 | Abrasive sheet made from aluminum oxide or silicon carbide bonded to paper or cloth backing; available in various grit sizes (coarse to fine), durable, wear-resistant, and suitable for surface preparation and finishing. |  |  | Rolls | 4 | 27 | 19 | 50 |  | 0
35 | Sanding sealer 4l | Resin-based; fast drying, enhances surface durability. |  |  | Tin |  | 2 |  | 2 |  | 0
36 | Sanding paper no. 40 | Abrasive sheets; varying grit for rough to fine finishing. |  |  | Roll |  | 3 |  | 3 |  | 0
37 | Sanding paper no. 80 | Abrasive sheets; varying grit for rough to fine finishing. |  |  | Roll |  | 1 |  | 1 |  | 0
38 | Sanding paper no. 180 | Abrasive sheets; varying grit for rough to fine finishing. |  |  | Roll |  | 1 |  | 1 |  | 0
39 | Sanding paper no. 360 | Abrasive sheets; varying grit for rough to fine finishing. |  |  | Pcs |  | 10 |  | 10 |  | 0
40 | Clear varnish | Protective coating; UV-resistant, enhances durability and appearance. |  |  | Tin 4 Littres |  | 1 |  | 1 |  | 0
41 | Mortise Double Level | Hardened steel; durable locking mechanisms. |  |  | Pcs |  | 1 | 15 | 16 |  | 0
42 | Single fluorescent | 4 ft length, made from steel or aluminum housing with LED tube; energy-efficient, long lifespan (typically 20,000+ hours), and heat-resistant. |  |  | Pcs | 16 | 8 | 52 | 76 |  | 0
43 | Double switch socket | Heavy-duty 2-gang switched socket outlet, rated 13A, 220–240V AC, 50Hz, suitable for industrial and commercial installations. abb or other equal approved |  |  | Pcs | 15 |  | 28 | 43 |  | 0
44 | Industrial Double switch Socket | Metal/plastic body; strong, durable under heavy use. |  |  | Pcs |  | 15 |  | 15 |  | 0
45 | Steel conduit pipe | Supply steel conduit pipes manufactured from high-quality mild steel, suitable for protecting electrical wiring. The conduits shall be rigid, durable, and resistant to corrosion, with a smooth internal surface to allow easy cable pulling. They shall be of standard sizes and thickness, with threaded or plain ends as required, and shall comply with relevant standards for electrical installations. |  |  | pCS |  |  | 15 | 15 |  | 0
46 | Single core wire 1.5sqmm - red | Copper conductor with PVC insulation; good conductivity, flame-retardant, and long-lasting. |  |  | Roll | 4 | 6 | 6 | 16 |  | 0
47 | Single core wire 1.5sqmm - black | Copper conductor with PVC insulation; good conductivity, flame-retardant, and long-lasting. |  |  | Roll | 4 | 6 | 6 | 16 |  | 0
48 | Single core wire | PVC insulated copper conductor. 1.5sqmm -green |  |  | Roll | 4 | 5 | 6 | 15 |  | 0
49 | Single core wire | PVC insulated copper conductor. 2.5sqmm - red |  |  | Roll | 4 | 3 | 6 | 13 |  | 0
50 | Single core wire | PVC insulated copper conductor. 2.5sqmm |  |  | Roll | 4 | 3 | 6 | 13 |  | 0
51 | Single core wire | PVC insulated copper conductor. 2.5sqmm green |  |  | Roll | 4 | 3 | 6 | 13 |  | 0
52 | Single core wire | PVC insulated copper conductor. 6sqmm - red |  |  | Roll |  | 5 |  | 5 |  | 0
53 | Single core wire | PVC insulated copper conductor. 6sqmm black |  |  | Roll |  | 5 |  | 5 |  | 0
54 | Single core wire | PVC insulated copper conductor. 6sqmm green |  |  | Roll |  | 5 |  | 5 |  | 0
55 | Single galvanised metal switch box | Flush/surface mounting type, corrosion-resistant. |  |  | Roll |  | 6 |  | 6 |  | 0
56 | Main switch | Heavy-duty single-phase main distribution switch unit, complete with integral residual current device (RCD) protection, suitable for residential, commercial, or light industrial electrical distribution systems. 6way,1ph with integral rcd 63a/300mma abb other equal approved |  |  | Pcs | 2 |  | 1 | 3 |  | 0
57 | Main switch | Heavy-duty single-phase main distribution switch unit, complete with integral residual current device (RCD) protection, suitable for residential, commercial, or light industrial electrical distribution systems. 4way,1ph with integral rcd 63a/300mma abb other |  |  | Pcs |  |  | 1 | 1 |  | 0
58 | 2gang 1 way switch | Industrial heavy-duty switch. abb or other equal approved |  |  | Pcs | 3 |  | 11 | 14 |  | 0
59 | 3gang 1 way switch | Plastic or metal-clad housing; three-switch configuration, impact-resistant, flame-retardant, and long service life. abb or other equal approved |  |  | Pcs |  |  | 2 | 2 |  | 0
60 | Earth rod | High conductivity, corrosion-resistant. approved copper 16mm not less than 1200mm |  |  | Pcs | 4 | 8 | 7 | 19 |  | 0
61 | Earth wire | PVC insulated copper conductor, green/yellow. 4sqmm |  |  | m | 20 | 40 | 60 | 120 |  | 0
62 | Fine Screw | Steel (often galvanized); corrosion-resistant, precise threading, and durable for electrical or light fixing works. |  |  | Packet | 4 | 6 | 6 | 16 |  | 0
63 | Insulation tapes | PVC material; flexible, flame-retardant, moisture-resistant, and long-lasting adhesion. (yellow,black,red) tronic or other equal approved |  |  | Pcs | 12 | 88 | 15 | 115 |  | 0
64 | Junction box | PVC/metal box with cover for cable connections. tronic or other equal approved |  |  | Pcs |  | 25 |  | 25 |  | 0
65 | Lv cuttout fuse | Supply low voltage (LV) cut-out fuse rated at 400A, suitable for protection and isolation in electrical distribution systems. The unit shall be of heavy-duty construction, designed for reliable performance under normal operating conditions. The cut-out shall comprise a fuse carrier and base made of high-quality insulating material, with robust contacts to ensure secure connection. It shall be suitable for operation on 415V, 50Hz supply and capable of safely interrupting fault currents. The fuse shall be of appropriate HRC (High Rupturing Capacity) type, providing effective protection against overload and short circuit conditions. The complete assembly shall be durable, corrosion-resistant, and suitable for indoor or outdoor use as required, with a minimum protection level appropriate to the installation environment. |  |  | Pcs |  | 3 |  | 3 |  | 0
66 | Metal clad 2gang 1 way switch | Industrial heavy-duty switch. abb or other equal approved |  |  | Pcs |  | 10 |  | 10 |  | 0
67 | Photo cell | Automatic daylight sensor for lighting control. 20a |  |  | Pcs |  | 4 |  | 4 |  | 0
68 | Pig tail bolts | Steel bolts for fixing trays/supports. |  |  | Pcs |  | 30 |  | 30 |  | 0
69 | Air condition | Split-type air conditioner, 18,000 BTU, inverter or high efficiency type, 220–240V, complete with indoor and outdoor units, remote control, refrigerant R410A/R32, Bosch or other equal approved. |  |  | Pcs | 1 |  |  | 1 |  | 0
70 | Air condition | Split-type air conditioner, 12,000 BTU, inverter or high efficiency type, 220–240V, complete with indoor and outdoor units, remote control, refrigerant R410A/R32, Bosch or other equal approved. |  |  | Pcs |  |  | 5 | 5 |  | 0
71 | Conduit pipe | Heavy-duty PVC conduit, suitable for electrical wiring installations. tronic or other equal approved |  |  | Pcs | 50 | 130 | 56 | 236 |  | 0
72 | Elbow | PVC bend for conduit routing (typically 90°). tronic or other equal approved |  |  | Pcs | 25 | 125 | 45 | 195 |  | 0
73 | Conduit coupling | `PVC coupling for joining conduits, matching diameter, tight fit. |  |  | Pcs | 15 | 85 | 45 | 145 |  | 0
74 | Round cover | Cover for junction/conduit boxes. |  |  | Pcs | 15 | 40 | 15 | 70 |  | 0
75 | Round box | PVC; durable enclosure, impact-resistant. |  |  | Pcs | 3 | 10 | 15 | 28 |  | 0
76 | Bulk head light fitting | Polycarbonate/metal; weatherproof, impact-resistant, durable. |  |  | Pcs |  |  | 2 | 2 |  | 0
77 | Plastic clips | PVC clips for securing cables/conduits. 22mm |  |  | Box | 5 | 5 | 2 | 12 |  | 0
78 | Metal box single | Galvanized steel electrical back box, 1-gang, heavy duty, corrosion-resistant, complete with knockouts, for switches/sockets, equal approved. |  |  | Pcs | 3 |  |  | 3 |  | 0
79 | Metal box twin | Galvanized steel electrical back box, 2-gang, heavy duty, corrosion-resistant, complete with knockouts, for switches/sockets, equal approved. |  |  | Pcs | 15 |  | 16 | 31 |  | 0
80 | Bulk head light fitting | Polycarbonate/metal; weatherproof, impact-resistant, durable. |  |  | Pcs |  | 2 | 2 | 4 |  | 0
81 | Earth compound | Conductive material for improving earthing system efficiency. |  |  | kg |  | 24 |  | 24 |  | 0
82 | Earth pit cover | Heavy-duty cover for protection of earthing pit. |  |  | Pcs |  | 1 |  | 1 |  | 0
83 | Earthing mat | Copper/galvanized grounding mat. 1mxm1 |  |  | Pcs | 1 |  |  | 1 |  | 0
84 | Amoured cable | Copper/aluminum with steel armouring; high mechanical protection, durable underground use. 4 core 32mm |  |  | m |  | 50 |  | 50 |  | 0
85 | Cable Tie | Nylon material; flexible, high tensile strength, UV- and wear-resistant, durable for fastening cables. 300X3.6 |  |  | Packet |  | 6 |  | 6 |  | 0
86 | Canadian clamp | Heavy-duty metal clamp for securing pipes/cables, corrosion-resistant. 160mm |  |  | Pcs |  | 3 |  | 3 |  | 0
87 | Industria plug | Industrial-grade plastic/metal; high current capacity, wear-resistant. 63A |  |  | Pcs |  | 5 |  | 5 |  | 0
88 | Distribution board | Supply and install a 400A, 6-way TPN distribution board, complete with copper busbars, enclosed in a sheet steel, wall-mounted cabinet. The enclosure shall be robust, corrosion-resistant, and suitable for indoor use with a minimum protection rating of IP42 (or as required for the installation location). The board shall be fully equipped with outgoing 32A–100A triple pole MCCBs (6 pieces). Each MCCB shall be of the moulded case type, designed to provide protection against overload and short circuit, and shall be of reputable manufacture. The complete assembly shall be factory-built, properly wired, labeled, and ready for installation, providing a safe and reliable electrical distribution system. |  |  | Pcs |  | 1 |  | 1 |  | 0
89 | Dust and water proof dual | IP65 rated fitting, complete with LED tubes. 4ft tubelight fixure complete,led philips or other equal approved |  |  | Pcs |  | 34 |  | 34 |  | 0
90 | Flexible cable | PVC insulated copper cable for power applications. 6mm 4core |  |  | m |  | 100 |  | 100 |  | 0
91 | Galvanized cable tray | Steel tray for cable management, corrosion-resistant. 100mmx30mm |  |  | Pcs |  | 30 |  | 30 |  | 0
92 | Galvanized cable tray | Steel tray for smaller cable runs. 50mmx50mm |  |  | Pcs |  | 30 |  | 30 |  | 0
93 | Industrial interlock socket and plug | Heavy-duty plastic or polycarbonate body; dust/splash resistant (IP44), high current capacity, and mechanically strong. 63a,3 pin, ip44 |  |  | Pcs |  | 17 |  | 17 |  | 0
94 | Metal clips | Galvanized steel or aluminum clips sized 22mm; strong grip, corrosion-resistant, durable for securing conduits or cables. 22mm |  |  | Box |  |  | 3 | 3 |  | 0
95 | Cable tier | Nylon material; flexible, high tensile strength, UV- and wear-resistant, durable for fastening cables. |  |  | Packet |  |  | 2 | 2 |  | 0
96 | Lamp holder | Heat-resistant plastic or ceramic; compact, durable, resistant to heat and electrical wear. butten type tronic or other equal approved |  |  | Pcs |  |  | 3 | 3 |  | 0
97 | Led bulb | Supply LED bulbs (Tronic or other equal approved) suitable for general lighting applications. The bulbs shall be energy-efficient, long-lasting, and provide stable illumination. The LED bulbs shall operate on standard voltage (220–240V), with power rating as specified (e.g., 9W–18W), and shall have a minimum luminous efficacy of not less than 90 lm/W. tronic or other equal approved |  |  | Pcs |  |  | 3 | 3 |  | 0
98 | Twin metal clad switch socket | 13A rating, heavy-duty metal-clad steel casing; impact-resistant, corrosion-resistant, and suitable for harsh environments. 13a, abb or other equal approved |  |  | Pcs |  | 20 |  | 20 |  | 0
99 | Metal clad 2 gang 1 way switch | Steel enclosure, robust mechanism; high durability, impact-resistant, and suitable for industrial use. abb or other equal approved |  |  | Pcs |  | 2 |  | 2 |  | 0
100 | Direct online starter (d0l) | Supply Direct-On-Line (DOL) starter suitable for starting and stopping squirrel cage induction motors. The starter shall be of robust construction, designed for reliable operation under normal site conditions. The DOL starter shall comprise a contactor, thermal overload relay, and start/stop push buttons, all housed in a durable enclosure. The enclosure shall be made of sheet steel or high-quality insulating material, with a minimum protection rating of IP42 (or as required). The unit shall be suitable for operation on 220–415V, 50Hz supply and rated according to the motor capacity. The thermal overload relay shall provide protection against overload, while the contactor shall ensure efficient switching. The starter shall be complete, factory-assembled, and ready for installation. |  |  | Pcs |  | 5 |  | 5 |  | 0
101 | Surface isolator, | Metal or insulated enclosure; high voltage tolerance, durable switching mechanism, and suitable for heavy-duty applications. three pole 63a,415v |  |  | Pcs |  | 10 |  | 10 |  | 0
102 | Wall cutting | Abrasive disc for cutting masonry/concrete. disc 4'' |  |  | Pcs |  | 2 |  | 2 |  | 0
103 | Steel pipe | Mild steel; strong, weldable, durable with coating. 2'' of 6m length (round) |  |  | Pcs |  | 40 |  | 40 |  | 0
104 | Steel pipe | Mild steel; strong, weldable, durable with coating. 1.5'' of 6m length (round) |  |  | Pcs |  | 35 |  | 35 |  | 0
105 | welding stick | Steel welding rods; consistent arc, durable weld joints. 2.5mm of 2.5kg |  |  | Packet |  | 6 |  | 6 |  | 0
106 | Round pipe | Mild steel; strong, weldable, durable with coating. 6"*4mm*6mtrs |  |  | Pcs |  | 13 |  | 13 |  | 0
107 | Black pipe | Mild steel; strong, weldable, durable with coating. 2"*4mm*6mtrs |  |  | Pcs |  | 25 |  | 25 |  | 0
108 | Round steel pipe | Supply round steel pipes manufactured from high-quality mild steel, suitable for general structural or service applications. The pipes shall have an external diameter of 1½ inch (≈40 mm), with a wall thickness of 4 mm and a standard length of 6 meters. The pipes shall be straight, smooth, and free from defects such as cracks, bends, or corrosion. They shall be of uniform thickness and capable of withstanding normal mechanical stresses. The material shall be durable, weldable, and suitable for cutting and fabrication. Where required, the pipes shall be finished with protective coating (e.g., black steel, painted, or galvanized) to improve corrosion resistance and ensure long service life. |  |  | Pcs |  | 38 |  | 38 |  | 0
109 | Z. purlings | Formed steel sections; high strength and lightweight. 4"*4mm*6mtrs |  |  | Pcs |  | 38 |  | 38 |  | 0
110 | Checked plate | Steel plate; non-slip, wear-resistant. 4mm*8ft*4ft |  |  | Pcs |  | 2 |  | 2 |  | 0
111 | Cutting disc | Abrasive; high cutting efficiency. 14" |  |  | Pcs |  | 5 |  | 5 |  | 0
112 | Ms electrode | Welding electrode, 3.2mm diameter, mild steel type (e.g., E6013), suitable for general purpose arc welding; stable arc, low spatter, and smooth weld finish; to be stored in dry conditions to prevent moisture absorption. |  |  | Kg |  | 30 |  | 30 |  | 0
113 | Ms electrode | Steel welding rods; consistent arc, durable weld joints. 2.5mm |  |  | Kg |  | 10 |  | 10 |  | 0
114 | Cutting disc | Abrasive; high cutting efficiency. 9 |  |  | Pcs |  | 5 |  | 5 |  | 0
115 | Bolt and nuts | Steel; strong fastening, durable. 16mm*5 |  |  | Pcs |  | 80 |  | 80 |  | 0
116 | Cypress | Treated softwood timber; lightweight, good strength-to-weight ratio, resistant to warping and moderately durable against insects when treated. 2" x 4"x12' (purlins) |  |  | Pcs | 80 | 100 |  | 180 |  | 0
117 | Cypress fascial board | Treated softwood timber; lightweight, good strength-to-weight ratio, resistant to warping and moderately durable against insects when treated. 1" x 10"x12' |  |  | Pcs | 20 |  |  | 20 |  | 0
118 | Cypress | Treated softwood timber; lightweight, good strength-to-weight ratio, resistant to warping and moderately durable against insects when treated. 2" x 2"x12' |  |  | Pcs | 65 | 45 | 100 | 210 |  | 0
119 | Cypress | Treated softwood timber; lightweight, good strength-to-weight ratio, resistant to warping and moderately durable against insects when treated. 2" x 6"x12' (truss) |  |  | Pcs |  | 50 |  | 50 |  | 0
120 | Cypress | Treated softwood timber; lightweight, good strength-to-weight ratio, resistant to warping and moderately durable against insects when treated. 1" x 8"x12' (fascial) |  |  | Pcs |  | 30 |  | 30 |  | 0
121 | Cypress fascial board | Treated softwood timber; lightweight, good strength-to-weight ratio, resistant to warping and moderately durable against insects when treated. 1" x 10"x12' |  |  | Pcs |  | 20 |  | 20 |  | 0
122 | Mkongo | Hardwood timber; dense, high strength, more durable and resistant to wear than softwood. 2" x 6"x12' (purlins) |  |  | Pcs |  | 20 |  | 20 |  | 0
123 | Screw | Galvanized steel fixing screw for gutters and brackets. 2.5" |  |  | Box |  | 3 |  | 3 |  | 0
124 | Skylight roof covering | Transparent polycarbonate/PVC; UV-resistant, lightweight, and durable. 3m long |  |  | Pcs |  | 6 |  | 6 |  | 0
125 | roofing sheet | 28g corrugated roofing sheet 5,5m long |  |  | Pcs | 75 |  |  | 75 |  | 0
126 | roofing sheet | 28-gauge galvanized steel; lightweight, corrosion-resistant, and long lifespan with coating. 6m long |  |  | Pcs |  | 40 |  | 40 |  | 0
127 | roofing sheet | 28g corrugated roofing sheet 10m long |  |  | Pcs |  | 40 |  | 40 |  | 0
128 | Ridge cap | Galvanized steel; weatherproof, corrosion-resistant, designed for roof apex protection. |  |  | Pcs | 15 | 12 |  | 27 |  | 0
129 | Core for tying the tie beam | supply of the 1cm -1,5cmm steel core for tieing the tie beamswith the lenght of 12m |  |  | Pcs | 12 | 6 |  | 18 |  | 0
130 | Line and pin (red in colour) | Nylon/string line with steel pins; strong, visible, and weather-resistant. |  |  | Pcs | 10 | 6 |  | 16 |  | 0
131 | Gypsum board | Calcium sulfate panels; lightweight, smooth, fire-resistant. |  |  | Pcs | 65 | 22 | 125 | 212 |  | 0
132 | PoP Powder Bags | Supply of approved quality Plaster of Paris (POP) powder, conforming to BS EN 13279 or equivalent, supplied in 25 kg moisture-proof bags, suitable for internal plastering, molding, and finishing works. | [5 empty] | 25 | 25 |  | 0
133 | Gypsum belt (Cornice) | Steel/PVC/gypsum compounds; durable fixing and jointing materials. |  |  | Pcs | 40 | 13 | 40 | 93 |  | 0
134 | Gypsum Powder | Steel/PVC/gypsum compounds; durable fixing and jointing materials. |  |  | Bags |  | 5 |  | 5 |  | 0
135 | Gypsum screw | Steel durable fixing and jointing materials. |  |  | Box | 10 | 5 | 24 | 39 |  | 0
136 | Wire Nails | Steel nails in 3-inch and 4-inch lengths; strong, rigid, and durable with good holding strength, often available with smooth or ribbed shanks and may be galvanized for corrosion resistance. |  |  | kg |  |  | 8 | 8 |  | 0
137 | Aluminium partition perimeter frame (profiles) | Extruded aluminium sections forming external boundary frame for partition system, high strength, straight and dimensionally stable. |  |  | Pcs | 50 |  | 50 | 100 |  | 0
138 | Aluminium t-section mullion / t-joint profile | Structural aluminium section used for vertical/horizontal partition division and panel jointing. |  |  | Pcs | 30 |  | 30 | 60 |  | 0
139 | Glazing bead (glass retaining bead) | Supply aluminium or uPVC glazing beads for securing glass panels within frames. Beads shall be minimum 1.2 mm thick (aluminium) or approved uPVC section, complete with EPDM insert where required. Finish shall match frame (powder-coated or anodized). |  |  | Pc s | 22 |  | 22 | 44 |  | 0
140 | Aluminium angle profile (l-section) | Supply aluminium angle sections of minimum 2–3 mm thickness with equal or unequal legs (e.g., 25×25 mm, 40×40 mm or as required). Finish shall be powder-coated (≥60 microns) or anodized (≥15 microns). |  |  | Pcs | 6 |  | 6 | 12 |  | 0
141 | Door hinges (butt hinges / aluminium door hinges) | Supply heavy-duty butt hinges made of stainless steel or anodized aluminium, minimum size 100 mm × 75 mm × 2.5 mm thick, with smooth operation and corrosion resistance. Suitable for aluminium doors. |  |  | Set | 6 |  | 6 | 12 |  | 0
142 | Z-section aluminium profile / z-bracket | Supply aluminium Z-profile brackets of minimum 2–3 mm thickness, sized as required for structural support and alignment. Finish: powder-coated or anodized. |  |  | Pcs | 12 |  | 12 | 24 |  | 0
143 | Hydraulic door closer | Supply adjustable hydraulic door closers suitable for door weight 10-30 kg, with adjustable closing and latching speed. Body shall be aluminium or cast metal, corrosion resistant. |  |  | Pcs | 14 |  | 14 | 28 |  | 0
144 | Door pull handle / lever handle | Supply aluminium alloy or stainless-steel door handles, minimum 1.5 mm thickness, ergonomic design. Finish: satin, polished, or powder-coated. Complete with fixing accessories. |  |  | Pcs | 6 |  | 6 | 12 |  | 0
145 | Mortice lock / aluminium door lockset | Supply heavy-duty mortice lockset suitable for aluminium doors, complete with cylinder, minimum 5-pin mechanism, keys (3 pcs), strike plate, and handles. Lock body shall be corrosion resistant and durable. |  |  | Pcs | 7 |  | 7 | 14 |  | 0
146 | Aluminium blind rivets | Supply aluminium blind rivets, 4.5 mm diameter × appropriate grip range, corrosion resistant, dome head type, suitable for aluminium and ACP fixing. |  |  | Box | 12 |  | 12 | 24 |  | 0
147 | Epdm rubber gasket / glazing rubber seal | Supply EPDM rubber glazing seals, minimum density 1.2–1.4 g/cm³, UV-resistant, weatherproof, with temperature resistance from –20°C to +100°C, compatible with aluminium profiles. |  |  | Rallor | 6 |  | 6 | 12 |  | 0
148 | Clear float glass / toughened glass | Float glass: minimum 6 mm thick Toughened glass: minimum 6 mm thick (as required) Edges polished, free from defects, high transparency, compliant with safety standards. |  |  | Sheet | 16 |  | 16 | 32 |  | 0
149 | Aluminium composite panel (acp / alucobond panel) | Sandwich panel with aluminium outer skins and polyethylene/mineral core, lightweight, weather resistant, and decorative finish. |  |  | Pcs | 12 |  | 12 | 24 |  | 0
150 | Gutter 4'' | PVC or galvanized steel rainwater gutter system, UV resistant, smooth internal flow surface. |  |  | Pcs | 16 |  | 9 | 25 |  | 0
151 | Down pipe 3'' | PVC rainwater vertical discharge pipe, rigid and weather resistant. |  |  | Pcs | 4 |  | 3 | 7 |  | 0
152 | Stop end 4'' | Gutter end cap used to seal open ends and prevent leakage. |  |  | Pcs | 6 |  | 4 | 10 |  | 0
153 | Union gutter 4'' | PVC or galvanized steel rainwater gutter system, UV resistant, smooth internal flow surface. |  |  | Pcs | 8 |  | 3 | 11 |  | 0
154 | Angle gutter 4'' | PVC or galvanized steel rainwater gutter system, UV resistant, smooth internal flow surface. | [5 empty] | 2 | 2 |  | 0
155 | Silcon | Waterproof, UV-resistant sealing compound for joints and leak prevention. |  |  | Pcs | 4 |  | 2 | 6 |  | 0
156 | Elbow 90⁰ 3'' | PVC; smooth, durable connection fitting. |  |  | Pcs |  |  | 8 | 8 |  | 0
157 | Elbow 45⁰ (3'') | PVC; smooth, durable connection fitting. |  |  | Pcs |  |  | 4 | 4 |  | 0
158 | Running outlet 3'' | PVC fitting; smooth finish, durable, corrosion-resistant. |  |  | Pcs |  |  | 3 | 3 |  | 0
159 | PVC Adhesive (Tungent) | Supply high-quality industrial contact adhesive suitable for bonding materials such as laminate, aluminium, wood, rubber, and plastic. The adhesive shall be quick-drying, strong bonding, and easy to apply. The glue shall have high initial tack, good spreadability, and form a durable bond resistant to heat, moisture, and normal weather conditions. It shall be suitable for interior and light exterior use. The adhesive shall be supplied in sealed containers, from an approved manufacturer (e.g., Dunlop, Evo-Stik, or equivalent), and comply with relevant quality standards. |  |  | Litre | 3 |  | 1 | 4 |  | 0
160 | Screw 1'' | Galvanized steel fixing screw for gutters and brackets. |  |  | Pcs | 2 |  | 1 | 3 |  | 0
161 | Crampe gutter 4'' | Supply and installation of 4-inch plastic (PVC/uPVC) gutter brackets, factory-manufactured, durable and weather-resistant, fixed at specified spacing, complete with non-corrosive screws/anchors, for proper support and alignment of rainwater gutters. |  |  | Pcs | 75 |  | 75 | 150 |  | 0
162 | Crampe gutter 3'' | Supply of 3-inch plastic (PVC/uPVC) gutter brackets, factory-manufactured, durable and weather-resistant, fixed at specified spacing, complete with non-corrosive screws/anchors, for proper support and alignment of rainwater gutters. |  |  | Pcs |  |  | 9 | 9 |  | 0
163 | Pvc trunking | Rigid PVC cable duct of size 16 mm × 25 mm; lightweight, smooth internal surface for cable protection, corrosion-resistant, flame-retardant, and durable for indoor electrical installations. |  |  | Pcs |  |  | 5 | 5 |  | 0
164 | Ceiling fan africab or other equal approved | Metal body with aluminum or steel blades; robust motor, corrosion-resistant finish, energy-efficient, and durable for continuous operation. |  |  | Pcs |  |  | 1 | 1 |  | 0
165 | 3gang 1 way switch abb or other equal approved | Plastic or metal-clad housing; three-switch configuration, impact-resistant, flame-retardant, and long service life. |  |  | Pcs |  |  | 2 | 2 |  | 0
166 | Down pipe clamp 4'' | Wall-mounted support bracket for securing vertical downpipes. |  |  | Pcs | 6 |  |  | 6 |  | 0
167 | Helment | High-density plastic (HDPE) shell with internal suspension; impact-resistant, lightweight, and durable for head protection. |  |  | Pcs | 16 | 17 | 17 | 50 |  | 0
168 | Roller brush 9'' | Synthetic fiber roller with plastic/metal frame; wide coverage, wear-resistant, suitable for repeated painting use. |  |  | Pcs | 7 | 10 | 8 | 25 |  | 0
169 | Brush 4'' | Bristle brush (natural or synthetic) with wooden/plastic handle; durable, flexible bristles, good paint retention. |  |  | Pcs | 7 | 10 | 8 | 25 |  | 0
170 | Reflector | High-visibility material (plastic/fabric with reflective coating); weather-resistant, durable, enhances visibility. |  |  | Pcs | 16 | 17 | 17 | 50 |  | 0
171 | Scaffold | Modular steel scaffolding system made from galvanized steel, consisting of vertical standards, horizontal ledgers, diagonal braces, base plates, and steel planks; typical bay dimensions are 2.0–2.5 m (length) × 1.2–1.5 m (width) × 2.0 m (height per lift). Steel tubes are usually 48–50 mm diameter with 3–4 mm wall thickness; planks are about 200–250 mm wide and 40–50 mm thick. The system is high-strength, corrosion-resistant, stable under load, and durable for repeated assembly and site use. |  |  | Set | 1 |  | 1 | 2 |  | 0
172 | Scraper (wide) | Steel blade with handle; rigid, wear-resistant, and durable for surface preparation. |  |  | Pcs | 7 | 10 | 8 | 25 |  | 0
173 | Steel float | Flat steel plate with handle; strong, smooth finish, corrosion-resistant, long-lasting. |  |  | Pcs | 7 | 10 | 8 | 25 |  | 0
174 | Ladder (glass chrome 4m) | Fiberglass or steel frame; corrosion-resistant, high strength, non-conductive (if fiberglass), durable. |  |  | Pcs | 1 | 1 | 1 | 3 |  | 0
175 | Safety boot | Leather/rubber with reinforced steel toe; abrasion-resistant, slip-resistant, and durable for heavy-duty use. |  |  | Pairs | 7 | 10 | 8 | 25 |  | 0
176 | Mask | Fabric or synthetic filter material; lightweight, breathable, and provides protection against dust and particles. N90 |  |  | Pcs | 17 | 17 | 16 | 50 |  | 0
177 | Flush tank (kariba) | High-density plastic (HDPE/PP) or ceramic unit; corrosion-resistant, lightweight, durable, and resistant to water chemicals. |  |  | Pcs |  |  | 2 | 2 |  | 0
178 | Bib cork 1/2'' | Brass, often chrome-plated; strong, corrosion-resistant, and durable for continuous water exposure. |  |  | Pcs |  |  | 3 | 3 |  | 0
179 | Ips pipe 1/2'' | Steel or galvanized iron pipe; rigid, strong, resistant to mechanical stress, moderate corrosion resistance. |  |  | Pcs |  |  | 2 | 2 |  | 0
180 | Tee 1/2'' | PVC or metal fitting; rigid, corrosion-resistant, durable for pipe connections. |  |  | Pcs |  |  | 5 | 5 |  | 0
181 | Elbow 1/2'' | PVC; smooth, durable connection fitting. |  |  | Pcs |  |  | 7 | 7 |  | 0
182 | Thread tape | Supply and installation of PTFE thread sealing tape, 12 mm width, high-density, suitable for sealing threaded pipe joints in plumbing works. |  |  | Pcs |  |  | 20 | 20 |  | 0
183 | Bib cork 3/4' | Brass (chrome-plated optional); corrosion-resistant, strong, durable. |  |  | Pcs |  |  | 3 | 3 |  | 0
184 | Ips pipe 3/4'' | ¾" diameter iron pipe size, typically made from galvanized steel or threaded steel; strong, rigid, resistant to mechanical stress, with moderate corrosion resistance depending on coating. |  |  | Pcs |  |  | 1 | 1 |  | 0
185 | Male connector 3/4' | Brass/PVC fitting; strong threading, corrosion-resistant, durable. |  |  | Pcs |  | 2 | 2 | 4 |  | 0
186 | Elbow 3/4'' | PVC; smooth, durable connection fitting. |  |  | Pcs |  |  | 3 | 3 |  | 0
187 | Pillar tap 1/2'' | Chrome-plated brass; corrosion-resistant, smooth finish, durable. |  |  | Pcs |  | 4 | 1 | 5 |  | 0
188 | Bottle trap 1 1/4' | PVC or chrome-plated brass; compact, corrosion-resistant, durable. |  |  | Pcs |  | 3 | 1 | 4 |  | 0
189 | Flexible pipe 1/2'' | ½" diameter, made from stainless steel braided hose or reinforced PVC; flexible structure, pressure- and temperature-resistant, with moderate to high durability. |  |  | Pcs |  | 8 | 4 | 12 |  | 0
190 | Flexible conduit | PVC/metallic; bendable, impact-resistant, durable. 25mm |  |  | roll |  | 3 | 5 | 8 |  | 0
191 | Angle valve 1/2'' | Brass, often chrome-plated; high pressure resistance, corrosion-resistant, long-lasting. |  |  | Pcs |  | 8 | 2 | 10 |  | 0
192 | Pvc cement(1litter) | Liquid solvent adhesive in 1-liter packaging; fast-setting, chemically resistant, forms strong and permanent bonds on PVC materials. |  |  | Pcs |  | 7 |  | 7 |  | 0
193 | Kitchen cock 1/2'' | ½" size, manufactured from chrome-plated brass; smooth finish, resistant to rust, scaling, and wear from frequent use. |  |  | Pcs |  | 2 |  | 2 |  | 0
194 | Floor trap 1 1/2'' | 1½" size, made from PVC, UPVC, or stainless steel; sturdy construction, resistant to chemicals, abrasion, and long-term exposure to wastewater. |  |  | Pcs |  | 4 |  | 4 |  | 0
195 | Seal tape 1/2'' | ½" width, made from PTFE; thin, flexible, non-reactive material with high resistance to chemicals, heat, and pressure. |  |  | Pcs |  | 50 |  | 50 |  | 0
196 | Pillar tap (push) 1/2'' | ½" size, chrome-plated brass construction; robust mechanism, wear-resistant surface, and designed for repeated mechanical operation. |  |  | Pcs |  | 2 |  | 2 |  | 0
197 | Bib taps 1/2'' | ½" size, brass with optional chrome coating; strong body, weather- and corrosion-resistant, suitable for both indoor and outdoor environments. |  |  | Pcs |  | 7 |  | 7 |  | 0
198 | Bottle trap (magic 1 1/4'') | PVC/plastic; corrosion-resistant, compact. |  |  | Pcs |  | 5 |  | 5 |  | 0
199 | Pvc pipe (class b) 4'' | 4" diameter, made from unplasticized PVC; medium wall thickness, durable, corrosion-proof, and suitable for moderate load conditions. |  |  | Pcs |  | 4 |  | 4 |  | 0
200 | Gate valve 1/2''(pex) | ½" size, brass construction, PEX-compatible; solid build, high pressure resistance, and long-lasting with minimal wear. |  |  | Pcs |  | 4 |  | 4 |  | 0
201 | Gate valve 3/4''(pex) | ¾" size, made from brass and compatible with PEX systems; robust construction, high pressure resistance, corrosion-resistant, and long service life. |  |  | Pcs |  | 2 |  | 2 |  | 0
202 | Float ball valve 3/4'' | ¾" size, commonly made from brass or high-grade plastic with metal components; durable, corrosion-resistant, and designed to operate reliably under constant water exposure. |  |  | Pcs |  | 1 |  | 1 |  | 0
203 | Wash basin with pedestrial complete unit | Supply wash basin with pedestal manufactured from high-quality vitreous china with a white glazed finish. The basin shall be smooth, non-porous, durable, and resistant to stains and chemicals. The wash basin shall have dimensions of 550–600 mm width × 400–450 mm depth, complete with a matching full-height pedestal designed to support the basin and conceal pipework. The unit shall be supplied complete with corresponding fixing accessories and be suitable for standard sanitary installations. |  |  | Pcs |  | 1 |  | 1 |  | 0
204 | Basin screw | Brass; strong, corrosion-resistant, long-lasting. |  |  | Set |  | 2 |  | 2 |  | 0
205 | Pvc elbow 1 1/4'' | PVC + solvent adhesive; chemical-resistant, durable joints. |  |  | Pcs |  | 2 |  | 2 |  | 0
206 | Hollow section 1.1/5 | Mild steel; high strength, weldable, durable with coating. |  |  | Pc |  | 2 |  | 2 |  | 0
207 | Hollow section | Mild steel; high strength, weldable, durable with coating. 1.1/4*1.1/4 |  |  | Pc |  | 63 |  | 63 |  | 0
208 | Hollow section 1*1 | Mild steel; high strength, weldable, durable with coating. |  |  | Pc |  | 14 |  | 14 |  | 0
209 | Ms sheet 1.2mm | Mild steel plate; strong, formable, corrosion-sensitive without coating. |  |  | Pc |  | 2 |  | 2 |  | 0
210 | Padlock | Hardened steel; durable locking mechanisms. |  |  | Pc |  | 3 |  | 3 |  | 0
211 | Red oxide 4ltr | Anti-corrosion primer; protects steel surfaces. |  |  | Tin |  | 22 |  | 22 |  | 0
212 | Hinges 3''x3'' | Supply of 3" × 3" hinges, stainless steel or approved equivalent, complete with matching screws, properly fixed to ensure smooth operation of doors. |  |  | Pc |  | 6 |  | 6 |  | 0
213 | Electrode 3.2mm | Welding electrode, 3.2mm diameter, mild steel type (e.g., E6013), suitable for general purpose arc welding; stable arc, low spatter, and smooth weld finish; to be stored in dry conditions to prevent moisture absorption. |  |  | kg |  | 20 |  | 20 |  | 0
214 | Distribution board | Supply of 250A, 4-way TPN distribution board, complete with copper busbars, enclosed in a heavy-duty sheet steel cabinet suitable for wall mounting. The enclosure shall be corrosion-resistant and suitable for indoor use, with a minimum protection rating of IP42 (or as required for the installation location). The distribution board shall be fully equipped with outgoing 32A–100A triple pole MCCBs (4 pieces). Each MCCB shall be of moulded case type, providing protection against overload and short circuit, and shall be of approved quality. The complete unit shall be factory-assembled, properly wired, labeled, and ready for safe and reliable operation. |  |  | Pcs |  | 1 |  | 1 |  | 0
0