## Materials
TZA23002-10012_MATERIALS FOR FINALIZATION OF KIDYAMA WATER SUPPLY SCHEME
No | ITEM | UNIT | QTY | Rate (EUR) VAT EXCLUSIVE | Amount (EUR)
BILL No. 01: INDUSTRIAL MATERIALS – PLUMBING | INDUSTRIAL MATERIALS – PLUMBING (SPECIFIC SUPPLIES) |  |  |  | 0
1.1 | 3" GS Socket – threaded, galvanized steel, PN16. | PCS | 2 |  | 0
1.2 | 3" × 4" GS Reducing Bush – threaded, galvanized steel, PN16. | PCS | 1 |  | 0
1.3 | 3" uPVC Pressure Pipe – PN16.(6m length @) | PCS | 25 |  | 0
1.4 | 3" GS Flanged Gate Valve – Full-bore, flanged, galvanized steel, PN16. | PCS | 1 |  | 0
1.5 | 6 mm Stainless Steel Wire Rope suitable for lifting, rigging, guying, marine applications, suspension systems, fencing, and general engineering purposes with Bright stainless steel finish. | M | 100 |  | 0
1.6 | 6 mm Stainless Steel Rope Clamp. U-bolt type wire rope clamp manufactured from Grade 316 stainless steel, suitable for use with 6 mm diameter stainless steel wire rope. | PCS | 6 |  | 0
1.7 | 6 mm Stainless Steel Shackle for connecting wire ropes, chains, lifting accessories, acnhorage systems, and rigging assembilies. The shackle shall be manfucatured from corrorsion-resistant stainless steel. | PCS | 4 |  | 0
1.8 | 4" × ½" GS Reducing Bush – threaded, galvanized steel, PN16. | PCS | 1 |  | 0
1.9 | 4" GS Nipple – threaded, galvanized steel, PN16. | PCS | 3 |  | 0
1.1 | 4" GS Threaded Flange – galvanized steel, PN16. | PCS | 5 |  | 0
1.11 | 4" GS Pipe – galvanized steel, PN16. | M | 2 |  | 0
1.12 | 4" Water Meter – Flanged type, PN16, suitable for water supply. | PCS | 1 |  | 0
1.13 | 4" GS Flanged Gate Valve – Full-bore, flanged, galvanized steel, PN16. | PCS | 1 |  | 0
1.14 | ½" Pressure Gauge – Water-service type, 0–25 bar, threaded connection. | PCS | 1 |  | 0
1.15 | 4" × 10" GS Flanged Reducing Taper – Galvanized steel, PN16. | PCS | 1 |  | 0
1.16 | 10" (DN250) HDPE Stub Flange – PE100, PN16. | PCS | 1 |  | 0
1.17 | 4" GS 90° Threaded Elbow – galvanized steel, PN16. | PCS | 2 |  | 0
1.18 | 10" (DN250) Rubber Flange Gasket – PN16,PE100 water-service grade. | PCS | 8 |  | 0
1.19 | 4" Rubber Flange Gasket – PN16, water-service grade. | PCS | 4 |  | 0
1.2 | DN250 GS Pipe, 6 m Long – galvanized steel, PN16. | PCS | 1 |  | 0
1.21 | DN250 GS Flanged Bend – galvanized steel, PN16 | PCS | 2 |  | 0
1.22 | DN250 Stub Flange – PN16, suitable for HDPE pipe connection. | PCS | 2 |  | 0
1.23 | M16 × 80 mm SS Bolts, Nuts & Washers. Hex-head bolts complete with matching nuts and flat washers, Grade A4-70 (AISI 316) stainless steel, corrosion resistant and suitable for flanged pipework and equipment connections. | PCS | 180 |  | 0
1.24 | DN250 Rubber Flange Gasket – PN16, water-service grade. | PCS | 4 |  | 0
1.25 | DN200 GS Elbow – galvanized steel, PN16. | PCS | 2 |  | 0
1.26 | DN250 GS Flange – galvanized steel, PN16. | PCS | 1 |  | 0
1.27 | DN200 90° Double-Flanged Bend – galvanized steel, PN16 | PCS | 2 |  | 0
1.28 | DN250 Float Valve – Flanged type, automatic water-level control, PN16. | Nos | 1 |  | 0
1.29 | 10" × 3" Flanged Reducing Tee – galvanized steel, PN16. | PCS | 2 |  | 0
1.3 | 3" Rubber Flange Gasket – PN16, water-service grade. | PCS | 16 |  | 0
1.31 | 10" (DN250) Rubber Flange Gasket – PN16, water-service grade. | PCS | 10 |  | 0
1.32 | DN90 Automatic Air Release Valve – Flanged, PN16. | PCS | 3 |  | 0
1.33 | DN250 HDPE Stub Flange Set – PE100, PN16. | PCS | 6 |  | 0
1.34 | 10inches flanged non return valve. 10-inch (DN250) flanged non-return valve.The valve shall be rated PN16 minimum, suitable for potable water applications, corrosion-resistant, and tested in accordance with BS EN 12266 or approved equivalent standards. | PCS | 3 |  | 0
1.35 | DN250 GS Flanged Y-Tee – galvanized steel, PN16 | PCS | 1 |  | 0
Total for Bill No . 1 (to be carried forward to Summary) |  |  |  |  | 0
BILL No. 02: INDUSTRIAL MATERIALS – ELECTRICAL | INDUSTRIAL MATERIALS – PLUMBING (SPECIFIC SUPPLIES) |  |  |  | 0
2.1 | ¾" PE Conduit – For signal cable protection (3m length @) | PCS | 3 |  | 0
2.2 | 50 mm² Cable Lugs – suitable for armoured cable. | PCS | 5 |  | 0
2.3 | Electrical Insulation Tape – Electrical grade. | PCS | 5 |  | 0
2.4 | Waterproof Electrical Tape – Waterproof type. | PCS | 4 |  | 0
2.5 | 500 × 30 mm Cable Tray – With cover. | PCS | 1 |  | 0
2.6 | Cable Ties – UV-resistant. | PCS | 6 |  | 0
2.7 | Grundfos or approved equivalent Dry-Run Sensor – Borehole type. An electrode-type or well probe sensor for protecting the pump against dy-running by automatically stopping operation when water falls below the minimum safe operating level | PCS | 1 |  | 0
2.8 | 4C X 35mm2 Drop Cable – Suitable for submersible pump connection (100metres@) | Roll | 4 |  | 0
2.9 | Cable Joint Kit – Waterproof, suitable for 50 mm² cable. | PCS | 5 |  | 0
2.1 | 4 Core 50 mm² Armoured Power Cable – Suitable for underground installation (Copper XLPE) | M | 250 |  | 0
2.11 | 75mm Conduit Pipe – For underground installation. | M | 250 |  | 0
Total for Bill No . 2 (to be carried forward to Summary) |  |  |  |  | 0
BILL No. 03: LOCAL MATERIALS – GENERAL SUPPLIES | INDUSTRIAL MATERIALS – PLUMBING (SPECIFIC SUPPLIES) |  |  |  | 0
3.1 | Ordinary Portland Cement (OPC) – (50 kg @) | Bags | 20 |  | 0
3.2 | Clean, well-graded construction sand – Approved quality. | Trips (@4m3) | 2 |  | 0
3.3 | Solid Cement Sand Blocks – 150 × 230 × 450 mm, minimum compressive strength 3.5 N/mm². | Nos. | 520 |  | 0
3.4 | 1.2m x 2.4m, 4 mm thick Mild Steel Plate – For chamber covers. | Pcs | 10 |  | 0
3.5 | 25 mm GS Pipe – Galvanized steel, complete with hooks and fixings. | M | 35 |  | 0
3.6 | 40 × 40 mm Steel Angle – For chamber cover frames. | M | 45 |  | 0
3.7 | Exterior Weather-Resistant Paint – White, 20 L. | 20l - Bucket | 3 |  | 0
3.8 | Exterior Weather-Resistant Paint – Dutch Blue, 20 L. | 20l - Bucket | 2 |  | 0
3.9 | Bituminous Waterproofing Coating – 4 L. | 4l - Bucket | 4 |  | 0
3.1 | White Cement – For surface skimming and finishing (25kgs @) | Bags | 50 |  | 0
3.11 | Steel Latch – For chamber covers. | Nos. | 15 |  | 0
3.12 | Safety Lock – For valve chamber covers. | Nos. | 15 |  | 0
Total for Bill No . 3 (to be carried forward to Summary) |  |  |  |  | 0
BILL No. 04 LOCAL MATERIALS – SITE FURNISHINGS
4.1 | Precast Concrete Pipeline Marker Posts – Complete with identification markings. (length =150mm x width = 150mm, height = 2m) | No. | 40 |  | 0
4.2 | Supply of Chlorine Shelter Structure – Complete structural materials as per approved drawings. | No. | 1 |  | 0
4.3 | Storage Tank & Pump House Gates : Steel Flat-Bar Gates – 6000 × 2100 mm, complete with gate posts, hinges, latch and fittings. | Nos. | 2 |  | 0
Total for Bill No .4 (to be carried forward to Summary) |  |  |  |  | 0
| BILL No. 01: INDUSTRIAL MATERIALS – PLUMBING |  |  |  | 0
| BILL No. 02: INDUSTRIAL MATERIALS – ELECTRICAL |  |  |  | 0
| BILL No. 03: LOCAL MATERIALS – GENERAL SUPPLIES |  |  |  | 0
| BILL No. 04 LOCAL MATERIALS – SITE FURNISHINGS |  |  |  | 0
| Total (VAT Exclusive) |  |  |  | 0